## Slide 1: Nodal Advisory Task Force
http://www.ercot.com/committees/board/tac/natf/ <number>
Update for TAC
November 5th, 2009

## Slide 2: TAC Update from Nodal ATF
Nodal ATF meetings scheduled once a month, and at ERCOT’s request. (the Tuesday prior to TAC in 2010)
Added separate call for discussion of Protocol Traceability work
Primarily Market Readiness and Testing and Trials issues
Discussions on Reports and Postings at several meetings
2 posting requirements being brought to TAC today
  Posting of the State Estimator to QSEs
    Hourly State Estimator Transmission Flows and Voltages report
  Posting of the Network Operations Model to QSEs
    contains the system network topology plus Resource data
http://www.ercot.com/committees/board/tac/natf/ <number>

## Slide 3: TAC Update from Nodal ATF
Agenda
Discussion of Posting Network Operations Model Confidentiality
  Relevant Protocol
  Issues brought by Market Participants
  Recommendation from Nodal ATF Meeting
  Understanding of possible Systems Impacts needing analysis
  ERCOT’s understanding of NMMS/Model Confidentiality
  TAC’s consideration
Discussion of Hourly State Estimator Report Confidentiality
  Relevant Protocol
  Issues brought by Market Participants
  ERCOT’s understanding of State Estimator Confidentiality
  TAC’s consideration
http://www.ercot.com/committees/board/tac/natf/ <number>

## Slide 4: Discussion of Network Operations Model Confidentiality
http://www.ercot.com/committees/board/tac/natf/ <number>
TAC Update from NATF
Network Operations Model

## Slide 5: TAC Update from Nodal ATF
http://www.ercot.com/committees/board/tac/natf/ <number>
Network Operations Model
Network Operations Model Posting
Nodal Protocol references:
Section 3.10.1 (3), Time Line for Network Operations Model Change Requests [footnotes to table]
2. Network Operations Model data changes and preliminary fidelity test complete by using the Network Operations Model test facility described in paragraph (3) of Section 3.10.4, ERCOT Responsibilities. The test version of the Network Operations Model will be available for market review and further testing by Market Participants.
Section 3.10, Network Operations Modeling and Telemetry
(8) ERCOT shall track each request received from TSPs and Resources via the NOMCR process, through implementation and final testing of the change. ERCOT shall notify each NOMCR requestor when the requested change is processed and implemented in accordance with Section 3.10.1, Time Line for Network Operations Model Change Requests, and ERCOT shall also provide the submitting TSP a link to a network model containing the change for verifying the implementation of the NOMCR and associated one-line displays. ERCOT shall post all NOMCRs on the MIS Secure Area within five Business Days following receipt of the NOMCR, consistent with Critical Energy Infrastructure Information (CEII) standards.
Section 4.2.3, Posting Forecasted ERCOT System Conditions
No later than 0600 in the Day-Ahead, ERCOT shall post on the MIS Secure Area, and make available for download, the following information for the Operating Day:
(a) The Network Operations Model topology that includes known transmission line and other Transmission Facilities outages in the Common Information Model (CIM) format for the minimum Load hour and the peak Load hour;

## Slide 6: TAC Update from Nodal ATF
http://www.ercot.com/committees/board/tac/natf/ <number>
Network Operations Model
Nodal Protocol references (cont’d)
Section 3.10.4, ERCOT Responsibilities
(4) …. ERCOT shall acquire model comparison software that will show all differences between the next production model and production environment model and shall post this information on the MIS Secure Area within one week following test completion. This comparison shall indicate differences in device parameters, missing or new devices, and status changes.
(8) ERCOT shall make available to TSPs and other Market Participants, consistent with applicable policies regarding release of CEII, the full transmission model used to manage the reliability of the transmission system as well as proposed models to be implemented at a future date. ERCOT shall provide model information through the use of the EPRI and NERC-sponsored CIM and web-based XML communications.
Protocol reference related to confidentiality
Section 1.3.1.1, Items Considered Protected Information
“Protected Information” is information containing or revealing any of the following:
[…]
(k) Resource-specific costs, design and engineering data
Section 1.3.3 Expiration of Confidentiality
(1)If PUCT Substantive Rules or other sections of the ERCOT Protocols require public posting (or posting to all Market Participants) of information identified as Protected Information in Section 1.3.1.1, Items Considered Protected Information, the Protected Information status of such information shall expire at the time such information is required to be posted.

## Slide 7: TAC Update from Nodal ATF
http://www.ercot.com/committees/board/tac/natf/ <number>
Network Operations Model
Discussed at Special NATF Meetings on Oct 13 and Oct 27
There are 92 items that ERCOT model uses from the RARF
    32 – General Resource Information
    15 – Non-Combine Cycle Plant specific
        (15 overwritten by Resource Parameter updates in MMS)
    24 – Combine Cycle Plant
    (15 overwritten by Resource Parameter updates in MMS)
    19 – Load Resource Related
    (10 overwritten by Resource Parameter updates in MMS)
    2 – Private Area Network

## Slide 8: TAC Update from Nodal ATF
http://www.ercot.com/committees/board/tac/natf/ <number>
Network Operations Model
RARF Fields - General Resource Information
Unit Name
Unit Commercial Date
Primary Fuel Type
Secondary Fuel Type
Resource Category
Qualifying facility
Name Plate Rating
Real Power Rating
Reactive Power Rating
Unit Generating Voltage
High/Low Reasonability Limit
High/Low Reasonability Ramp Rate Limit
Seasonal Net Max/Min Sustainable Rating
Seasonal Net Max/Min Emergency Rating
Reactive Capability Curve (5 points)
[MW, Lead MVAR, Lag MVAR]
If hydrogen cooled, hydrogen pressure (psi)
Max Lead MVAR/Lag MVAR Operating Capability
Resource Duns Number
MP Resource Duns Number
Fixed Ownership %
MVA/kV base for data calculations
Direct Axis Transient reactance, X'di
Direct Axis Subtransient reactance, X"di
Positive Sequence Z (saturated)
Zero Sequence Z (saturated)

## Slide 9: TAC Update from Nodal ATF
http://www.ercot.com/committees/board/tac/natf/ <number>
Network Operations Model
RARF Fields - Non-Combine Cycle Plant specific
Minimum On/Off Line Time
Hot/Intermediate/Cold Start Time
Max Weekly/Daily Starts
Max On-Line Time
Max Weekly Energy
Hot-to-Intermediate Time
Intermediate-to-Cold Time
Normal/Emergency Ramp Rate Curve (10 points)
[MW, Up RR, Down RR]
* Green font delineates data that is RARF submitted
and can be operationally updated by QSE through MMS Resource Parameters transaction

## Slide 10: TAC Update from Nodal ATF
http://www.ercot.com/committees/board/tac/natf/ <number>
Network Operations Model
RARF Fields - Combine Cycle Plant Specific
Logical Configuration/Configuration/
Configuration Member
High/Low Reasonability Limit (per config)
High/Low Reasonability Ramp Rate Limit (per config)
Seasonal Net Max/Min Sustainable Rating (per config)
Seasonal Net Max/Min Emergency Rating (per config)
Minimum On/Off Line Time (per config)
Hot/Intermediate/Cold Start Time (per config)
Max Weekly/Daily Starts (per config)
Max On-Line Time (per config)
Max Weekly Energy (per config)
* Green font delineates data that is RARF submitted
and can be operationally updated by QSE through MMS Resource Parameters transaction

## Slide 11: TAC Update from Nodal ATF
http://www.ercot.com/committees/board/tac/natf/ <number>
Network Operations Model
RARF Fields - Combine Cycle Plant Specific
Logical Configuration/Configuration/
Configuration Member
High/Low Reasonability Limit (per config)
High/Low Reasonability Ramp Rate Limit (per config)
Seasonal Net Max/Min Sustainable Rating (per config)
Seasonal Net Max/Min Emergency Rating (per config)
Minimum On/Off Line Time (per config)
Hot/Intermediate/Cold Start Time (per config)
Max Weekly/Daily Starts (per config)
Max On-Line Time (per config)
Max Weekly Energy (per config)
Hot-to-Intermediate Time (per config)
Intermediate-to-Cold Time (per config)
Normal/Emergency Ramp Rate Curve (10 points)
[MW, Up RR, Down RR]
Transitions – Configuration to Configuration
* Green font delineates data that is RARF submitted
and can be operationally updated by QSE through MMS Resource Parameters transaction

## Slide 12: TAC Update from Nodal ATF
http://www.ercot.com/committees/board/tac/natf/ <number>
Network Operations Model
RARF Fields - Load Resource specific
Dispatch Asset Code (provided by ERCOT)
Load Resource Type (CLR/UFR/Interruptible)
Load Resource Effective Date
Substation Code for Point of Delivery
Voltage Level of Telemetered load(s)
High/Low Reasonability Limit
High/Low Reasonability Ramp Rate Limit
Max/Min Interruption Time
Minimum Restoration Time
Max Daily Deployments
Minimum Notice Time
Normal/Emergency Ramp Rate Curve (10 points)
[MW, Up RR, Down RR]
* Green font delineates data that is RARF submitted
and can be operationally updated by QSE through MMS Resource Parameters transaction

## Slide 13: TAC Update from Nodal ATF
http://www.ercot.com/committees/board/tac/natf/ <number>
Network Operations Model
RARF Fields – Private Use Network specific
Generating Units Part Of Private Area Network:
  All units listed as part of the PUN are flagged as part of Private Area Network instance.
Loads Part Of Private Area Network:
  All loads identified as PUN Loads are flagged as part of the Private Area Network instance.
  The load schedules contain representative hourly weighted average of power consumption over a week long period. This data serves as an initialization values for the real time load adaptation performed in EMS.
    Initial estimated 168-hour value provided in RARF
    Loads with observable history are overwritten in the model every 3 months based on the weighted averages of the same 3 month period 1 year ago.

## Slide 14: TAC Update from NATF
http://www.ercot.com/committees/board/tac/natf/ <number>
Reminder
  TSPs will continue to receive the entire NMMS CIM model file
Discussed four options at last NATF for QSE posting:
  Option 1-
    Post entire NMMS CIM file (as is done for TSPs)
  Option 2a-
    Post topology-only version of model (wires, ratings, connectivity- no resources data) Includes Generator Switchyard, but not PUN transmission data
    Option 2b-
    Post topology-only version of model with some resource data
        Wires, ratings, connectivity-
        No GREEN resources data listed (slides 11-17)
        Further consideration of BLACK items (slides 11-17)
        Includes Generator Switchyard and PUN transmission system
        Does not include PUN 168-hour Load data
  Option 3-
    Filter out certain RARF data from NMMS CIM file
Comment Period
  Comments addressed overall disclosure, rather than spreadsheet specifics
  Calpine, Exelon & LCRA view that no RARF data should be disclosed in model posting
  TIEC view that PUN Load data should not be disclosed
  Luminant view that confidentiality is not an issue based on Protocol 1.3.1.1 & 1.3.3
Network Operations Model

## Slide 15
As required under NATF charter section 2.5.3, this message was sent Tuesday at 4:38pm on Tuesday, October 27th, 2009, and served as a notice to the Technical Advisory Committee (TAC) of a decision of NATF. NATF voted unanimously to endorse the following recommendation to TAC.
Motion Made at Nodal ATF on October 27th, 2009
In consideration of the fact that there is not a separate resource registration system, motion to endorse approach below to TAC in response to ERCOT's Staff Question to Model Posting RARF confidentiality as presented to NATF. Recommendation includes posting topology version of model with some resource data:
Wires, ratings, connectivity-, No resource data listed in green in presentation "update on disclosure issues, including NMMS data discussion" 10/27/09
Further consideration of items in black in presentation as per presentation above
Includes Generator Switchyard and PUN transmission system
Does not include PUN 168-hour Load data
TAC Update from NATF
Network Operations Model

## Slide 16: TAC Update from NATF
http://www.ercot.com/committees/board/tac/natf/ <number>
Possible Impacts from NATF recommendation
  Nodal Protocol revision required to align with new requirements
  Additional NMMS Model Management
    Full model for ERCOT and TSP use
    Post separate Network Model for QSEs with identified RARF data redacted to meeting
    confidentiality concerns
  Change the Update posting
    No NOMCRs posted for QSEs
    ERCOT compare daily models and produce files with differences
    (may not be able to apply directly to update previous model
  System or Process to allow Market Participants to “SEE” and validate their redacted RARF data
Network Operations Model

## Slide 17: TAC Update from NATF
http://www.ercot.com/committees/board/tac/natf/ <number>
Network Operations Model
ERCOT understanding
  NATF asked for ERCOT’s understanding of what would be posted if no further clarification or protocol language was drafted
  Internal ERCOT meeting on Oct 26 with ERCOT legal concluded that:
    ERCOT would consider protocols being met, and not violated, by posting the entire network model (inclusive of the RARF data)…
    …with the single exception still being reviewed of the 168-hour Load for Private Use Network
      Initially populated with load estimate on RARF from RE
        Under further ERCOT review
      Updated by ERCOT based on 1-yr old historical data that overwrites this data each quarter from previous year’s load consumption
        No protocol conflict
        1.3.1.1 (h) Raw and Adjusted Metered Load (AML) data (demand and energy) identifiable to a specific QSE, Load Serving Entity (LSE), or Customer. The Protected Information status of this information shall expire 180 days after the applicable Operating Day.

## Slide 18: TAC Update from NATF
http://www.ercot.com/committees/board/tac/natf/ <number>
Network Operations Model
TAC Consideration
Instruct the ERCOT regarding its posting requirements on the Network Operations Model.
If full Network Operations Model not to be posted:
  - Need NPRR
  Need Impact Analysis
ERCOT needs direction re: posting of the QSE Network Operations Model
MOTION?

## Slide 19: Discussion of Hourly State Estimator Report Confidentiality
http://www.ercot.com/committees/board/tac/natf/ <number>
TAC Update from NATF
State Estimator

## Slide 20
http://www.ercot.com/committees/board/tac/natf/ <number>
Posting Requirement:
Protocol Section 6.5.7.1.13 (4):
Every hour, ERCOT shall post on the MIS Secure Area the following information:
(b) Transmission flows and voltages from the State Estimator;
Confidentiality:
Protocol Section 1.3.1.1 (c), Items Considered Protected Information:
…“Protected Information” is information containing or revealing any of the following:
Status of Resources, including Outages, limitations, or scheduled or metered Resource data. The Protected Information status of this information shall expire 60 days after the applicable Operating Day;
Section 1.3.3 Expiration of Confidentiality
If PUCT Substantive Rules or other sections of the ERCOT Protocols require public posting (or posting to all Market Participants) of information identified as Protected Information in Section 1.3.1.1, Items Considered Protected Information, the Protected Information status of such information shall expire at the time such information is required to be posted.
State Estimator
TAC Update from NATF

## Slide 21
Hourly State Estimator Transmission Flows and Voltages report
Compares the state estimator flows on each end of a line
Posts on MIS Secure Area, in csv and xml files, once an hour, containing snapshot from the most recent SE execution
Concern that this data could allow someone to elicit confidential information
Sample:
http://www.ercot.com/committees/board/tac/natf/ <number>
State Estimator
TAC Update from NATF

## Slide 22
http://www.ercot.com/committees/board/tac/natf/ <number>
State Estimator
Sept 29th NATF Discussion Summary:
  Question of whether SE Reports indirectly disclose Resource Status and are violation of confidentiality
    Concern with posting prior to Go-Live
    Concern with disclosure after Go-Live as well
  ERCOT Legal asked for input as follow-up
  ERCOT met internally October 26, with outcome below
  ERCOT believes protocols are met, and not violated, by posting the State Estimator reports as described in protocols
    Posting reports prior to Go-Live will need to be addressed through Nodal Transition Matrix with NATF/TAC (which ERCOT will begin to do)
    Post Go-Live postings will meet nodal protocols
TAC Update from NATF

## Slide 23: TAC Update from NATF
http://www.ercot.com/committees/board/tac/natf/ <number>
TAC Consideration
Instruct the ERCOT regarding its posting requirements on the State Estimator.
If State Estimator not to be posted:
  - Need NPRR
  Minor Impact
ERCOT needs direction re: posting of the State Estimator
MOTION?
State Estimator

## Slide 24
http://www.ercot.com/committees/board/tac/natf/ <number>
Questions?
TAC Update from NATF