## Slide 1: Protocol Revision Subcommittee
Presentation to the
ERCOT Technical Advisory Committee
November 5, 2009
Notes: <number>

## Slide 2: PRS Summary
5 PRRs for Approval
1 NPRR for Approval
2 Notices of Rejections
0 Withdrawals
Current Discussions
Notes: <number>

## Slide 3: Revision Requests Unanimously Recommended for Approval with No Impacts
Notes: <number>

## Slide 4: RR821, Update of Section 21, Process for Protocol Revision
Purpose (ERCOT) | Updates Section 21 to more effectively align with the current stakeholder process. Changes were made to bring consistency between the PRR, SCR, and NPRR processes, where applicable; remove arbitrary or conflicting timelines; clarify commenting process; expand on a revision request being deemed rejected to include email voting for the TAC; and include administrative changes and clean up. | 
Benefit | A clearly defined revision process for transparency. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval with ERCOT comments; all Market Segments were present. | 
CEO Determination | No opinion | 
Effective Date | January 1, 2010 | 
Notes: <number>

## Slide 5: RR821, Update of Section 21, Process for Protocol Revision
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Notes: <number>

## Slide 6: PRR827, Find Transaction and Find ESI ID Functions on the MIS
Purpose (ERCOT) | Updates the Protocols to reflect current options that Market Participants have to obtain information from ERCOT in order to determine or to verify the Electric Service Identifier (ESI ID) for a Service Delivery Point (SDP). | 
Benefit | Protocols that reflect current ERCOT functionality. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval as revised by TX SET comments and as revised by PRS; all Market Segments were present. | 
CEO Determination | No opinion | 
Effective Date | January 1, 2010 | 
Notes: <number>

## Slide 7: PRR827, Find Transaction and Find ESI ID Functions on the MIS
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Notes: <number>

## Slide 8: PRR836, Revised Minimum Ramp Rate for Balancing Energy Service Down to Comport with PRR803 - URGENT
Purpose (Luminant) | Changes the divisor for the minimum ramp rate required for a Balancing Energy Service (BES) Down bid from 40 to 56 to reflect the change resulting from the implementation of PRR803, Revised Implementation Approach for PRR 601, as it relates to the number of minutes of BES ramping over a one-hour time period. | 
Benefit | Correctly aligns the minimum ramp rate requirement for mandatory BES Down bids submitted by QSEs to the 14-minute ramp rate period incorporated with the implementation of PRR803. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval with ERCOT comments; all Market Segments were present. | 
CEO Determination | No opinion | 
Effective Date | December 1, 2009 | 
Notes: <number>

## Slide 9: PRR836, Revised Minimum Ramp Rate for Balancing Energy Service Down to Comport with PRR803 - URGENT
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Notes: <number>

## Slide 10: Update on Implementation of PRR 803

## Slide 11: NPRR196, Synchronization of Nodal Protocols with PRR827, Find Transaction and Find ESI ID Functions on the MIS
Purpose (ERCOT) | Synchronizes the Nodal Protocols with PRR827, Find Transaction and Find ESI ID functions on the Market Information System (MIS). | 
Benefit | Synchronized Protocols | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval with TX SET comments; all Market Segments were present. | 
CEO Determination | Necessary prior to the Texas Nodal Market Implementation Date | 
Effective Date | Upon Nodal Implementation | 
Notes: <number>

## Slide 12: NPRR196, Synchronization of Nodal Protocols with PRR827, Find Transaction and Find ESI ID Functions on the MIS
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Notes: <number>

## Slide 13: Revision Requests Not Unanimously Recommended for Approval with No Impacts
Notes: <number>

## Slide 14: PRR824, Primary Frequency Response from WGRs
Purpose (ROS) | Adds a requirement for wind generator control systems to be programmed to respond to frequency deviations by controlling Wind-powered Generation Resource (WGR) real power output in a way that is similar to governor response for conventional steam generators. | 
Benefit | Maintain system frequency better with additional wind generation in the ERCOT Region, which shall allow greater utilization of wind generation and improve the reliability of the ERCOT System. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS voted to recommend approval as amended by the 9/16/09 CPS Energy comments and as revised by PRS with one abstention from the Independent Generator Market Segment | 
CEO Determination | No opinion | 
Effective Date | January 1, 2010 | 
Notes: <number>

## Slide 15: PRR824, Primary Frequency Response from WGRs
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Notes: <number>

## Slide 16: Revision Requests Unanimously Recommended for Approval with Impacts
None this Month
Notes: <number>

## Slide 17: Revision Requests Not Unanimously Recommended for Approval with Impacts
Notes: <number>

## Slide 18: PRR830, Reactive Power Capability Requirement - URGENT
Purpose (ERCOT) | Clarifies the Reactive Power capability requirement for all Generation Resources, including existing WGRs who are not able to meet the 0.95 lead/lag requirement with the Generation Resource’s Unit Reactive Limit (URL). | 
Benefit | Provides additional clarity to the reactive requirements for wind generation. | 
Market Impact | N/A | 
System Change | Minor | Minor changes to ERCOT databases to incorporate additional SCADA points, which will be managed under the O&M budgets of affected departments
Assumptions | N/A | 
PRS Vote | PRS voted to recommend approval of PRR830 as endorsed in the 10/19/09 ROS comments via roll call vote. All Market Segments were present. | 
CEO Determination | No opinion | 
Effective Date | December 1, 2009 | 
Notes: <number>

## Slide 19: PRR830, Reactive Power Capability Requirement - URGENT
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Minor changes to ERCOT databases to incorporate additional SCADA points; will be managed through O&M budget.
Notes: <number>

## Slide 20: PRR/NPRR Summary
Revision Requests Unanimously Recommended for Approval with No Impacts
PRR821, Update of Section 21, Process for Protocol Revision
PRR827, Find Transaction and Find ESI ID Functions on the MIS
PRR836, Revised Minimum Ramp Rate for Balancing Energy Service Down to Comport with PRR803
NPRR196, Synchronization of Nodal Protocols with PRR827, Find Transaction and Find ESI ID Functions on the MIS
Revision Requests Not Unanimously Recommended for Approval with No Impacts
PRR824, Primary Frequency Response from WGRs
Revision Requests Unanimously Recommended for Approval with Impacts
None this month
Revision Requests Not Unanimously Recommended for Approval with Impacts
PRR830, Reactive Power Capability Requirement
Notes: <number>

## Slide 21: Withdrawals and Rejections
PRR754, Resource Settlement Due to Forced Transmission Outage
PRR835, Reactive Capability Requirement
Notes: <number>

## Slide 22: PRS Discussion Update
  Nodal Protocol/Reliability Standards Alignment (NPRSA) Task Force
  Other Binding Documents
Notes: <number>