CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | October 28, 2009 |
| Revision Request Number | PRR836 |
| Revision Request Name | Revised Minimum Ramp Rate for Balancing Energy Service Down to Comport with PRR803 |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Protocol Revision Request (PRR), 836 Revised Minimum Ramp Rate for Balancing Energy Service Down to Comport with PRR803, changes the divisor for the minimum ramp rate required for a Balancing Energy Service Down bid from 40 to 56 to reflect the change resulting from the implementation of PRR803, Revised Implementation Approach for PRR 601, as it relates to the number of minutes of Balancing Energy Service ramping over a one-hour time period. After initial review, PRR836 does not impact Nodal systems, budget or schedule; therefore, the ERCOT CEO believes this PRR should proceed through the stakeholder review process. Because there are no Nodal impacts, the ERCOT CEO has no opinion on whether or not PRR836 is necessary prior to the Texas Nodal Market Implementation Date. The ERCOT CEO has the right to reevaluate the PRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.