| I. Revision Request Details |  |
| --- | --- |
| Date | August 14, 2009 |
| Revision Request Number | NOGRR028 |
| Revision Request Name | Synchronization - Backup Control Plan Submission Process |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Nodal Operating Guide Revision Request (NOGRR) 028, Synchronization - Backup Control Plan Submission Process, synchronizes Nodal Operating Guide language with proposed zonal Operating Guide language as a result of Operating Guide Revision Request (OGRR) 233, Backup Control Plan Submission Process. Since it would be problematic to revert back to outdated Operating Guide language, it is imperative that the Nodal Operating Guides be synchronized with the proposed zonal OGRR233 in order to have a clear transition from one set of rules to another for ERCOT and Market Participants to operate within. After initial review, NOGRR028 does not impact Nodal systems, budget or schedule; therefore, the ERCOT CEO believes this NOGRR should proceed through the stakeholder review process. Assuming OGRR233 is approved, the ERCOT CEO has determined that NOGRR028 is necessary prior to the Texas Nodal Market Implementation Date in order to synchronize with OGRR233. The ERCOT CEO has the right to reevaluate the NOGRR if there are any changes during the stakeholder process. |  |

II. Suggested ERCOT Position – Provided by Area Owners

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

Business Perspective Grid Operations Does not apply to my area No opinion on the need for Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: Concurred with ERCOT position agreed to during 08/12/09 CEO Review discussion.. Wholesale Markets . Does not apply to my area No opinion on the need for Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________. System Planning . Does not apply to my area No opinion on the need for Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. 4. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: Concurred with ERCOT position agreed to during 08/12/09 CEO Review discussion. Compliance . Does not apply to my area No opinion on the need for Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: Concurred with ERCOT position agreed to during 08/12/09 CEO Review discussion. Nodal Perspective . Does not apply to my area No opinion on the need for Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: Concurred with ERCOT position agreed to during 08/12/09 CEO Review discussion. IT Perspective . Does not apply to my area No opinion on the need for Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: Concurred with ERCOT position agreed to during 08/12/09 CEO Review discussion.

| III. Other Views – Provided by Area Owners |  |  |
| --- | --- | --- |
| Alternate View / Rationale | Person holding alternate view | Alternate view provided by |

IV. Suggested ERCOT Position – Provided by COO/CTO/CIO

COO Suggested ERCOT Position: Concurred with ERCOT position agreed to during 08/12/09 CEO Review discussion .; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________. CTO Suggested ERCOT Position: Concurred with ERCOT position agreed to during 08/12/09 CEO Review discussion .; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________. CIO Suggested ERCOT Position: Concurred with ERCOT position agreed to during 08/12/09 CEO Review discussion .; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________.