| NPRR Number | 198 | NPRR Title | Load Used in RMR Studies |
| --- | --- | --- | --- |
| Date |  | November 13, 2009 |  |
| Submitter’s Information |  |  |  |
| Name |  | Marguerite Wagner |  |
| E-mail Address |  | Marguerite.wagner@pseg.com |  |
| Company |  | PSEG TX |  |
| Phone Number |  | 201-303-5468 |  |
| Cell Number |  |  |  |
| Market Segment |  | Independent Generator |  |

Comments

PSEG TX appreciates that ERCOT has provided comments on NPRR198 and we provide these comments to address the considerations presented by ERCOT.

PSEG TX agrees that ERCOT, as the reliability coordinator, must retain the capability to use a load forecast in RMR studies that reflects what ERCOT actually believes the load will be in a particular region for RMR studies.  NPRR198 does not seek to remove this capability but instead NPRR198 identifies that the process for RMR evaluation (1) is not defined in the ERCOT Nodal Protocols, (2) the current process assumes the existing Zonal process which uses the Steady State Working Group (SSWG) non-coincident peak load systemwide to determine the need for RMR, and (3) the current process can be improved while retaining flexibility for ERCOT to support reliability.

The current RMR evaluation process studies the need for RMR using the noncoincident systemwide peak developed by aggregating the peak for each Transmission Service Provider (TSP) through the SSWG process.  This load inherently over estimates flows systemwide, and in the local area around the RMR—because the SSWG load value uses the peak of the local area and the peak for each area across the entire system—regardless of whether they are coincident (or not).  The use of this load value in the RMR studies can result in the procurement of RMR services when they may not be needed.

To address the concerns set out in ERCOT’s comments we propose changes to the initial language we submitted in NPRR198. This proposal supports ERCOT in developing an RMR study case as follows:

The load in the RMR study would be based on a forecast developed by (1) using the SSWG load for the Transmission Service Provider region where the RMR is located and (2) using the maximum weekly peak Load forecast for the RMR time horizon posted in accordance with P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability Council of Texas Power Region, for the remaining system load.

ERCOT’s stated concern is around the need to use the peak load for the local area. Using the SSWG peak load from the TSP for the load in the area that includes the RMR (over the time horizon of the RMR contract) addresses ERCOT’s concern about creating a stress test case for study.

Using the peak Load forecast posted in accordance with P.U.C. Subst. R. 25.505, for the rest of the system, would employ peak load calculated by ERCOT that ERCOT believes to be defensible for the rest of the system.  In aggregate, this revised language responds to the issues raised by ERCOT’s comments.

Additionally, as a separate recommendation not addressed in this NPRR we recommend that the SSWG process for developing peak loads be reviewed—with an eye toward potentially providing a mid year update to the TSP load forecasts, if necessary, to reflect changing system and economic conditions.  We revise the NPRR198 language as presented below.

Revised Proposed Protocol Language

3.14.1.2	ERCOT Evaluation

(1)	Upon receipt of a Notification under Section 3.14.1.1, Notification of Suspension of Operations, ERCOT shall post the Notification on the MIS Secure Area and shall post all existing relevant studies and data and provide electronic notice to all registered Market Participants of the Application and posting of the studies and data.

(2)	Within 14 days after receiving the Notification described in paragraph (1) above, unless otherwise notified by ERCOT that a shorter comment period is required, Market Participants may submit comments to ERCOT on whether the proposed RMR Unit meets the test of operational necessity to support ERCOT System reliability or whether the proposed RMR Unit should qualify for a multi-year RMR Agreement.  ERCOT shall consider and post all submitted comments on the MIS Secure Area.

(3)	Within 18 days after receiving the Notification, ERCOT shall make an initial determination of whether the Generation Resource is required to support ERCOT System reliability.  ERCOT shall develop a Load value for use in the RMR study as follows:  For the Load in the RMR local area, ERCOT shall use the regional Load value provided by the appropriate Transmission Service Provider (TSP) as part of the annual Steady State Working Group study case development process.  For Load for the rest of the system, ERCOT shall use maximum system peak Load forecast for the next 12 months based on the weekly Load forecast data posted pursuant to P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability Council of Texas Power Region.  Additionally, ERCOT shall conduct any other analysis as required and shall post all study data and results and all analyses and its determination on the MIS Secure Area and notify the Generation Entity of the determination.

(4)	Within ten days after a determination by ERCOT that the Generation Resource is required to support ERCOT System reliability, the Generation Entity shall, if it has not already done so, complete and submit to ERCOT Part II of the Notification of Suspension of Operations (Section 22, Attachment E, Notification of Suspension of Operations).  ERCOT shall post the Part II information on the MIS Secure Area.  On the 11th day after the determination or on receipt of Part II of the Notification, whichever comes first, ERCOT and the Generation Entity shall begin good faith negotiations on an RMR Agreement.  These negotiations shall include the budgeting process for Eligible Costs and for fuel costs as detailed in Section 3.14.1.11, Budgeting Eligible Costs, and Section 3.14.1.15, Budgeting Fuel Costs.

(5)	Within 60 days after receiving the Part I Notification, ERCOT shall make a final assessment of whether the Generation Resource is required to support ERCOT System reliability.  If ERCOT determines that the Generation Resource is required, and the RMR Agreement between ERCOT and the Generation Resource has not yet been finalized, good faith negotiations must continue.  If ERCOT determines that the Generation Resource is not needed to support ERCOT System reliability, then the Generation Resource may cease or suspend operations according to the schedule in its Notification.

(6)	If, after 90 days following ERCOT’s receipt of the Part I Notification, either ERCOT has not informed the Generation Entity that the Generation Resource is not needed for ERCOT System reliability or both parties have not signed a RMR Agreement for a Generation Resource that ERCOT has determined to be required for ERCOT System reliability, then the Generation Entity may file a complaint with the PUCT under subsection (f)(1) of P.U.C. Subst. R. 25.502, Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas.

(7)	If, after 90 days following receipt of the Part I Notification, ERCOT and the Generation Entity have not finalized an RMR Agreement for a Generation Resource that ERCOT has determined to be required for ERCOT System reliability, then the Generation Entity shall maintain that Generation Resource(s) so that it is available for RUC commitment until no longer required to do so under P.U.C. Subst. R. 25.502(f)(2).