- Section 2:

PRR830 – Reactive Power Capability Requirement

This Protocol Revision Request (PRR) clarifies the Reactive Power capability requirement for all Generation Resources, including existing Wind-powered Generation Resources (WGRs) who are not able to meet the 0.95 lead/lag requirement with the Generation Resource’s Unit Reactive Limit (URL).  WGRs that commenced operation on or after February 17, 2004, and have a signed Standard Generation Interconnection Agreement (SGIA) on or before December 1, 2009 may meet the Reactive Power requirements through a combination of the WGR’s URL and/or automatically switchable static VAR capable devices and/or dynamic VAR capable devices.

Revised Subsections:  2.1, 2.2

- Section 4:

PRR836 – Revised Minimum Ramp Rate for Balancing Energy Service Down to Comport with PRR803

This PRR changes the divisor for the minimum ramp rate required for a Balancing Energy Service Down bid from 40 to 56 to reflect the change resulting from the implementation of PRR803, Revised Implementation Approach for PRR 601, as it relates to the number of minutes of Balancing Energy Service ramping over a one-hour time period.

Revised Subsection:  4.5.2

- Section 6:

PRR830 – Reactive Power Capability Requirement

See Section 2 above.

Revised Subsections:  6.5.7, 6.5.7.1, 6.7.6

- Section 8:

PRR823 – Clarifying Language for Resource 12-Month Rolling Planned Outage Schedule Format and Reporting Requirement

This PRR clarifies language regarding the requirement for Resource Entities to input a 12-month rolling schedule for Outages in the Outage Scheduler application.

Revised Subsections:  8.1.3.1, 8.1.3.2 [Unboxed due to effective date.]