OWG Meeting Notes 10/21/09

Attendance:

Brent Torgrimson	TRE			Walter Reid 		Wind Coalition

Andy Oliver		TRE			Rand Westbrook	CNP (TO)

Brad Calhoun		CNP (TO)		Steve Zaragoza	GPL (TO)

Jerry Willms		LCRA	(TO)		Robert Avila		BPUB (TO)

Steve Bone		CPS (QSE)		Wayne Bolton		BRAZOS (QSE)

Sherry Looney		LUMINANT (QSE)	Kevin Brown		AEN (TO)

Rick Keetch		RELIANT (QSE)	Frank Owens		TMPA (TO)

Leticia Soto Reyes	ERCOT		Aaron Fritz		BTU (QSE)

Wayne Thomas	BTU (QSE)		Ken Donohoo 		ONCOR (TO)

Kelly Blackener	ERCOT		Leo Villanueva	ERCOT

Sharon Wang		ERCOT		Yvette Landin		ERCOT

Dennis Sauriol	(phone)	AEP (TO)	Ross Owen (phone)	ONCOR (TO)

Jeremy Carpenter (phone)	TENASKA (QSE)

Dennis Kunkel (phone)	AEP (TO)

John Pallen (phone)		NRG (QSE)

09:30 Meeting opened with Antitrust Admonition by Frank Owens.

Meeting notes for September were reviewed.

OGRR 226 Generation Resource Response Time Requirement – Reviewed ERCOT comments. Some language modifications were made at the meeting. Ready to recommend to ROS for approval.

OGRR 232 Revise the Process for Submitting Biennial Unit Reactive Limits (Lead and Lag) – OWG suggests ERCOT include a copy of TML list in the guides. There were discussions on why 35,000 MW load level is selected as a condition for testing which needs ERCOT to provide further clarifications. Tabled for one month to allow time for ERCOT to respond to questions.

NOGRR027 Revise the Process for Submitting Biennial Unit Reactive Limits - Tabled for one month to allow time for ERCOT to respond to questions.

ORGG 233 Backup Control Plan Submission Process – The document will be sent to ROS as it is.

NOGRR028 Synchronization – Back-Up Control Plan Submission Process – recommend to ROS for approval.

Operations Report – Sharon Wang reviewed August Operations Report.

Black Start Task Force Report – Kelly Blackener reviewed the 2010 Black Start Plan Format. It was recommended for further discussion at Black Start Task Force in November.

Compliance Report – Andy Oliver reported the new updates on the TRE website.

System Operations Report – Leo Villanueva represented ERCOT for questions.

PRR 824 Primary Frequency Response from WGRs – Walter Reid will submit an updated version in a couple of weeks for review.

Potential PRR for OOME Instruction - Off list for now.

Frank Owens was nominated to be OWG Chair. Brad Calhoun was nominated to be Vice Chair.

Next OWG meeting will be moved to November 17th, starting at 10:00 am.