| PRR Number | 832 | PRR Title | Deletion of Schedule Control Error (SCE) Posting Requirement |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Date of Decision |  | November 19, 2009 |  |  |
| Proposed Effective Date |  | February 1, 2010 |  |  |
| Priority and Rank Assigned |  | Not applicable |  |  |
| Protocol Section Requiring Revision |  | 12.4.4.2.3.3, Public Posting of Entity-Specific Market Reports |  |  |
| Revision Description |  | This Protocol Revision Request (PRR) removes the language that requires ERCOT to post the Schedule Control Error (SCE) report seven days after the Operating Day to the Market Information System (MIS). |  |  |
| Reason for Revision |  | The reason for this PRR is to align the Protocols with current practices. ERCOT has never provided this SCE report to the market. A similar monthly report is produced by the Texas Regional Entity (TRE) and is posted on the TRE website. |  |  |
| Overall Market Benefit |  | Clarity of the requirement to provide SCE information. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed PRR832 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Relevance to Nodal Market |  | Not applicable. |  |  |
| Nodal Protocol Section(s) Requiring Revision |  | Not applicable. |  |  |
| Procedural History |  | - On 9/15/09, PRR832, the CEO Revision Request Review and Impact Analysis were posted. - On 10/19/09, Texas Regional Entity (TRE) comments were posted. - On 10/22/09, PRS considered PRR832. - On 11/19/09, PRS considered the 10/22/09 PRS Recommendation Report and Impact Analysis for PRR832. |  |  |
| PRS Decision |  | On 10/22/09, PRS voted to recommend approval of PRR832 as submitted. There was one abstention from the Independent Generator Market Segment. All Market Segments were present for the vote. On 11/19/09, PRS unanimously voted to endorse and forward the 10/22/09 PRS Recommendation Report and Impact Analysis for PRR832 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 10/22/09, TRE comments were discussed. On 11/19/09, there was no discussion. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Clarity of the requirement to provide SCE information. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | John Dumas |
| E-mail Address | jdumas@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3195 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512-248-6463 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| TRE 101909 | Clarified the “Reason for Revision” language. |

Proposed Protocol Language Revision

12.4.4.2.3.3	Public Posting of Entity-Specific Market Reports

(1)	Sixty (60) days after the applicable Operating Day, ERCOT shall post portfolio offer curves for Balancing Energy Service and each type of Ancillary Service, for each area where available.

(2)	Forty-eight (48) hours after the applicable Operating Day, ERCOT shall post the bid price and the name of the QSE submitting the bid for the highest-priced bid selected or dispatched by ERCOT for Balancing Energy Service and each Ancillary Service, for each area where available.

(3)	If the MCPE or the MCPC expressed in dollars per MWh or dollars per MW per hour (“Trigger Price”) exceeds fifty (50) times the Houston Ship Channel natural gas price index for any Settlement Interval in an Operating Day, the portion of any QSE’s bid for Balancing Energy Service or any other Ancillary Service that is at or above the Trigger Price for the applicable Settlement Interval shall be posted seven (7) days after the day for which the bid was submitted.

(4)	Sixty (60) days after the applicable Operating Day, ERCOT shall post the following by Settlement Interval and area, where available:

(a)	Final energy schedules for each QSE;

(b)	Final Ancillary Services schedules for each QSE;

(c)	Resource Plans for each Resource represented by a QSE;

(d)	Actual output from each Resource;

(e)	All Dispatch Instructions from ERCOT for Balancing Energy and Ancillary Services; and

(f)	Load and Generation Resource output for each Congestion Zone for each QSE that dynamically schedules its Resources.

The information posted shall include the names of the Resources in the portfolio that were committed, the names of the Entities submitting the information, and the names of the Entities controlling each Resource in the portfolio.  ERCOT shall determine the Entity in control of each Resource in accordance with subsection (e) of P.U.C. Subst. R. 25.502, Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas.

(5)	One hundred and eighty (180) days after the applicable Operating Day, ERCOT shall post Adjusted Metered Load (AML) for each QSE, by Congestion Zone and by Settlement Interval; and

(6)	To the extent that the data initially posted pursuant to the requirements of this subsection are subject to change in subsequent ERCOT settlement operations, ERCOT shall provide for incremental posting of each subsequent settlement operation as it affects the items required to be posted in this subsection within seven (7) days of the completion of any subsequent settlement operation.  Data related to the initial posting and all subsequent settlement operations shall remain accessible for a period of at least twenty-four (24) months following the applicable Operating Day.  Notwithstanding the foregoing, ERCOT is not required to update the data.