Date: 	November 25, 2009

To:	TAC Representatives

From:	Sandy Morris, Protocol Revision Subcommittee (PRS) Chair

Re:	Consideration of Protocol Revision Requests (PRRs) and Nodal Protocol Revision Requests (NPRRs)

The PRS met and discussed several revision requests and presents the following PRRs and NPRRs to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

# PRRs Recommended for Approval:

- PRR832, Deletion of Schedule Control Error (SCE) Posting Requirement [ERCOT].

Proposed Effective Date:  February 1, 2010.

CEO Determination:  No opinion on whether or not PRR832 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to business functions; no impact to grid operations or practices.

Revision Description: This PRR removes the language that requires ERCOT to post the SCE report seven days after the Operating Day to the Market Information System (MIS).

Procedural History:  PRR832 was posted on 9/15/09.  On 10/22/09, PRS voted to recommend approval of PRR832 as submitted.  There was one abstention from the Independent Generator Market Segment.  On 11/19/09, PRS unanimously voted to endorse and forward the 10/22/09 PRS Recommendation Report and Impact Analysis to TAC.

- PRR833, Primary Frequency Response Requirement from Existing WGRs [CPS Energy].

Proposed Effective Date:  February 1, 2010.

CEO Determination:  No opinion on whether or not PRR833 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to business functions; no impact to grid operations or practices.

Revision Description: This PRR places a Primary Frequency Response requirement on WGRs that were not covered by PRR824, Primary Frequency Response from WGRs.

Procedural History:  PRR833 was posted on 9/22/09.  On 10/22/09, PRS voted to recommend approval of PRR833 as submitted via roll call vote.  On 11/19/09, PRS voted via roll call vote to endorse and forward the 10/22/09 PRS Recommendation Report as amended by the 11/12/09 ERCOT comments and Impact Analysis to TAC.

- PRR839, Revised Resource Category Generic Fuel Costs [AEP] – Urgent.

Proposed Effective Date:  January 1, 2010.

CEO Determination:  No opinion on whether or not PRR839 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to business functions; no impact to grid operations or practices.

Revision Description: This PRR revises the Resource Category Generic Fuel Cost (RCGFC) for Direct Current (DC) Tie with non-ERCOT Control Area and Block Load Transfer (BLT) Resources to synchronize with the Nodal Protocols and to allow cost recovery for supplying this service.

Procedural History:  PRR839 was posted on 10/23/09.  On 10/28/09, PRS voted to grant PRR839 Urgent status via PRS email vote.  On 11/19/09, PRS voted to recommend approval of PRR839 as revised by the 11/18/09 AEP comments and as revised by PRS.  There were two abstentions from the Municipal and Consumer Market Segments.  Credit review is pending.

- PRR840, Update Trading Hub Conversion for 2010 Congestion Zones [ERCOT] – Urgent.

Proposed Effective Date:  January 1, 2010.

CEO Determination:  No opinion on whether or not PRR840 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to business functions; no impact to grid operations or practices.

Revision Description: This PRR synchronizes the ERCOT Protocols to reflect the 2010 Commercially Significant Constraint (CSC) definitions, approved by the ERCOT Board on September 15, 2009, as it affects the Trading Hub calculations for 2010 (several transmission buses moved between Congestion Zones).  As such, the calculation for converting transactions at Trading Hubs to existing Congestion Zones is revised.  A similar PRR for 2009, PRR798, was approved by the ERCOT Board on February 17, 2009.

Procedural History:  PRR840 was posted on 11/12/09.  On 11/18/09, PRS voted to grant PRR840 Urgent status via PRS email vote.  On 11/19/09, PRS unanimously voted to recommend approval of PRR840 as submitted. Credit review is pending.

NPRRs Recommended for Approval

None – see below.

NPRRs Recommended for Approval and Inclusion in the Parking Deck

  - NPRR153, Generation Resource Fixed Quantity Block [TPTF].

Proposed Effective Date:  Post Texas Nodal Market Implementation Date.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  To be determined - Due to “Not Needed for Go-Live” designation by the ERCOT CEO, the Impact Analysis for this item will be conducted at a future date.

Revision Description:  This NPRR revises existing Ancillary Service (AS) Offer criteria to provide for offers of Non-Spin in fixed quantity and time blocks from off-line Generation Resources similar to that for Load Resources.

Procedural History:  NPRR153 was posted on 9/12/08.  On 10/23/08, PRS unanimously voted to recommend approval of NPRR153 as submitted.  The Cooperative Market Segment was not present for the vote.  On 11/20/08, PRS unanimously voted to table NPRR153 pending the development of an Impact Analysis.  All Market Segments were present for the vote.  On 11/19/09, PRS unanimously voted to endorse and forward the 10/23/08 PRS Recommendation Report for NPRR153 to TAC with a priority of Medium and rank of 2. Credit review is pending.

  - NPRR164, Resubmitting Ancillary Service Offers in SASM [TPTF].

Proposed Effective Date:  Post Texas Nodal Market Implementation Date.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  To be determined - Due to “Not Needed for Go-Live” designation by the ERCOT CEO, the Impact Analysis for this item will be conducted at a future date.

Revision Description:  This NPRR revises existing rules for resubmitting AS offers in the Adjustment Period to provide for resubmitting those AS offers not awarded in the previous markets at the higher of the Day-Ahead Market (DAM) Market Clearing Price for Capacity (MCPC) for the corresponding AS or the Resource’s offer price for the corresponding AS in the DAM.

Procedural History:  NPRR164 was posted on 11/12/08.  On 11/20/08, PRS unanimously voted to recommend approval of NPRR164 as submitted.  On 12/18/08, PRS unanimously voted to table NPRR164 until the special 1/8/09 PRS meeting.  On 1/22/09, PRS unanimously voted to table NPRR164.  On 11/19/09, PRS unanimously voted to endorse and forward the 11/20/08 PRS Recommendation Report for NPRR164 to TAC with a priority of Medium and rank of 2. Credit review is pending.

  - NPRR169, Clarify the Calculation and Posting of LMPs for the Load Zone and LMPs for each Hub [TPTF].

Proposed Effective Date:  Post Texas Nodal Market Implementation Date.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  To be determined - Due to “Not Needed for Go-Live” designation by the ERCOT CEO, the Impact Analysis for this item will be conducted at a future date.

Revision Description:  This NPRR Clarifies language that specifies the calculation and posting of Locational Marginal Prices (LMPs) for the Load Zone and “LMPs for each Hub”.

Procedural History:  NPRR169 was posted on 12/16/08.  On 12/18/08, PRS unanimously voted to waive notice to consider NPRR169.  Then, PRS unanimously voted to recommend approval of NPRR169 as amended by the 12/16/08 CPS Energy comments and as revised by PRS.  The Independent Generator Market Segment was not present for the votes.  On 1/22/09, PRS unanimously voted to table NPRR169. On 11/19/09, PRS unanimously voted to endorse and forward the 12/18/08 PRS Recommendation Report for NPRR169 to TAC with a priority of High/Medium and rank of 1. Credit review is pending.

Revision Requests Rejected and Failed Motions

None.

Revision Requests Withdrawn (no TAC action required)

None.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review at the December 17, 2009 PRS Meeting

- NPRR194, Synchronization of Zonal Unannounced Generation Capacity Testing Process [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR replaces the seasonal testing requirement with unannounced Generation Resource testing and adds a requirement for QSEs to seasonally update their Resources’ High Sustainable Limits (HSLs).  The NPRR also leverages existing emergency operations Settlement functionality to provide a mechanism to compensate a Generation Resource for the additional energy above the pre-test Security-Constrained Economic Dispatch (SCED) Base Point during the unannounced Generation Resource test period.  This NPRR synchronizes the Nodal Protocols with the process added to the zonal Protocols pursuant to PRR750, Unannounced Generation Capacity Testing.

Procedural History:  NPRR194 was posted on 8/18/09.  On 8/25/09, PRS unanimously voted to refer NPRR194 to ROS.  On 10/22/09, PRS unanimously voted to table NPRR194 for one month.  On 11/19/09, PRS unanimously voted to recommend approval of NPRR194 as revised by the 11/17/09 Luminant comments and as revised by PRS. Credit review is pending.

- NPRR197, Section 21, Synchronization of Zonal Protocols [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description: This synchronizes zonal Protocol Section 21 with the current Nodal Protocols and includes changes from PRR821, Update of Section 21, Process for Protocol Revision.

Procedural History:  NPRR197 was posted on 10/30/09.  On 11/19/09, PRS unanimously voted to recommend approval of NPRR197 as submitted.  Credit review is pending.

Revision Requests Deferred or Tabled

- PRR826, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  To be determined.

CEO Determination:  The ERCOT CEO has determined that the PRR826 should proceed through the stakeholder review process.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.

Revision Description:  This PRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the Public Utility Commission of Texas (PUCT) according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  PRR826 was posted on 7/26/09.  On 8/25/09, PRS unanimously voted to table PRR826 for one month.  On 9/17/09, PRS unanimously voted to table PRR826 for one month.  On 10/22/09, PRS unanimously voted to table PRR826 for one month. On 11/19/09, PRS unanimously voted to table PRR826.  Credit review is pending.

- PRR834, ERCOT Load Forecast Accuracy [Luminant, CPS, NRG] – Urgent.

Proposed Effective Date: Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR proposes revisions that are intended to monitor and establish performance standards for ERCOT’s Load forecasting of the ERCOT Region and ERCOT Congestion Zones.

Procedural History:  PRR834 was posted on 9/24/09.  On 9/30/09, PRS voted to grant PRR834 Urgent status via PRS email vote.  On 10/22/09, PRS voted to table PRR834 for one month with one abstention from the Independent Generator Market Segment.  On 11/19/09, PRS unanimously voted to table PRR834 for one month.  Credit review is pending.

- PRR837, Load Used in RMR Studies [PSEG TX].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not PRR840 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description: This PRR would provide guidance to ERCOT to use the peak Load forecast posted pursuant to P.U.C. SUBST. R. 25.505, Resource Adequacy in the Electric Reliability Council of Texas Power Region, for the next 12 months for the Reliability Must-Run (RMR) study.  This aligns the Load forecast period with the RMR contract period and ensures that the Load forecast used for the analysis is one with a reasonable probability of occurrence.

Procedural History:  PRR837 was posted on 10/16/09.  On 11/19/09, PRS unanimously voted to table PRR837 for one month.  Credit review is pending.

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  To be determined.

CEO Determination:  The ERCOT CEO has determined that the NPRR190 should proceed through the stakeholder review process.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the PUCT according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table NPRR190 for one month.  On 9/17/09, PRS unanimously voted to table NPRR190 for one month.  On 10/22/09, PRS unanimously voted to table NPRR190 for one month.  On 11/19/09, PRS unanimously voted to table NPRR190.  Credit review is pending.

- NPRR198, Load Used in RMR Studies [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR would provide guidance to ERCOT to use the peak Load forecast posted pursuant to P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability Council of Texas Power Region, for the next 12 months for the RMR study.  This aligns the Load forecast period with the RMR contract period and ensures that the Load forecast used for the analysis is one with a reasonable probability of occurrence.

Procedural History:  NPRR198 was posted on 11/10/09.  On 11/19/09, PRS unanimously voted to table NPRR198 for one month.  Credit review is pending.

Revision Requests Designated for Post Go-Live (Pending Future Consideration for the Parking Deck)

- NPRR131, Ancillary Service Trades with ERCOT [NRG Texas].

- NPRR156, Transparency for PSS and Full Interconnection Studies [PSEG Texas].

- NPRR181, FIP Definition Revision [Luminant].

Revision Requests Pending Input from Another Subcommittee/Task Force

- PRR838, Fast Response Distributed Energy Resource (DER) [Enchanted Rock].

Proposed Effective Date:  Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description: This PRR allows for participation of Distributed Energy Resources (DERs) in Responsive Reserve Service (RRS) on an equivalent basis with synchronous condenser fast-response hydro.

Procedural History:  PRR838 was posted on 10/22/09.  On 11/19/09, PRS unanimously voted to refer PRR838 to ROS with instruction to have the Performance, Disturbance and Compliance Working Group (PDCWG) assist in constructing the DER operational prototype test, to provide transparency to Market Participants on the type of the test and to report the results to ROS.  Credit review is pending.

  - NPRR147, DAM Short Pay Changes [WMS].

Proposed Effective Date:  To be determined.

CEO Determination:  To be determined.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR changes the way short pays to the Day Ahead Market (DAM) are handled.  This NPRR reallocates short payments using a procedure that draws from the Congestion Revenue Right (CRR) Auction revenue account first and then draws any additional shortfalls from the CRR Balancing Account.

Procedural History:  NPRR147 was posted on 8/13/08.  On 8/21/08, PRS unanimously voted to refer NPRR147 to the Transition Plan Task Force (TPTF) for review.  On 9/24/08, PRS voted to refer NPRR147 to WMS to consider Reliant’s comments made at TPTF as well as subsequent comments made in response to NPRR147.  There was one opposing vote from the IPM Market Segment.  On 10/23/08, PRS unanimously voted to table NPRR147 until the 11/20/08 PRS meeting.  There was one abstention from the IOU Market Segment.  On 11/20/08, PRS unanimously voted to refer NPRR147 to the WMS and Credit WG for consideration.  Credit review is pending.

New Revision Requests Scheduled for Consideration at the December 17, 2009 PRS Meeting

None scheduled at this time.