- Section 10:

PRR766 – Interim Solution for 15-Minute Settlement of Advanced Meters

This Protocol Revision Request (PRR) supports the interim settlement of all provisioned Advanced Meters using actual 15 minute data, the same way Interval Data Recorder (IDR) meters are settled today, until the long-term solution developed by the Public Utility Commission of Texas (PUCT) Project No. 34610, Implementation Project Relating to Advanced Metering, or a future rulemaking is implemented.

Revised Subsections:  10.3.3.3, 10.12.3 [Unboxed due to system implementation.]

- Section 11:

PRR756 – Distributed Renewable Generation Modifications

This PRR revises language to allow for the Load Profiling and Data Aggregation methodology to better represent output of Distributed Renewable Generation (DRG) Resources with a capacity of less than 50 kW.  This PRR complies with House Bill 3693, Act of May 28, 2007, 80th Leg., R.S., ch 939, § 26.

Revised Subsections:  11.4.4.2, 11.4.4.3 [Unboxed due to system implementation.]

- Section 18:

PRR766 – Interim Solution for 15-Minute Settlement of Advanced Meters

See Section 10 above.

Revised Subsection:  18.2 [Unboxed due to system implementation.]

- Section 19:

PRR766 – Interim Solution for 15-Minute Settlement of Advanced Meters

See Section 10 above.

Revised Subsection:  19.7 [Unboxed due to system implementation.]