## proxy
Example with Proxy Heat Rate |  |  |  |  | Quick input changes |  |  | Heat Rate per ramp hour | AVG MMBTU per ramp hour | Average Generation - Unit of Measure - MW
[5 empty] | Settlement Point Price (SPP) |  | 70 | 40 | 800 | 20 | Generation Output @ Breaker Close (hour1)
Startup Fuel | MMBTU | $ per start |  |  | FIP |  | 5 | 30 | 750 | 25 | Generation Output after Breaker Close but before LSL (hour2) Unit of Measure - MW
Fuel to Breaker Close | 1000 | 5000 |  |  | Heat Rate Proxy |  | 10 | 20 | 600 | 30 | Generation Output after Breaker Close but before LSL (hour3)
Breaker Close to LSL | 2150 | 10750 |  |  | LSL |  | 40 |  | 2150
Shut Down Fuel | 0 | 0 |  |  | No Voltage, EMR, or Gen above LSL
Startup Offer |  | 15750 |  |  | Fuel rate @ LSL |  | 12
Proxy Heat Rate fuel | 750 | 3750
SUPR |  | 12000 | (= Start Offer - Proxy Heat Rate fuel)
MEPR |  | 60
|  | Generation | RUCG | RUCEXRQC (1) | RUCMEREV | RUCMW |  | RTEIAMT
RAMP Hours (QCLAW) | 1 | 20 |  | 200 |  |  |  | -1400
| 2 | 25 |  | 250 |  |  |  | -1750
| 3 | 30 |  | 300 |  |  |  | -2100
RUC Hours | 4 | 40 |  |  | 2800 |  |  | -2800
| 5 | 40 |  |  | 2800 |  |  | -2800
| 6 | 40 |  |  | 2800 |  |  | -2800
| 7 | 40 |  |  | 2800 |  |  | -2800
|  |  | 21600 | 750 | 11200 | -9650 |  | -16450
(1) RUCEXRQC will only Clawback Revenues above MEPR (when SPP > MEPR)
Note: The fuel calculated utilizing the Proxy Heat Rate only reduces the Startup Cost and does not affect Qclaw intervals.

## no proxy
Example without Proxy Heat Rate |  |  |  |  | Quick input changes |  |  | Heat Rate per ramp hour | AVG MMBTU per ramp hour | Average Generation - Unit of Measure - MW
[5 empty] | Settlement Point Price (SPP) |  | 70 | 40 | 800 | 20 | Generation Output @ Breaker Close (hour1)
Startup Fuel | MMBTU | $ per start |  |  | FIP |  | 5 | 30 | 750 | 25 | Generation Output after Breaker Close but before LSL (hour2) Unit of Measure - MW
Fuel to Breaker Close | 1000 | 5000 |  |  | Heat Rate Proxy |  | 10 | 20 | 600 | 30 | Generation Output after Breaker Close but before LSL (hour3)
Breaker Close to LSL | 2150 | 10750 |  |  | LSL |  | 40 |  | 2150
Shut Down Fuel | 0 | 0 |  |  | No Voltage, EMR, or above LSL
Startup Offer |  | 15750 |  |  | Fuel rate @ LSL |  | 12
Proxy Heat Rate fuel | 0 | 0
SUPR |  | 15750 | (= Start Offer - Proxy Heat Rate fuel)
MEPR |  | 60
| Hours | Generation | RUCG | RUCEXRQC (1) | RUCMEREV | RUCMW |  | RTEIAMT
RAMP Hours (QCLAW) | 1 | 20 |  | 200 |  |  |  | -1400
| 2 | 25 |  | 250 |  |  |  | -1750
| 3 | 30 |  | 300 |  |  |  | -2100
RUC Hours | 4 | 40 |  |  | 2800 |  |  | -2800
| 5 | 40 |  |  | 2800 |  |  | -2800
| 6 | 40 |  |  | 2800 |  |  | -2800
| 7 | 40 |  |  | 2800 |  |  | -2800
|  |  | 25350 | 750 | 11200 | -13400 |  | -16450
(1) RUCEXRQC will only Clawback Revenues above MEPR
Note: The fuel calculated utilizing the Proxy Heat Rate only reduces the Startup Cost and does not affect Qclaw intervals.