OWG Report to ROS

December 10, 2009

The Operations Working Group (OWG) met November 17, 2009.

On November 17, the OWG met for its regularly scheduled meeting. During the meeting the following items were discussed:

The OTF Report:  No Report Given. Winter Storm Drill on November 18th.

The BSTF Report: Frank Owens reported that a small group was formed to review the ERCOT template and compare it to Section 8 attachment A of the Nodal Operating Guides.

The TRE Report: Brent Torgrimson reported that Texas RE will do the ERCOT protocol and guide audits until the end of 2010 for transition to be determined by PUCT.

The OWG reviewed the following:

OGRR 232 (NOGRR 027) Revise the Process for Submitting Biennial Unit Reactive Limits (Lead and Lag) – Sandip Sharma explained that ERCOT selected 35,000 MW load level as a typical low load condition for leading reactive capability tests and 50,000 MW load level as a typical high load condition for lagging reactive capability tests.  There were concerns that some units run only for peak load seasons therefore the current OGRR languages may exclude certain scenarios for doing leading reactive capability tests. The OGRR was tabled to next month for ERCOT to come up with language. TRE will check to see who’s responsible for making sure that unit reactive tests are done when necessary.

OGRR 233 and NOGRR 028 Backup Control Plan Submission Process – Tabled for one month to review language and full effect on the guides and protocols, also allow ERCOT and individuals to make formal comments.

NOGRR 029 Synchronization of OGRR224 SPS Operations Under No Contingency – Revised language by specifying the SPS report due date to be 15th. The revised version will be sent to ROS for approval.

NOGRR 031 Synchronization with OGRR218, Revised training Requirements for QSEs – Recommended approval of the language. The document will come back to OWG with IA which will allow time for additional comments if there are any.

System Operations Report – Leo Villanueva represented ERCOT for questions.

Assignment from ROS, comparing planning and real-time reactive power capability requirements. -  A procedure will be drafted for OWG to compare RARF data versus actual data and to report how many units are lacking tests.

Next OWG meeting will be December 16th.

OWG meetings in 2010 will be scheduled on Wednesday following the week of ROS each month except for January 2010. In January OWG meeting will be on Monday January 18th in San Marcus prior to the dry run of the seminar.