## Slide 1: 12/17/09 – SEM Update
Woody Rickerson
Manager ERCOT Network Modeling

## Slide 2
TSPs
SRs
ERCOT
Zonal Model
TSPs
SRs
ERCOT
Zonal Model
NOMCRs
Nodal Model
TSPs
NOMCRs
ERCOT
Zonal Model
Nodal Model
SRs
TSPs
NOMCRs
ERCOT
Nodal Model
2000 – June 2009
Sep 2009 –Nodal Go-live
June 2009 – Sep 2009
Nodal Go-live
TODAY
History ERCOT Network Operations Model
SEM

## Slide 3: Since the Start of SEM . . .
150,160 Data and data attribute changes including:
Additions to the Model (50,881)
    297 breakers
    3296 bays
    62 power transformers
    226 electrical buses
    30 substations
    178 lines
Modifications to the Model (76,158)
Deletions from the Model (23,121)

## Slide 4: SEM Issues
Owner/Operator Difficulty
  Modification to allow Operator rights to create new equipment is scheduled
  NPRR to clarify responsibility for modeling transmission equipment owned by non-registered entities has been written.
Large Number of Line renames
  Complications with the scheduled outages
  One line drawings must be updated
  Contingencies must be renamed
Resource Owned Transmission Equipment
  TSP naming doesn’t always match names in RARF
Database Load Frequency
Approval to Energize Process

## Slide 5: TSP Model Change Activity during SEM
1894 total submits on 11/10
1634 total submits on 10/20

## Slide 6: NDSWG Coordination
Bi-monthly Webex meetings
One-off special meetings for outstanding issues
Issue tracking worksheet
  Modeling issues
  Modeling guide revisions
  Development of Modeling Templates
NOMCRhelp@ercot.com for immediate problems (answered almost 200 of these since SEM go-live)
QUESTIONS