## Slide 1: Generation Adequacy Task Force Update to WMS
December 16, 2009

## Slide 2: Topics
Methodology for inclusion of EILS in CDR (Possible Vote)
CDR inputs and assumptions
Additional Criteria for new unit additions in reserve margin calculation
Update on GATF schedule.

## Slide 3: EILS Methodology
GATF, in earlier meetings, recommended adding EILS resources in the CDR.
Remaining questions: 1) How much EILS to use in the reserve margin calculation? 2) What should the growth rate of EILS be in out years?
Question 1: Quantity - Initial proposal: use historical “procured” values
  Pro: procurement of EILS for the summer months covers the typical summer peak periods.
  Con: EILS procurements in the winter do not cleanly coincide with the winter peak.
Question 2: Growth Rate - Initial proposal: Keep out years static until more EILS procurement history is obtained.

## Slide 4: EILS Methodology
Based on more extensive review, ERCOT staff recommends:
  For the winter period, “current year”
    Use only the Oct.-Jan. Contract Period
    Use simple average of 2 Time Period procurements (Business Hours 3 and Non-Business Hours)
  For the summer period, “current year”
    Use the actual May procurement amount for Business Hours 3
For the “out year” periods, ERCOT recommends a 10% growth rate in EILS, with the caveat that this growth rate will have to be reviewed and possibly amended as additional EILS procurement data is collected.

## Slide 5: Reserve Margin Inputs and Assumptions
Installed Capacity Assumptions:
  Previous reserve margin calculations, each unit’s Summer Net Dependable Generating Capability was used.
  ERCOT staff recommended that RARF data be utilized and GATF agreed.
  GATF recommendation: best RARF data points to use in the reserve calculation are:
    “Seasonal net max sustainable rating – summer”, and
    “Seasonal net max sustainable rating – winter”
New Unit Additions
  Currently, new units added to reserve calculation with a signed generation interconnect agreement (SGIA) and a TCEQ-approved air permit.
  One viewpoint at GATF is that this is overly optimistic. More later.
Renewables
  No changes to ERCOT’s utilization of the effective load carrying capability methodology for wind generationwhen calculating reserve margins.
  Recommending that new solar resources be treated similarly to conventional generation, at least until a MW threshold of solar capacity was placed in service. The initial suggestion was for solar to be revisited once 200 MWs has been reached.

## Slide 6: Reserve Margin Inputs and Assumptions
Mothballed Capacity
  Currently based on the lead time and probability information furnished by generation owners as a result of the implementation of PRRs 573, Mothballed Generation Resource, and 596, Mothballed Generation estimated Return to Service Dates.
  No modifications recommended.
DC Tie Capacity
  50% of DC Tie Capacity used in reserve margin calculation.
  No suggested changes
“Switchable” Capacity
  Currently: Summer Net Dependable Capability of “switchable” units, less the amount reported by owners to be unavailable to ERCOT during peak (PRR 591 Switchable Unit Declaration).
  GATF recommending a change to the RARF reported data.
Netting of Generation and Load
  Private use network capacity available in the reserve margin calculation per PRR 593.
  ERCOT staff believes this methodology is still applicable, but PRR language will be reviewed again as it is often difficult to reconcile the provided data.
Retired Capacity
  Reduction in installed capacity is made for any publicly announced generating unit retirements during the CDR’s five-year forecast period.
  GATF recommended removal of CDR line item for retired capacity because retirements are already accounted for in the installed capacity values.

## Slide 7: CDR Inputs, Assumptions and Format
CDR Format – the GATF provided ERCOT staff with the following suggestions concerning the format of the CDR report:
  Move the “SummerCapacities” and “WinterCapacities” tabs further up in the report, right behind the “SummerSummary” and “WinterSummary” tabs.
  Include an executive summary of the approved GATF report in the CDR with a link to the final report - provides comprehensive information as to the various inputs and assumptions used.
Include the first 5 years in the curves provided in the “LongTermProjections” tab.
In the “SummerFuelTypes” and “WinterFuelTypes” tabs, provide a definition of “Other” and add a row for Solar technologies.

## Slide 8: New Unit Criteria in CDR
New Unit Additions
  Current methodology – SGIA and air permit
  Is this overly optimistic?
    In today’s economic climate it is difficult to secure financing for projects, even with a SGIA and air permit.
    Air permits can be appealed.
  Others believed the reserve margin calculation will always contain numerous assumptions with varying levels of uncertainty - most important aspect of CDR is to be consistent.
    No consensus, but most at GATF recommended the assumptions for new unit additions remain the same
  New criteria? Planned generation would be excluded, even if it has an IA and air permit, if it provides ERCOT with a public attestation that the generating unit will not be completed given current expectations.

## Slide 9: Update on GATF Schedule
Initial Goal:
  Complete a draft report by the December 2009 WMS meeting that provides ERCOT planning with recommendations on all the assumptions to use in the target reserve (LOLP) study and subsequent reserve margin calculations.
  Complete a final report for consideration and vote at the January 2010 TAC meeting
At least one month slippage.

## Slide 10: Questions or Comments?