## Slide 1: QSE Managers Working Group
Meeting Notes
2 December, 2009
Report to WMS
16 December, 2009
David Detelich - Chairperson

## Slide 2: QSE Managers Working Group Topics
PRR811, Real-Time Production Potential (Vote)
OGRR223, Real-Time Production Potential (Possible Vote)
WGRPP Forecast Accuracy Update
Draft PRR: Decommitment process for RUC
Load Forecasting Accuracy
Nodal: Wind Generation Issues

## Slide 3: PRR811, Real-Time Production Potential (Vote)
QMWG added language to specify the factors that go into the RTPP calculation
Comments added to TAC Action Report for WMS endorsement
No changes needed for OGRR223, Real-Time Production Potential.

## Slide 4: WGRPP Forecast accuracy analysis
October saw increased volatility
  Wind in Steep part of power curve
  Increased production
About 60 WGR are providing good MET data
QMWG asks that metrics presented to TAC be supplied to QMWG
PRR 841 Revise Total ERCOT Wind Power Forecast (TEWPF)

## Slide 5: WGRPP Forecast accuracy analysis
Based on Day Ahead resource plans submitted by QSE’s compared to aggregate WGRPP AWS forecast in order to scale the STWPF.

## Slide 6: October Data in Histogram
Risk of Over Commitment
Risk of Shortages

## Slide 7: PRR 841 Revise Total ERCOT Wind Power Forecast (TEWPF)
QMWG agrees with concept of PRR
ERCOT provided a comparison of Raw STWPF vs. Raw WGRPP
From May through October WGRPP is under STWPF an average of 570 MW.
QMWG can review the PRR further if requested.

## Slide 8: Decommitment process for RUC
ERCOT is drafting PRR language for this.
  Operations Support
  Settlements
RPRS changes too involved for implementation
Nodal Decommitment of RUC will be for changes in load forecast.

## Slide 9: Load Forecast Accuracy
ERCOT provided raw data for November
MAPE for HE16 = 2.90%
MAPE for all hours = 1.93%
No update on a workshop
ERCOT will provide Load forecast bias data to WMS; PRR will not be required

## Slide 10: Analysis of RPRS Monthly Report
RPRS Monthly Report for October
  10 of 25 hours required RPRS
  1 hour where not enough RPRS procured
RPRS Monthly Report for September
  Over procurement average of 1073 MW
  9 of 52 hours required RPRS
Based on 6.10.11 ERCOT Operations Performance – “theoretical amount of RPRS procurement “

## Slide 11: Theoretical Amount of RPRS Procurement
Theoretical Amount of RPRS Procurement = Actual Average Adjusted Metered Load - Day Ahead Resource Plan Generation On-line
  Should the ancillary service obligation be subtracted?
  Including NSRS obligation? 15 Min or 30 Min
Adding the URS+RRS Requirement
  22 of 52 hours required RPRS in September
  Over procurement average of 502 MW

## Slide 12: Wind Generation Nodal Issues
Draft NPRR Wind-powered Generation Resource (WGR) High Sustainable Limit (HSL) update process
This revision establishes the specific timing of the WGR’s HSL update to ERCOT and specifies that, when not curtailed, the WGR’s HSL should equal the WGR’s current meter reading.
QMWG Suggest IRR instead of WGR

## Slide 13: Next meeting
Next Meeting: January 15, 2010
Topics
  Chair positions
  Wind generation forecast accuracy
  Load Forecasting Accuracy
  Decommitment process for RUC
  Wind Generation Nodal Issues