## Slide 1: MIG TF Voting Items
Market Participant Notification Period (Transmission outage)
  <=3 Days …. 30 Days …. 91 Days …. >=1 Year
Interconnection Date for Protocol Considerations
  First Interconnection sets the Interconnection date for all future protocols.
  New interconnections Set a New Interconnection Date
Planning Concept Endorsement
  Maximum Flexibility
  Minimize Costs (Recommended)
  Economic Planning
Approval of MIG Whitepaper

## Slide 2: Market Participant Switch Request 3 Days (or Less)
Generators with multiple interconnections should follow the transmission outage time frame for switching interconnections
  3 day minimum for ERCOT review, but incentives to submit early. Allow shorter submission based on ERCOT’s current workflow on a case-by-case basis
  Long time frames punitive to generators who make extensive investment decisions
  Allowing generator maximum flexibility for price response is most efficient: it’s not rational to prohibit a MIG from helping to resolve a constraint.

## Slide 3: 30 Days
Section 8.8 of the ERCOT Protocols state that the TSP shall notify ERCOT at least thirty (30) days before starting to energize or place into service any new or relocated Facility.
ERCOT is currently using this time period because it is the longest notification period found in existing protocols
ERCOT supports 30 days notification only as the shortest period that should be allowed, longer notification period preferred
An outage submitted 30 days prior to start may not get approved until 4 days before the start of the outage
ERCOT would prefer a notification period no shorter than 91 days for Outage Scheduling and TCR calculations
  Outages submitted prior to 90 days before start have to be approved or rejected 75 days prior to start of outage
  TCR monthly auction calculations use approved and accepted outages from the outage scheduler and the calculation starts 75 days prior to end of auction month

## Slide 4: 91 Days
The Transmission Outage approval schedule allows staff time to study requests submitted more than 90 days prior to start and approve or deny by 75 days prior. Thus any changes submitted later could impact any already approved outages.
This leads right in to the monthly TCR calculations (based on “approved” outages), which are started shortly after 75 days prior to the end of each month. Thus the market would get assurance of a properly calculated TCR availability for the whole month.
This time frame also matches the Suspension of Operations notice.

## Slide 5: 1 Year
Market Participants need to be able to plan in advance.
One year is the minimum time that should be required. An annual deadline of September 1 (for the following year) would even be better.
Requiring MIGs make a declaration of interconnection point one year in advance would:
  Enhance the market’s ability to forward contract—for load and generation
  Make planning and market studies more robust—for ERCOT, for investors, and for entities engaged in contracting
  Ensure that annual TCR auction products reflect generation location as best as possible

## Slide 6: Voting Issue: Grandfathering
Option 1
First Date of Interconnection is Interconnection Date for the Generation Resource
Any grandfathering provisions tied to date of interconnection should be applied to the original interconnection date of the facilities in question.
  The new interconnection facilities would be expected to meet the criteria of the interconnection agreement and the Protocols as of the signature date for that new interconnection.
  The date of a new interconnection should not affect the original interconnection date or commercial operation date assigned to an existing generator attached to the additional interconnection facilities since there has been no modification to the generation unit itself.

## Slide 7: Voting Issue: Grandfathering
Option 2
Latest Date of Interconnection is Interconnection Date
Protocols have been designed to provide exemptions to existing interconnections—assuming new interconnections would be required to interconnect upgraded facilities in conformance with protocols to support reliability
Grandfathering for new interconnections:
  Defeats the existing protocol standard that new interconnections must meet most current protocol requirements
  Extends barriers to entry—because an entity is gaining new interconnection and would have no obligation to conform to standards imposed on other entities interconnecting at same time

## Slide 8: Voting Issue Transmission Planning
Maximum Flexibility
Minimal Cost - (Recommended)
Economic Planning