## Slide 1: Congestion Management Work Group Update
For WMS 12-16-09
Isabel Flores—ERCOT
Marguerite Wagner--PSEG TX

## Slide 2: Discussion Items
Nodal Competitive Constraint Test
  Current Status
Pre Contingency Action Plans
  Discussion
  Draft Process
CMWG Accomplishments 2009

## Slide 3: Competitive Constraint Test (CCT)
CCT tool configurable for number of constraints it can evaluate
  Offline tool currently set to accept 500 contingency/element pairs
  ERCOT exploring changing to 10,000
  ERCOT believes 10,000 would cover each CSC and constraints associated with that CSC (not combinations of CSC constraints)
  Current constraint list has _____ constraints
Tool Does not currently accept summations of various lines as constraints
  Means that various voltage/stability limits cannot be modeled in this version of software
  ERCOT exploring how to fix—unknown if fix possible at present
ERCOT sent out list of items in protocols and their draft business process for the CCT test for discussion at CMWG in January
ERCOT will post CCT spreadsheets by 12/19/09

## Slide 4: Pre-Contingency Action Plans
PCAPs can be proposed by ERCOT or TOs
ERCOT sent out PCAP approval process--draft
ERCOT committed to
  Make acceptance of new PCAPs more public (circulate as they are under evaluation)
  Notice market in real time when PCAPs are activated and removed from service
  Include use of PCAPs on monthly Operations report to ROS

## Slide 5: CMWG 2009 Accomplishments
Many Thanks to ERCOT Staff—without their work CMWG would not exist.

## Slide 6: Raised Awareness/ Recommended Market Improvements
WN Stability Study
  Encouraged ERCOT to move forward ASAP
  ERCOT published new matrix with many more cases 5/09 & 9/09
Raised Awareness
  Processes Around Development & Use of SPS/RAPs/PCAPs
ERCOT documentation around PCAPs

## Slide 7: Market Improvements
PRR 801 - Revenue Neutrality for TCRs
PRR 816 - CRE Selection Criteria
PRR 831 – Annual TCR Auction Amount
Refined Competitive Constraint Test for Nodal
NOGRR 25 work – metrics around repeated constraints in SCED, HRUC, DRUC
2010 Zone Recommendation

## Slide 8: CMWG Challenge: Match the Issue & the CSC
NH
W N
NS
SN
NW
Singleton Substation Construction
Peters – Flewellen
Waco West to Temple Elm Creek at Cotton Belt
San Angelo Menard

## Slide 9: Conclusion
Happy Holidays
Next Meeting in January