- Summary of Operating Guide Revisions

- Effective:  January 1, 2010

- Section 3:

OGRR226 – Generation Resource Response Time Requirement

This Operating Guide Revision Request (OGRR) adds a new section which documents the response times required by Generation Resources upon receipt of specified valid Dispatch Instructions from ERCOT, Transmission Service Providers (TSPs), or Distribution Service Providers (DSPs).

Revised Subsection: 3.1.4.9 (New)

OGRR237 – Clarify the WGR Voltage Ride-Through Requirement

This OGRR clarifies that the Voltage Ride-Through (VRT) clearing-time requirement for relevant Wind-powered Generation Resources (WGRs) is nine cycles unless a site-specific requirement is documented in conjunction with the Standard Generation Interconnection Agreements (SGIAs).

Revised Subsection: 3.1.4.6.1