- Section 1:

PRR824 – Primary Frequency Response from WGRs

This Protocol Revision Request (PRR) adds a requirement for wind generator control systems to be programmed to respond to frequency deviations by controlling Wind-powered Generation Resource (WGR) real power output in a way that is similar to Governor response for conventional steam generators.  This PRR also proposes the addition of the new terms, Primary Frequency Response and Governor, and aligns the other sections of the Protocols with this terminology.

Revised Subsection:  1.3.6

- Section 2:

PRR824 – Primary Frequency Response from WGRs

See Section 1 above.

Revised Subsection:  2.1

- Section 5:

PRR824 – Primary Frequency Response from WGRs

See Section 1 above.

Revised Subsections:  5.9.1.1, 5.9.1.2, 5.9.1.3 (new), 5.9.2, 5.9.2.1

- Section 6:

PRR824 – Primary Frequency Response from WGRs

See Section 1 above.

Revised Subsections:  6.5.3, 6.5.4, 6.7.3, 6.10.5.3

PRR839 – Revised Resource Category Generic Fuel Costs

This PRR revises the Resource Category Generic Fuel Cost (RCGFC) for Direct Current (DC) Tie with non-ERCOT Control Area and Block Load Transfer (BLT) Resources to synchronize with the Nodal Protocols and to allow cost recovery for supplying this service.

Revised Subsections:  6.8.2.1, 6.8.2.3

- Section 7:

PRR840 – Update Trading Hub Conversion for 2010 Congestion Zones

This PRR synchronizes the ERCOT Protocols to reflect the 2010 Commercially Significant Constraint (CSC) definitions, approved by the ERCOT Board on September 15, 2009, as it affects the Trading Hub calculations for 2010 (several transmission buses moved between Congestion Zones).  As such, the calculation for converting transactions at Trading Hubs to existing Congestion Zones is revised.

Revised Subsections:  7.9.2.6, 7.9.3.4

- Section 15:

PRR827 – Find Transaction and Find ESI ID Functions on the MIS

This PRR updates the Protocols to reflect current options that Market Participants have to obtain information from ERCOT in order to determine or to verify the Electric Service Identifier (ESI ID) for a Service Delivery Point (SDP).

Revised Subsections:  15.2, 15.2.1 (new), 15.2.2 (new), 15.2.3 (new)

- Section 16:

PRR822 – Termination of Access Privileges to Restricted Computer Systems, Control Systems and Facilities (formerly “Removing of Access to Restricted Computer Systems, Control Systems, and Facilities”)

This PRR defines the requirement for all Market Participants and ERCOT to have processes in place for removing access to restricted computer systems and control systems upon termination or where access is no longer required.  This PRR also defines the reporting requirement for incidents where improper access by terminated employees, contractors, consultants and affiliates has occurred.

Revised Subsection:  16.12 [Unboxed due to effective date.]

- Section 21:

PRR821 – Update of Section 21, Process for Protocol Revision

This PRR updates Section 21 to more effectively align with the current stakeholder process.

Revised Section:  21

- ERCOT Fee Schedule:

Docket No. 36851, Application of the Electric Reliability Council of Texas, Inc. for Approval of a Revised Nodal Market Implementation Surcharge (October 14, 2009) (Final Order)

The Public Utility Commission of Texas (PUCT) approved the requested revised Nodal Implementation Surcharge amount of $0.375/MWh, effective January 1, 2010.

Revised Attachment: ERCOT Fee Schedule