OWG Report to ROS

January 14, 2010

The Operations Working Group (OWG) met December 16, 2009.

On December 16, the OWG met for its regularly scheduled meeting. During the meeting the following items were discussed:

The OTF Report:  Kelly Blackmer reported that the Winter Drill was completed with positive feedback. The Hurricane Dill will be scheduled for the first quarter of 2010, most likely before May considering that the NERC audit was scheduled from May 14th to 18th.

The BSTF Report: 2010 Black Start Plan template is still a work in progress, was reviewed. Kelly Blackmer reported that the 2010 ERCOT Black Start training is on schedule and the dry run was scheduled on March 15th and 16th. A Registration email was sent out on 12/15/2009.

The TRE Report: Brent Torgrimson reported that Submittal of Technical Feasibility Exception (TFE) on the TRE portal is due on 01/31/09. The registration of 2010 ERCOT Operations Training Seminar (OTS) is open and the dry run was scheduled on Jan 18th – 21st in San Marcos.

The OWG reviewed the following:

OGRR 232 (NOGRR 027) Revise the Process for Submitting Biennial Unit Reactive Limits (Lead and Lag) – ERCOT comments were reviewed. Questions were raised regarding peaking units and wind units not being able to meet testing condition requirements. It was suggested that test forms be added to the OGRR to help understand what is expected from ERCOT. Brent Torgrimson pointed out that TRE is not doing verifications for all units being tested. Leo Villanueva will arrange a conference call between ERCOT and interested individuals from OWG to address concerns. Rick Keetch volunteered to draft OGRR languages once a consensus is reached by the group.

SCR 758 Enhancements to the Proposed Transmission Outage Report – Mark Garrett explained that SCR 758 expands the same improvements as in SCR 753 to the Proposed Transmission Outage report. OWG endorsed SCR758 with no comments. The document will be sent to ROS and scheduled for ROS review in January 2010.

OGRR 233 and NOGRR 028 Backup Control Plan Submission Process – After reviewing concerns raised at ROS that a potential conflict between North American Electric Reliability Corporation (NERC) Standard, EOP-008-0, and the Operating Guides, OWG didn’t recognize any such conflict. OWG supported the 11/23/09 Luminant comments and 12/03/09 ERCOT comments. OWG requested ROS to provide clarification on ROS instructions to remand OGRR233 to OWG, specifically identify the task OWG is to perform. The documents will be sent back to ROS along with comments.

OGRR 236 Fast Response Distributed Energy Response (DER) – Tabled for February 2010 OWG meeting.

NOGRR 031 Synchronization with OGRR218, Revising Training Requirements for QSEs – ERCOT Impact Analysis showed no impacts. The document will be sent to ROS and recommended for approval.

System Operations Report – Nothing to report. Frank Owen suggested that if any ERCOT procedure changes have an impact Market Participants, ERCOT should notify them.

PRR 830 WGR Definition – Walter Reid explained reasons that the definition of Wind powered Generation resource in PRR 830 is not a good definition and suggested redefining. Walter Reid requests that discussions be scheduled between ERCOT Operations and himself.

Assignment from ROS is to get with SSWG, DWG, and ERCOT and compare planning and real-time reactive power capability requirements. – The task was discussed. OWG recommended that ROS reassign the task to another stakeholder process that can adequately represent generation resource, or form a task force that can adequately represent generation resource to specifically perform the task.

Next OWG meeting will be on Monday January 18th in San Marcos prior to the dry run of the seminar.