| NOGRR Number | 031 | NOGRR Title | Synchronization with OGRR218, Revise Training Requirements for QSEs |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Date of Decision |  | December 16, 2009 |  |  |
| Proposed Effective Date |  | March 1, 2009 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Guide Section Requiring Revision |  | 1.5.2, System Operator Training Requirements |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) changes the five day (40 hours) emergency training requirements to 32 hours for Qualified Scheduling Entities (QSEs) who represent Generation or Load Resources and eight hours for QSE operators who do not represent Generation or Load Resources. |  |  |
| Reason for Revision |  | The existing five days of emergency training that is in the Nodal Operating Guides is reasonable for Transmission Operators (TOs), Control Area authorities and QSEs that operate the generation they represent. However, this requirement is excessive and unnecessary for QSEs that do not operate the Generation Resource(s) they schedule. The role of these QSEs is generally limited to acting as a conduit for emergency information between the QSE and the generator. This role is important, but 40 hours of annual training is simply not needed for the QSEs to ensure they are capable of meeting their emergency-related responsibilities. Thus reducing the emergency training to one day (eight hours) per year for QSEs that do not operate the generation they schedule is more appropriate and consistent with the need to have operators that are properly trained. |  |  |
| Overall Market Benefit |  | Prevents QSEs from wasting numerous hours each year attending emergency training classes that are not related to performing their job effectively. The current Nodal Operating Guides require two percent of each employee’s expected annual working time. This may be appropriate for the employees of QSEs that actually operate assets, but not for employees of QSEs that only schedule generation facilities. |  |  |
| Overall Market Impact |  | More efficient use of resources. |  |  |
| Consumer Impact |  | None identified. |  |  |
| Procedural History |  | - On 10/9/09, NOGRR031 and the CEO Revision Request Review were posted. - On 11/17/09, OWG considered NOGRR031. - On 11/24/09, an Impact Analysis was posted. - On 12/16/09, OWG considered the 11/17/09 OWG Recommendation Report and Impact Analysis for NOGRR031. |  |  |
| OWG Decision |  | On 11/17/09, OWG was in consensus to recommend approval of NOGRR031 as submitted. On 12/16/09, was in consensus to endorse and forward the 11/17/09 OWG Recommendation Report and the Impact Analysis for NOGRR031 to ROS. |  |  |
| Summary of OWG Discussion |  | On 11/17/09, there was some discussion regarding the possible existence of a North American Electric Reliability Corporation (NERC) Reliability Standard and a request was made to have interested parties submit comments timely to allow OWG to review any associated standard. On 12/16/09, there was no discussion. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | No additional costs. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Will reduce training costs for QSEs. | Will reduce training costs from five days per year per operator to one day per year per operator. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | Should not impact ERCOT’s system or reliability. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Jeff Brown |
| E-mail Address | Jeff.A.Brown@Shell.com |
| Company | Shell Energy North America (US), L. P. |
| Phone Number | (713) 767-5317 |
| Cell Number | (713) 582-3750 |
| Market Segment | Independent Power Marketer (IPM) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Proposed Guide Language Revision

- 1.5.2	System Operator Training Requirements

The System Operator Training Program applies to all operators who are responsible for the Day-Ahead and Real-Time operation of the ERCOT Transmission Grid.  Transmission Operators (TOs) and Qualified Scheduling Entity (QSE) operators who represent Generation and Load Resources shall participate in 32 hours per year of training and drills on system emergencies.  QSE operators who do not represent Generation or Load Resources must participate in at least eight hours per year of training and drills in system emergencies.

For those operators required to obtain 32 hours annually, at least eight hours must be from simulations or realistic drills.

Participation in emergency simulations, severe weather drills, ERCOT Black Start training, and portions of the ERCOT Operations Training Seminar that relate to NERC recommended topics may be used to satisfy this requirement.  Task specific training carried out internally within an Entity will be considered in full compliance with this requirement.  Training documentation, including curriculum, training methods, and individual training records, shall be immediately available during any audit.