## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Updates | List of files and items updated in each file
IntervalData | Interval Data by CM Zone, Weather Zone and ERCOT-wide (MWH consumption values)
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
CongestionZones | Monthly peak demand and energy data for this year by congestion zone
WeatherZones | Monthly peak demand and energy data for this year by weather zone
EnergybyFuelType | Actual energy and percentages by fuel type
EnergybyFuelChart | Stacked chart of MWh by fuel type by month
EnergyComparisons | Bar graphs comparing this year's energy with last year's and with forecasted
DemandComparison | Graphs comparing this year's monthly peaks with last year's and with forecasted

## Disclaimer
Disclaimer
DEMAND AND ENERGY REPORT
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been developed from data provided through the settlement process. The data may contain errors or become obsolete and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS.

## Updates
File Updated | 2010-01-11
Update to 2009 Energy and Demand Forecast | 2009-06-09

## Demand
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND FOR 2009
[5 empty] | Updated | 2010-01-11
NET SYSTEM MAXIMUM HOURLY DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2009 Demand, MW | 45495.4582 | 41378.1561 | 39534.7927 | 43297.9698 | 51209.6518 | 62277.9943 | 63400.4899 | 62042.9044 | 55188.0183 | 49051.6512 | 36934.7681 | 46263.7402 | 63400.4899
Date | 29 | 3 | 2 | 22 | 8 | 25 | 13 | 5 | 3 | 8 | 30 | 10
Interval Ending | 0800 | 0800 | 0800 | 1800 | 1700 | 1600 | 1700 | 1600 | 1600 | 1700 | 1900 | 0800
Day of Week | Thursday | Tuesday | Monday | Wednesday | Friday | Thursday | Monday | Wednesday | Thursday | Thursday | Monday | Thursday
Forecasted Demand, MW | 42943 | 43058 | 36071 | 43246 | 54465 | 56118 | 59837 | 63491 | 49227 | 45368 | 39047 | 39996 | 63491
Difference, percent | 5.944% | -3.901% | 9.603% | 0.1202% | -5.977% | 10.98% | 5.955% | -2.281% | 12.11% | 8.119% | -5.409% | 15.67% | -0.1426%
2008 Demand, MW | 46099 | 45321.1677 | 42412.0862 | 45872.2092 | 56343.9001 | 59642.1214 | 61119.6066 | 62174.3766 | 56342.6037 | 46574.7272 | 38746.4511 | 47805.6548 | 62174.3766
Date | 3 | 1 | 7 | 22 | 23 | 16 | 31 | 4 | 2 | 3 | 5 | 15
Hour Ending | 0800 | 0800 | 0800 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1900 | 2000
Day of Week | Thursday | Friday | Friday | Tuesday | Friday | Monday | Thursday | Monday | Tuesday | Friday | Wednesday | Monday
Increase, MW | -603.5418 | -3943.0116 | -2877.2935 | -2574.2394 | -5134.2483 | 2635.8729 | 2280.8833 | -131.4722 | -1154.5854 | 2476.924 | -1811.683 | -1541.9146
Increase, percent | -1.309% | -8.7% | -6.784% | -5.612% | -9.112% | 4.419% | 3.732% | -0.2115% | -2.049% | 5.318% | -4.676% | -3.225%
Max All Time | 50404 | 50408 | 43033 | 51800 | 56344 | 59642 | 61660 | 62339 | 59524 | 54102 | 45143 | 48064
Date | 1/16/2007 at 1900 | 2/16/2007 at 0800 | 3/4/2002 at 0800 | 4/18/2006 at 1700 | 5/23/2008 at 1700 | 6/16/2008 at 1700 | 7/17/2006 at 1700 | 8/17/2006 at 1700 | 9/28/2005 at 1700 | 10/1/2007 at 1700 | 11/30/2006 2000 | 12/8/2005 at 2000
NET SYSTEM MAXIMUM DEMAND BASED ON 15-MINUTE INTERVALS
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2009 Demand, MW | 46165.7808 | 42227.5612 | 40289.2384 | 43447.9072 | 51321.1024 | 62392.6816 | 63517.9408 | 62240.5084 | 55382.6932 | 49089.5112 | 37039.6174 | 46911.6234 | 63517.9408
Date | 29 | 3 | 2 | 22 | 8 | 25 | 13 | 5 | 3 | 8 | 30 | 10
Interval Ending | 0715 | 0715 | 0715 | 1700 | 1645 | 1615 | 1700 | 1600 | 1600 | 1630 | 1900 | 0715
Day of Week | Thursday | Tuesday | Monday | Wednesday | Friday | Thursday | Monday | Wednesday | Thursday | Thursday | Monday | Thursday
Max All Time | 50568 | 51251 | 43983 | 52024 | 56379 | 59699 | 61706 | 62434 | 59594 | 54204 | 45297 | 48141
Date | 1/16/2007 at 1845 | 2/16/2007 at 0715 | 3/4/2002 at 0715 | 4/17/2006 at 1615 | 5/23/2008 at 1700 | 6/16/2008 at 1645 | 7/17/2006 at 1630 | 8/17/2005 at 1700 | 9/28/2005 at 1630 | 10/1/2007 at 1645 | 11/30/2006 1900 | 12/8/2005 at 1900

## Energy
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY FOR 2009
[5 empty] | Updated | 2010-01-11
NET ENERGY FOR LOAD
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2009 Energy, MWh | 24099522.7177 | 19889801.1712 | 22151339.7348 | 21621057.1864 | 26218403.0065 | 31231259.8662 | 33726598.6103 | 33451890.4797 | 26273161.3459 | 23202647.4331 | 20622885.4726 | 25789192.4518
2009 YTD Energy, MWh | 24099522.7177 | 43989323.8889 | 66140663.6237 | 87761720.8101 | 113980123.8166 | 145211383.6828 | 178937982.2931 | 212389872.7728 | 238663034.1187 | 261865681.5518 | 282488567.0244 | 308277759.4761
Forecasted Energy, MWh | 24470147.58 | 21920027.65 | 22327526.55 | 23349802.63 | 28088768.45 | 29680858.72 | 32876030.34 | 33111561.55 | 25894230.57 | 24575610.6 | 22148775.85 | 23760251.73 | 312203592.22
Difference, percent | -1.515% | -9.262% | -0.7891% | -7.404% | -6.659% | 5.224% | 2.587% | 1.028% | 1.463% | -5.587% | -6.889% | 8.539% | -100%
YTD Forecasted Energy, MWh | 24470147.58 | 46390175.23 | 68717701.78 | 92067504.41 | 120156272.86 | 149837131.58 | 182713161.92 | 215824723.47 | 241718954.04 | 266294564.64 | 288443340.49 | 312203592.22
YTD Difference, percent | -1.515% | -5.175% | -3.75% | -4.677% | -5.14% | -3.087% | -2.066% | -1.592% | -1.264% | -1.663% | -2.064% | -1.257%
2008 Energy, MWh | 25472141.9028 | 21727610.7709 | 22780135.8882 | 22456791.4243 | 27877513.4667 | 31704559.667 | 32788105.0486 | 32234982.977 | 25768324.3827 | 23924770.5965 | 21307804.1043 | 24358344.2943 | 312401084.5233
Increase, MWh | -1372619.1851 | -1837809.5997 | -628796.1534 | -835734.2379 | -1659110.4602 | -473299.8008 | 938493.5617 | 1216907.5027 | 504836.9632 | -722123.1634 | -684918.6317 | 1430848.1575 | -312401084.5233
Increase, percent | -5.389% | -8.458% | -2.76% | -3.722% | -5.951% | -1.493% | 2.862% | 3.775% | 1.959% | -3.018% | -3.214% | 5.874% | -100%
2008 YTD Energy, MWh | 25472141.9028 | 47199752.6737 | 69979888.5619 | 92436679.9862 | 120314193.4529 | 152018753.1199 | 184806858.1685 | 217041841.1455 | 242810165.5282 | 266734936.1247 | 288042740.229 | 312401084.5233
YTD Increase, MWh | -1372619.1851 | -3210428.7848 | -3839224.9382 | -4674959.1761 | -6334069.6363 | -6807369.4371 | -5868875.8754 | -4651968.3727 | -4147131.4095 | -4869254.5729 | -5554173.2046 | -4123325.0472
YTD Increase, percent | -5.389% | -6.802% | -5.486% | -5.057% | -5.265% | -4.478% | -3.176% | -2.143% | -1.708% | -1.826% | -1.928% | -1.32%
NET SYSTEM LOAD FACTORS BASED ON HOURLY DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2009 | 71.2% | 69.06% | 75.31% | 69.35% | 68.81% | 69.65% | 71.5% | 72.47% | 66.12% | 63.58% | 77.55% | 74.92% | 0%
2008 | 74.27% | 71.34% | 72.19% | 67.99% | 66.5% | 73.83% | 72.1% | 69.69% | 63.52% | 69.04% | 76.38% | 68.49% | 57.36%
NET SYSTEM LOAD FACTORS BASED ON 15-MINUTE DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2009 | 70.16% | 70.09% | 73.9% | 69.12% | 68.67% | 69.52% | 71.37% | 72.24% | 65.89% | 63.53% | 74.84% | 73.89% | 0%

## CongestionZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY CONGESTION ZONE FOR 2009
[5 empty] | Updated | 2010-01-11
BASED ON 15-MINUTE INTERVALS
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Congestion Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
North | 20363.2816 | 17709.6444 | 17579.1312 | 16395.476 | 19011.8036 | 24751.3412 | 25952.3072 | 24199.6968 | 21656.9764 | 17199.3464 | 14331.8289 | 20822.9285
South | 12745.6556 | 12172.2648 | 11256.3804 | 12584.4988 | 15556.428 | 17537.7664 | 17519.5164 | 17449.2148 | 16078.566 | 14517.9712 | 10769.505 | 13263.5442
Houston | 10451.2256 | 10011.702 | 9052.5688 | 12036.5992 | 13833.8748 | 17048.212 | 17092.696 | 17641.5116 | 14794.694 | 14912.9388 | 9609.7421 | 10145.0723
West | 2605.618 | 2333.95 | 2401.158 | 2431.3332 | 2918.996 | 3055.362 | 2953.4212 | 2950.0852 | 2852.4568 | 2459.2548 | 2328.5414 | 2680.0785
NET ZONE MAXIMUM DEMAND, MW
Congestion Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
North | 20645.95 | 18381.5344 | 17579.1312 | 16464.6308 | 19733.8692 | 24838.8252 | 25952.3072 | 24660.5652 | 22167.9956 | 17228.588 | 14455.9964 | 20822.9285
Date and time | 28 @ 07:30 | 4 @ 07:15 | 2 @ 07:15 | 22 @ 17:45 | 26 @ 17:30 | 25 @ 17:00 | 13 @ 17:00 | 25 @ 16:00 | 8 @ 15:30 | 8 @ 16:45 | 18 @ 07:15 | 10 @ 07:15
South | 13019.2928 | 12172.2648 | 11256.3804 | 12584.4988 | 15567.6432 | 17641.5576 | 17962.4424 | 17807.882 | 16163.2128 | 14517.9712 | 10769.505 | 14144.0408
Date and time | 14 @ 07:15 | 3 @ 07:15 | 2 @ 07:15 | 22 @ 17:00 | 8 @ 17:00 | 29 @ 17:00 | 8 @ 16:45 | 11 @ 16:45 | 3 @ 17:00 | 8 @ 16:30 | 30 @ 19:00 | 5 @ 07:30
Houston | 10594.882 | 10332.2284 | 10435.5708 | 12036.5992 | 15366.8724 | 17662.246 | 17289.7608 | 17641.5116 | 14794.694 | 15160.4072 | 10183.3144 | 11777.0562
Date and time | 14 @ 07:15 | 27 @ 15:45 | 10 @ 15:45 | 22 @ 17:00 | 29 @ 17:00 | 24 @ 16:45 | 8 @ 16:45 | 5 @ 16:00 | 3 @ 16:00 | 6 @ 16:45 | 11 @ 18:00 | 4 @ 18:45
West | 2769.7764 | 2360.566 | 2512.7116 | 2560.5856 | 2918.996 | 3074.5936 | 3130.26 | 3143.9236 | 2906.7384 | 2607.54 | 2348.9479 | 2747.9308
Date and time | 27 @ 20:30 | 2 @ 07:15 | 11 @ 21:30 | 30 @ 18:00 | 8 @ 16:45 | 16 @ 17:30 | 16 @ 16:30 | 25 @ 16:45 | 8 @ 16:30 | 1 @ 16:45 | 30 @ 20:30 | 16 @ 07:15
NET ENERGY FOR LOAD, MWh
Congestion Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
North | 9929358.9337 | 7853050.1645 | 8649645.5461 | 8034214.9643 | 9361010.2025 | 11945988.7269 | 12901725.1104 | 12722712.3035 | 9949973.0732 | 8196459.9266 | 7754889.9894 | 10407051.8153 | 117706080.7565
South | 6484986.3982 | 5374960.3968 | 6157263.0127 | 6119528.9647 | 7658844.1845 | 8905740.9811 | 9729259.3366 | 9684447.415 | 7516948.0058 | 6653402.9553 | 5773776.933 | 7265091.7997 | 87324250.3834
Houston | 6092106.7673 | 5364162.3658 | 5916548.7437 | 6078802.0326 | 7669705.6488 | 8695791.508 | 9329056.8935 | 9253261.3785 | 7295100.796 | 6925226.2 | 5708690.8578 | 6444991.0797 | 84773444.2717
West | 1593070.6185 | 1297628.2441 | 1427882.4323 | 1388511.2248 | 1528842.9707 | 1683738.6502 | 1766557.2698 | 1791469.3827 | 1511139.4709 | 1427558.3512 | 1385527.6923 | 1672057.7571 | 18473984.0645
Totals may not match the ERCOT values because of rounding.

## WeatherZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY WEATHER ZONE FOR 2009
[5 empty] | Updated | 2010-01-11
Based on 15-Minute Intervals
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Coast | 11008.1356 | 10518.0804 | 9456.6492 | 12492.9416 | 14346.2188 | 17692.9676 | 17740.5836 | 18295.2484 | 15377.9636 | 15530.7704 | 10071.9949 | 10699.4116
East | 1948.214 | 2237.3944 | 1841.006 | 1520.0696 | 1890.4156 | 2293.8396 | 2289.8624 | 2234.8928 | 1957.0636 | 1888.798 | 1487.1271 | 1991.9426
Far West | 1545.326 | 1462.5244 | 1365.054 | 1447.6316 | 1742.39 | 1637.2008 | 1633.4396 | 1621.0424 | 1578.8104 | 1357.15 | 1283.9553 | 1468.038
North Central | 17717.0752 | 14790.2004 | 15081.3412 | 14399.014 | 16614.2368 | 22222.0368 | 23366.7704 | 21759.1872 | 19579.8072 | 15195.1468 | 12656.4519 | 18625.663
North | 1756.6392 | 1476.8108 | 1613.0044 | 1210.0556 | 1374.7788 | 1476.8096 | 1488.554 | 1336.7976 | 1166.0736 | 911.8004 | 963.6413 | 1382.5157
South Central | 8329.6 | 7734.3496 | 6996.7436 | 8063.1152 | 9862.8996 | 11180.8272 | 11134.3136 | 11027.0944 | 10177.8932 | 9097.0164 | 6712.8375 | 8097.6956
South | 2521.918 | 2824.4064 | 2779.0868 | 3116.0212 | 3974.698 | 4218.6536 | 4219.388 | 4325.152 | 4001.1384 | 3793.0512 | 2707.0295 | 3222.3631
West | 1338.8728 | 1183.7948 | 1156.3532 | 1199.0584 | 1515.4648 | 1670.3464 | 1645.0292 | 1641.0936 | 1543.9432 | 1315.778 | 1156.5799 | 1423.9939
NET ZONE NON-COINCIDENT DEMAND, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Coast | 11189.8596 | 10692.1168 | 10816.222 | 12492.9416 | 15907.6172 | 18315.3412 | 17939.5428 | 18295.2484 | 15377.9636 | 15789.8404 | 10611.3116 | 12456.6364
Date and time | 14 @ 07:15 | 27 @ 15:45 | 10 @ 15:45 | 22 @ 17:00 | 29 @ 17:00 | 24 @ 16:45 | 8 @ 16:45 | 5 @ 16:00 | 3 @ 16:00 | 6 @ 16:45 | 11 @ 18:00 | 4 @ 18:45
East | 2515.766 | 2276.8464 | 2117.8812 | 1926.3976 | 1943.3772 | 2358.222 | 2405.6672 | 2288.6168 | 2117.3088 | 1944.8352 | 1597.9646 | 2121.4049
Date and time | 14 @ 07:15 | 4 @ 06:45 | 3 @ 06:00 | 6 @ 20:45 | 27 @ 19:15 | 25 @ 15:00 | 15 @ 18:00 | 5 @ 16:15 | 8 @ 15:30 | 8 @ 17:15 | 30 @ 17:00 | 29 @ 17:00
Far West | 1668.6372 | 1492.0644 | 1505.9424 | 1542.8132 | 1742.39 | 1796.7392 | 1705.5112 | 1740.3276 | 1591.9004 | 1477.1148 | 1342.6424 | 1521.5889
Date and time | 27 @ 20:45 | 2 @ 07:15 | 13 @ 07:30 | 30 @ 18:45 | 8 @ 16:45 | 16 @ 17:30 | 14 @ 17:30 | 20 @ 16:45 | 3 @ 16:45 | 1 @ 16:45 | 30 @ 07:30 | 9 @ 21:15
North Central | 18149.4116 | 15389.3616 | 15081.3412 | 14475.4856 | 17567.2376 | 22253.7024 | 23366.7704 | 22290.456 | 19839.532 | 15250.962 | 12885.7239 | 18625.663
Date and time | 28 @ 07:30 | 4 @ 07:30 | 2 @ 07:15 | 22 @ 17:45 | 26 @ 17:00 | 25 @ 17:00 | 13 @ 17:00 | 25 @ 16:00 | 8 @ 15:30 | 1 @ 15:30 | 18 @ 07:15 | 10 @ 07:15
North | 1841.1164 | 1570.6824 | 1613.0044 | 1213.64 | 1460.1108 | 1697.6692 | 1528.1264 | 1471.0076 | 1430.2468 | 1018.9336 | 996.8006 | 1394.62
Date and time | 28 @ 07:00 | 4 @ 07:00 | 2 @ 07:15 | 22 @ 17:45 | 31 @ 17:45 | 16 @ 17:45 | 14 @ 16:15 | 25 @ 16:45 | 8 @ 16:45 | 28 @ 07:00 | 30 @ 07:15 | 10 @ 07:00
South Central | 8329.6 | 7734.3496 | 6996.7436 | 8105.4984 | 9892.148 | 11476.8828 | 11493.6728 | 11374.3188 | 10311.422 | 9147.064 | 6723.0624 | 8210.583
Date and time | 29 @ 07:15 | 3 @ 07:15 | 2 @ 07:15 | 22 @ 18:00 | 8 @ 17:00 | 29 @ 17:00 | 8 @ 17:45 | 11 @ 16:45 | 3 @ 17:00 | 15 @ 15:45 | 30 @ 18:45 | 5 @ 08:00
South | 3119.3068 | 2929.5452 | 2995.7804 | 3374.4508 | 3984.3752 | 4218.6536 | 4349.9436 | 4475.0532 | 4087.844 | 4057.894 | 2933.3956 | 4143.3988
Date and time | 14 @ 07:15 | 27 @ 16:30 | 25 @ 16:45 | 30 @ 16:45 | 12 @ 17:00 | 25 @ 16:15 | 8 @ 16:45 | 20 @ 16:00 | 21 @ 15:45 | 6 @ 15:45 | 15 @ 18:45 | 4 @ 19:45
West | 1420.9244 | 1183.7948 | 1244.4256 | 1215.5128 | 1516.4848 | 1679.806 | 1740.2848 | 1708.3096 | 1560.8744 | 1373.7964 | 1156.5799 | 1487.5272
Date and time | 28 @ 07:30 | 3 @ 07:15 | 11 @ 21:15 | 22 @ 16:00 | 8 @ 17:00 | 25 @ 16:30 | 16 @ 16:30 | 20 @ 16:45 | 3 @ 16:45 | 14 @ 17:00 | 30 @ 19:00 | 16 @ 07:30
NET ZONE ENERGY, MWh
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Coastal | 6406019.5349 | 5601990.0821 | 6166861.3023 | 6332748.272 | 7967451.2471 | 9046091.209 | 9736232.0944 | 9660142.3253 | 7627447.6533 | 7229795.9128 | 5997412.2583 | 6759060.9927 | 88531252.8842
East | 1101500.5691 | 925208.8763 | 1001136.7102 | 878077.9064 | 973749.9174 | 1185734.0808 | 1253277.4662 | 1218034.1167 | 1009148.4759 | 865698.149 | 784041.2563 | 1001074.3528 | 12196681.8771
Far West | 979300.4543 | 813730.8094 | 878440.555 | 866252.228 | 946841.3812 | 992368.7276 | 985112.7535 | 1004595.0534 | 868189.6235 | 825832.0102 | 801804.0915 | 939406.5272 | 10901874.2148
North Central | 8404720.6951 | 6577750.7609 | 7300140.8293 | 6905426.3204 | 8127056.2425 | 10502044.7026 | 11492221.0548 | 11351556.6153 | 8802256.8938 | 7194526.9156 | 6838239.0308 | 9252927.6575 | 102748867.7186
North | 909626.9067 | 678035.084 | 727656.1852 | 605476.8668 | 683168.1496 | 823392.5535 | 780149.3622 | 778276.6082 | 617744.4019 | 544292.813 | 530302.7515 | 723844.8553 | 8401966.538
South Central | 4004410.6477 | 3318806.8573 | 3774214.5768 | 3704427.0538 | 4721485.192 | 5592513.2183 | 6098473.6453 | 6041395.4164 | 4586322.7094 | 4012045.6712 | 3477127.4446 | 4286010.5452 | 53617232.978
South | 1597904.82 | 1394796.6257 | 1661223.9482 | 1726236.3595 | 2105401.5476 | 2257763.5343 | 2478555.3187 | 2498508.1287 | 2048748.6845 | 1873518.3537 | 1562368.2401 | 2012594.4566 | 23217620.0176
West | 696039.0899 | 579482.0755 | 641665.6278 | 602412.1795 | 693249.3291 | 831351.8401 | 902576.9152 | 899382.2157 | 713302.9036 | 656937.6076 | 631590.3995 | 814273.0645 | 8662263.2479
All values are from initial settlement data and will not be updated with subsequent settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## EnergybyFuelType
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY BY FUEL TYPE FOR 2009
[5 empty] | Updated | 2010-01-11
ENERGY BY FUEL TYPE, MWh
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Natural Gas | 8604642.1386 | 6641245.0403 | 8531345.6817 | 7323508.6617 | 10774861.426 | 15389993.424 | 17243793.094 | 17432508.4827 | 12009808.1928 | 9133663 | 6373948.9441 | 9111408.633 | 128570726.7189
Coal | 9571546.9421 | 7760217.0617 | 7461887.5461 | 8141593.5424 | 9500509.4453 | 9809689.4927 | 10441645.2644 | 10322144.0511 | 9250556.1523 | 9744094 | 9265147.0836 | 10525634.55 | 111794665.1317
Nuclear | 3815416.2164 | 3432192.0557 | 3786825.6375 | 3661672.1877 | 3643824.0606 | 3601141.4358 | 3700272.0455 | 3702452.9596 | 3199138.4907 | 2064805 | 3009061.0924 | 3842921.997 | 41459723.1789
Wind | 1575863.9997 | 1646222.543 | 1858304.9009 | 2022365.7458 | 1407310.1538 | 1500353.3816 | 1274164.6687 | 1415889.8072 | 1115324.9276 | 1745723 | 1622003.9458 | 1626284.92 | 18809811.9941
Water | 27637.7105 | 22323.8759 | 43481.566 | 57861.8254 | 121210.6217 | 102657.2165 | 69998.8548 | 75818.6937 | 39872.181 | 34363 | 52964.8633 | 39917.6053 | 688108.014
Other | 312826.8319 | 241672.3305 | 263582.9024 | 265577.1379 | 467307.4797 | 468372.7208 | 558716.6567 | 138661.8957 | 441469.4746 | 369299 | 182468.1 | 399232.746 | 4109187.2762
Total | 23907933.8392 | 19743872.907 | 21945428.2346 | 21472579.1008 | 25915023.1871 | 30872207.6713 | 33288590.5842 | 33087475.89 | 26056169.4189 | 23091947 | 20505594.0293 | 25545400.4513 | 305432222.3137
ENERGY BY FUEL TYPE, PERCENT
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Natural Gas | 35.99% | 33.64% | 38.88% | 34.11% | 41.58% | 49.85% | 51.8% | 52.69% | 46.09% | 39.55% | 31.08% | 35.67% | 42.09%
Coal | 40.04% | 39.3% | 34% | 37.92% | 36.66% | 31.78% | 31.37% | 31.2% | 35.5% | 42.2% | 45.18% | 41.2% | 36.6%
Nuclear | 15.96% | 17.38% | 17.26% | 17.05% | 14.06% | 11.66% | 11.12% | 11.19% | 12.28% | 8.942% | 14.67% | 15.04% | 13.57%
Wind | 6.591% | 8.338% | 8.468% | 9.418% | 5.43% | 4.86% | 3.828% | 4.279% | 4.28% | 7.56% | 7.91% | 6.366% | 6.158%
Water | 0.1156% | 0.1131% | 0.1981% | 0.2695% | 0.4677% | 0.3325% | 0.2103% | 0.2291% | 0.153% | 0.1488% | 0.2583% | 0.1563% | 0.2253%
Other | 1.308% | 1.224% | 1.201% | 1.237% | 1.803% | 1.517% | 1.678% | 0.4191% | 1.694% | 1.599% | 0.8898% | 1.563% | 1.345%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual fuel units. Dual fuel units are included in the category of their primary fuel.
Differences in the totals here and the total for ERCOT are attributable to energy across DC ties, rounding, and subsequent settlements.
These values are based on initial settlements and will not be updated with subsequent settlements.
"Other" includes petroleum coke, landfill gas, biomass solids, biomas gases, and any unknown fuel.

## EnergybyFuelChart
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Natural Gas | 8604.6421 | 6641.245 | 8531.3457 | 7323.5087 | 10774.8614 | 15389.9934 | 17243.7931 | 17432.5085 | 12009.8082 | 9133.663 | 6373.9489 | 9111.4086
Coal | 9571.5469 | 7760.2171 | 7461.8875 | 8141.5935 | 9500.5094 | 9809.6895 | 10441.6453 | 10322.1441 | 9250.5562 | 9744.094 | 9265.1471 | 10525.6346
Nuclear | 3815.4162 | 3432.1921 | 3786.8256 | 3661.6722 | 3643.8241 | 3601.1414 | 3700.272 | 3702.453 | 3199.1385 | 2064.805 | 3009.0611 | 3842.922
Wind | 1575.864 | 1646.2225 | 1858.3049 | 2022.3657 | 1407.3102 | 1500.3534 | 1274.1647 | 1415.8898 | 1115.3249 | 1745.723 | 1622.0039 | 1626.2849
Water | 27.6377 | 22.3239 | 43.4816 | 57.8618 | 121.2106 | 102.6572 | 69.9989 | 75.8187 | 39.8722 | 34.363 | 52.9649 | 39.9176
Other | 312.8268 | 241.6723 | 263.5829 | 265.5771 | 467.3075 | 468.3727 | 558.7167 | 138.6619 | 441.4695 | 369.299 | 182.4681 | 399.2327
Diesel | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## EnergyComparisons
Energy, MWh
|  |  | 2009 | 2008 | 2006, GWh
|  | Jan | 24099.5227 | 25472141.9028 | 25472.1419 |  | 25472141.9028
|  | Feb | 19889.8012 | 21640409 | 21727.6108 |  | 21727610.7709
|  | Mar | 22151.3397 | 21768326 | 22780.1359 |  | 22780135.8882
|  | Apr | 21621.0572 | 21585681 | 22456.7914 |  | 22456791.4243
|  | May | 26218.403 | 25438145 | 27877.5135 |  | 27877513.4667
|  | Jun | 31231.2599 | 28365318 | 31704.5597 |  | 31704559.667
|  | Jul | 33726.5986 | 29464659 | 32788.105 |  | 32788105.0486
|  | Aug | 33451.8905 | 33064877 | 32234.983 |  | 32234982.977
|  | Sep | 26273.1613 | 28572574 | 25768.3244 |  | 25768324.3827
|  | Oct | 23202.6474 | 24826390 | 23924.7706 |  | 23924770.5965
|  | Nov | 20622.8855 | 22407536 | 21307.8041 |  | 21307804.1043
|  | Dec | 25789.1925 | 24104676.0681 | 24358.3443 |  | 24358344.2943
ytd | ytd |  | Energy, MWh
Actual | Forecast |  | Actual | Forecast |  | Difference from Actual
24099.5227 | 24470.1476 | Jan | 24099.5227 | 24470.1476 |  | 1.538% |  | 24470147.58 | 25092678.55 | 24470147.58
43989.3239 | 46390.1752 | Feb | 19889.8012 | 21920.0276 |  | 10.21% |  | 21920027.65 | 23253555.42 | 21920027.65
66140.6636 | 68717.7018 | Mar | 22151.3397 | 22327.5265 |  | 0.7954% |  | 22327526.55 | 22162786.88 | 22327526.55
87761.7208 | 92067.5044 | Apr | 21621.0572 | 23349.8026 |  | 7.996% |  | 23349802.63 | 24303590.8 | 23349802.63
113980.1238 | 120156.2729 | May | 26218.403 | 28088.7684 |  | 7.134% |  | 28088768.45 | 27963899.57 | 28088768.45
145211.3837 | 149837.1316 | Jun | 31231.2599 | 29680.8587 |  | -4.964% |  | 29680858.72 | 29896875.66 | 29680858.72
178937.9823 | 182713.1619 | Jul | 33726.5986 | 32876.0303 |  | -2.522% |  | 32876030.34 | 33463263.77 | 32876030.34
212389.8728 | 215824.7235 | Aug | 33451.8905 | 33111.5615 |  | -1.017% |  | 33111561.55 | 31982828.14 | 33111561.55
238663.0341 | 241718.954 | Sep | 26273.1613 | 25894.2306 |  | -1.442% |  | 25894230.57 | 25358107.54 | 25894230.57
261865.6816 | 266294.5646 | Oct | 23202.6474 | 24575.6106 |  | 5.917% |  | 24575610.6 | 24686958.05 | 24575610.6
282488.567 | 288443.3405 | Nov | 20622.8855 | 22148.7759 |  | 7.399% |  | 22148775.85 | 22068476.16 | 22148775.85
308277.7595 | 312203.5922 | Dec | 25789.1925 | 23760.2517 |  | -7.867% |  | 23760251.73 | 23713280.65 | 23760251.73
0
0
|  | EIA-411 forecast made in March 2004 |  | 0
0
YTD Actual 235,718,421 MWh
YTD Forecast 242,752,402 MWh
Difference -2.9%

## DemandComparisons
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2008 Houly | 45495.4582 | 41378.1561 | 39534.7927 | 43297.9698 | 51209.6518 | 62277.9943 | 63400.4899 | 62042.9044 | 55188.0183 | 49051.6512 | 36934.7681 | 46263.7402
2007 hourly | 46099 | 45321.1677 | 42412.0862 | 45872.2092 | 56343.9001 | 59642.1214 | 61119.6066 | 62174.3766 | 56342.6037 | 46574.7272 | 38746.4511 | 47805.6548
[8 empty] | 60214 | 59524 | 52107 | 42670 | 48064
2008 15-minute | 46165.7808 | 42227.5612 | 40289.2384 | 43447.9072 | 51321.1024 | 62392.6816 | 63517.9408 | 62240.5084 | 55382.6932 | 49089.5112 | 37039.6174 | 46911.6234
2007 15-minute | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Forecast | 42943 | 43058 | 36071 | 43246 | 54465 | 56118 | 59837 | 63491 | 49227 | 45368 | 39047 | 39996
| 45495.4582 | 41378.1561 | 39534.7927 | 43297.9698 | 51209.6518 | 62277.9943 | 63400.4899 | 62042.9044 | 55188.0183 | 49089.5112 | 37039.6174 | 46911.6234
| 41231 | 41095 | 36115 | 41219 | 51947 | 58140 | 57319 | 60214 | 59524 | 52107 | 42670 | 48064
| 45994.13 | 45855.76 | 38995.49 | 50745.92 | 56667.03 | 57810.88 | 64927.19 | 62829.88 | 51256.27 | 46607.52 | 38282.14 | 41243.68
| 44704.64 | 45534.39 | 39743.83 | 49316.95 | 55315.89 | 57945.68 | 61277.83 | 63794.02 | 50601.63 | 45766.8 | 38730.82 | 40796.51
| 42943 | 43058 | 36071 | 43246 | 54465 | 56118 | 59837 | 63491 | 49227 | 45368 | 39047 | 39996