| SCR Number | 758 | SCR Title | Enhancements to the Proposed Transmission Outage Report |
| --- | --- | --- | --- |
| Supporting Protocol or Guide Section(s) (if applicable) |  | None. |  |
| Other Document Reference/Source |  | Proposed Transmission Outage report, available at http://mospublic.ercot.com/ercot/jsp/proposed_trans_out.jsp |  |
| System Change Description |  | This System Change Request (SCR) proposes to continue to enhance ERCOT’s publishing of transmission Outage details as started with SCR753, Transmission Outage Notice Detail Enhancements, by requesting the publication of additional data which exists in the ERCOT database. |  |
| Reason for Revision |  | This SCR enhances transparency of transmission Outages, thus allowing Market Participants to better forecast ERCOT Transmission Grid conditions and improve Operating Plans. SCR753 led to the enhancement of information available in the Approved Transmission Outage report; this SCR expands that same improvement to the companion Proposed Transmission Outage report. |  |
| Relevance to Nodal Market (Yes or No, and summary of impact) |  | Yes, the same information should be available to Market Participants in the Nodal process. |  |
| Timeline |  |  |  |
| Date Posted |  | December 7, 2009 |  |
| Please access the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Mark Garrett |
| E-mail Address | Mark.Garrett@DirectEnergy.com |
| Company | Direct Energy |
| Phone Number | 713-877-3666 |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | The same changes that were incorporated by SCR753 to one posting can easily be extended to the second file. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | None |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Increases ERCOT Transmission Grid transparency. |  |
|  | 2 | Enhances Market Participant operational planning. |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | None |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other | 1 | None |  |
| Comments | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

Business Case for Proposed System Change

Issue:

ERCOT’s publication of transmission Outage data can be made more useful to Market Participants by extending the improvements that SCR753 made to one posted file (the “approved” list) to its companion file (the “proposed” list).

Resolution:

Direct Energy proposes the enhancement of the publication of the Proposed Transmission Outages with the following additional information:

- Outage ID – ERCOT’s assigned numeric label for tracking each Outage request.

- Date Posted

- Last Updated – The date of the most recent change.

- Start

- End

- Duration

- Status

- Request Type

- Company

- Multi-CB

- Equipment Type

- Equipment

- From Station

- To Station

- State

- Voltage

- Comment

And additionally, list Cancelled Items.

These are the same changes incorporated in SCR753 to the Approved Transmission Outage list.