## Slide 1: 1/14/10 – SEM Update
Woody Rickerson
Manager ERCOT Network Modeling

## Slide 2
TSPs
SRs
ERCOT
Zonal Model
TSPs
SRs
ERCOT
Zonal Model
NOMCRs
Nodal Model
TSPs
NOMCRs
ERCOT
Zonal Model
Nodal Model
SRs
TSPs
NOMCRs
ERCOT
Nodal Model
2000 – June 2009
Sep 2009 –Nodal Go-live
June 2009 – Sep 2009
Nodal Go-live
TODAY
History ERCOT Network Operations Model
SEM

## Slide 3: Since the Start of SEM . . .
309,451 Data and data attribute changes including:
Additions to the Model (64,456)
    393 breakers
    3296 bays
    76 power transformers
    276 electrical buses
    39 substations
    200 lines
Modifications to the Model (192,325)
Deletions from the Model (52,670)

## Slide 4: TSP Model Change Activity during SEM

## Slide 5: SEM Issues
Ownership problems between REs and TSPs
  To be discussed at NDSWG on Jan 19th
Database Load Frequency
  ERCOT has currently set the periodicity at 2 weeks
Approval to Energize Process
  Related to database periodicity
NMMS updates and patches
Validation of the Model by TSPs (no prescribed method in Protocols)
  SEM Go-Live Procedure shows 6 month validation period (Sep – Feb)
  All TSPs have access to the NMMS system and are currently modifying the model
  ERCOT has produced several reports to aid this effort
  RE will receive a view of their RARF data that is modeled in NMMS (no action required)
  ERCOT discussion with NDSWG on Jan 19th to set up timeline
  TSP Validation metric – MP14