## Slide 1: PDCWG Report to ROS
January 14, 2010
Sydney Niemeyer

## Slide 2: PDCWG Activities
Will meet January 13.
  Review December disturbances.
    Early withdrawal of Primary Frequency Response observed on 3 events in December. See last slide for an example. This is a concern for Nodal Operation and the difference in RRS deployment from Zonal Operation.
  Operating Guide and Protocol synchronization.
  DER
    Test procedure review.
    Develop frequency profile during breaker open disturbances for timing of DER response.
  ERCOT Frequency RMS1 2009 analysis. Box plot analysis added to report.
Next meeting February 10.

## Slide 3
CPS1 = 147.60*

## Slide 4
*Unofficial CPS1 value
*

## Slide 5
*Unofficial CPS2 value
*

## Slide 6
of ERCOT Frequency

## Slide 8
ERCOT CPS1 Score
CPS1 12 Month Rolling Average = 141.00*
*Unofficial CPS1 value

## Slide 9
*ERCOT as a single control area is exempt from CPS2. These scores are For Information Only
89.92**
**Unofficial CPS2 value

## Slide 28
Early withdrawal of Primary Frequency Response!
Sustained Primary Frequency Response.
Early withdrawal of Primary Frequency Response will contribute to grid instability.