## Slide 1: QSE Managers Working Group
Meeting Notes
15 January, 2010
Report to WMS
20 January, 2010
David Detelich - Chairperson

## Slide 2: QMWG Topics
Chair and Vice Chair (Vote)
Review 30 minute NSRS deployments
WGRPP Forecast Accuracy Update
Zonal RPRS unit de-selection
PRR841 Revise Total ERCOT Wind Power Forecast
Load Forecasting Accuracy
Definition of WGR
SCR757, Real Time Wind Production by Zone
PRR833, Primary Frequency Response requirement from Existing WGRs
Draft PRR: Decommitment process for RUC

## Slide 3: Chair and Vice chair
David Detelich
Jeremy Carpenter

## Slide 4: Review 30 minute NSRS deployments
12/1/09, 12/9/09 & 12/12/09
Triggered by adjusted responsive reserve below 2500 MW
Morning schedule change, slow units and up regulation depleted.
Only units at or above LSL can count towards ARR.

## Slide 5: Protocol Sections

## Slide 6: Graph from IMM

## Slide 7: WGRPP Forecast accuracy analysis
Raw data supplied by ERCOT
  November showed improvement
  December had increased error
About 60 WGR are providing good MET data
QMWG asks that metrics presented to TAC be supplied to QMWG

## Slide 8: Zonal RPRS unit de-selection
Notice soon, Target date is February 1st
Quick start units will be de-selected from RPRS deployments
  Based on list of qualified quick start units
  No notice will be given
  Capacity will not be replaced
Endorsed by IMM
  Proper representation of units in Resource Plan
  Energy only market efficiency

## Slide 9: PRR841 Revise Total ERCOT Wind Power Forecast (TEWPF)
QMWG reviewed comments from ERCOT
QMWG recommends that WMS endorse PRR841 with ERCOT comments.

## Slide 10: Load Forecast Accuracy
Questions on the RPRS monthly reports will be addressed with Robbie Staples
QMWG assembled a list of questions and topics for a workshop
QMWG recommends that WMS take the list to TAC requesting a Load Forecasting Workshop.

## Slide 11: Definition of WGR
TAC assignment based on PRR830.
Unit & resource – applies to a grouping of virtual units.
AGWR – Aggregated Wind Resources
  Aggregating for testing purposes
  Walter Reid developing OGRR and PRR’s
  QMWG to review next meeting
Question on how many new WGR’s will be created.
Task force may be needed for implementation issues

## Slide 12: SCR757, Real Time Wind Production by Zone
Revise language for post Nodal implementation
Does the market need data separated
  By Load Zone
  Other
Review next month if alternatives are developed

## Slide 13: PRR833, Primary Frequency Response requirement from Existing WGRs
Review comments from E.ON and NextEra
Issues and comments to be reviewed
  How to select the turbines for relays.
    Capacity
    What if turbines are out for maintenance
  Operational and scheduling
    How to bring back on line
    HSL for Nodal
Wait for comments from PDCWG

## Slide 14: Decommitment process for RUC
No action.

## Slide 15: Next meeting
Next Meeting: February 3, 2010
Topics
  Wind generation forecast accuracy calculations
  Load Forecasting Accuracy
  Definition of WGR
  SCR757 Real Time Wind Production
  Decommitment process for RUC
  Wind Generation Nodal Issues