Topics and questions for proposed Load Forecasting workshop

This list was developed in the QMWG meeting of 1/15/2010 for agenda item 6, Load Forecast Accuracy Improvements.  The QMWG would like the WMS to present this list to TAC for requesting that ERCOT present a Load Forecasting workshop.

- Have vendors present their methodology and accuracy of their forecast, what are the drivers of their forecasts, how are they improving

- In 2006, PRT said that they have a neural network forecast that can learn – can they provide proof that it is improving?

- Possibly invite other vendors to present their methodologies

- What are the vendors’ recommendations for improving their forecast at ERCOT?

- Also like to know what are the biggest contributors to load forecast positive bias and some discussion of what research that ERCOT has done regarding this – ERCOT had mentioned rain but would like to know if there are others

- Have ERCOT verify that the operators are no longer manually entering any bias

- How does ERCOT select the forecast it uses?

- Operations reports show the midterm load forecast error.  It bounces around but doesn’t seem to be changing in any meaningful way.  Is that measure providing any value to the market?