## Slide 1: OOMC and RPRS Summary for Period 12/1/2008 – 11/30/2009 Prepared for VCWG January 15, 2010
<number>
Notes: <number>

## Slide 2: Annual OOMC and RPRS Instructions
<number>
On an annual basis 91% of OOMC and RPRS instructions occur during on-peak hours.
Notes: <number>

## Slide 3: Seasonal OOMC and RPRS Instructions
<number>
On a seasonal basis only the winter period contains a sizable number of OOMC and RPRS instructions which occur in the off-peak hours
83% of total instruction are still occurring during on-peak hours
Estimation of ramping hours would indicate 30% to 40% occurring during off-peak hours
Winter
Notes: <number>

## Slide 4: Seasonal OOMC and RPRS Instructions
<number>
On a seasonal basis only the spring period contains a sizable number of OOMC and RPRS instructions which occur in the off-peak hours
86% of total instruction are still occurring during on-peak hours
Estimation of ramping hours would indicate 15% to 20% occurring during off-peak hours
Spring
Notes: <number>

## Slide 5: Seasonal OOMC and RPRS Instructions
<number>
On a seasonal basis summer period OOMC and RPRS instructions occur predominately during the on-peak hours
98% of total instruction are occurring during on-peak hours
Summer
Notes: <number>

## Slide 6: Seasonal OOMC and RPRS Instructions
<number>
On a seasonal basis fall period OOMC and RPRS instructions occur predominately during the on-peak hours
90% of total instruction are occurring during on-peak hours
Fall
Notes: <number>

## Slide 7: Monthly OOMC and RPRS Instructions
<number>
On a monthly basis only January, February and March contain a reasonable number of OOMC and RPRS instructions which occur in the off-peak hours
82% of total instruction in January are still occurring during on-peak hours
Estimation of ramping hours would indicate 40% to 50% occurring during off-peak hours in January
January
Notes: <number>

## Slide 8: Monthly OOMC and RPRS Instructions
<number>
Through the summer months most OOMC and RPRS instructions occur during on-peak hours
100% of total instruction in August are occurring during on-peak hours
August
Notes: <number>