## Slide 1: Congestion Management Work Group Update
WMS 1-20-10
I Flores—ERCOT
M Wagner--PSEG TX

## Slide 2: CMWG Met 1/12/10
CMWG Recommends as Chair/Vice Chair
  Marguerite Wagner – PSEG TX (Chair)
  Eric Goff – Reliant Energy (Vice-Chair)
2010 Goals
Operational Insights
PCAPs
Competitive Constraint Test

## Slide 3: 2010 Draft Goals (for WMS Consideration)
Nodal Competitive Constraint Test
  Recommendation to WMS (goal) by April on Competitive Constraints for use in 168 hour testing based on information from ERCOT
  Review results of competitive constraints from 168 hour test data to make recommendation for go live
  Review ERCOT business processes for daily/monthly determination of Competitive Constraints
Pre Contingency Action Plans
  Clarification of ERCOT procedures to use for reliability only
  Notification process from ERCOT for when in/out of service in RT
  Develop/recommend Approval process for PCAPs (similar to SPS)
  List of PCAPs/dates/use/reason—reported or posted
2011 CSCs
  New?
  Continue with Existing?
Bus mappings for Load Zones for Nodal—who is doing this—ERCOT, NATF, CMWG?
Notes:   How do Competitive Constraints flow into Nodal systems (ERCOT deadline for getting into systems—nodal schedule) Recommend WMS ask TAC for more details on schedule…

## Slide 4: Operational Insights
Voltage issues at Kendall
  Related to NH constraint?
    ERCOT notes that likely these are not related and issues of 1/11/10 were a learning process
Installation of Yellow Jacket Phase Shifter
  CMWG questions about how ERCOT operates in conjunction with Transmission Owners
  Was to become effective 1-15-10

## Slide 5: Pre-Contingency Action Plans
ERCOT committed to check on posting use of PCAPs in Real Time
  One idea was to post at: http://oldercot.ercot.com/ercotPublicWeb/Message/MessageSearch.asp
  This would enable posting in RT and not require system changes
CMWG recommends that ERCOT also keep a list of PCAP date/use/reason (this could become part of monthly Operations Report to ROS)
CMWG volunteers to work on PCAP approval process modeled after SPS process—docs will go to CMWG/RPG for consideration/review

## Slide 6: Competitive Constraint Test
CMWG worked through questions from ERCOT.
Annual Competitive Constraint Process—thought is to mimic existing CSC process. CMWG to work with ERCOT and make recommendation to WMS
Monthly Competitive Constraint Process
  Nodal Protocols appear to allow for ERCOT to recommend monthly changes of status of Competitive Constraint (as noncompetitive) directly to TAC (CMWG agreed)
  In monthly process, ERCOT has to determine status of constraints in time for monthly CRR auctions—so will occur approximately 2 months ahead of effective month
  If TAC later determines not working can revise process
Annual CCT for 2011—ERCOT to write NPRR to clarify that SSWG base case will be used instead of annual CRR auction model (as there will be no annual CRR auction for 2011)

## Slide 7: Conclusion
Next meeting _________
To discuss PCAPs, CCT