Summary of Discussion of the Regional Planning Group (RPG) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Friday, December 11, 2009 – 9:30am – 3:30pm

Attendance

Participant:

| Participant Name: Please Print | Organization: | Other: |
| --- | --- | --- |
| Dan Woodfin | ERCOT |  |
| Julius Horvath | WETT |  |
| Sidharth Rajagopalan | ERCOT |  |
| Walter Reid | Wind Coalition |  |
| Jay Teixeira | ERCOT |  |
| Blake Williams | CPS Energy |  |
| Brad Schwarz | EON |  |
| Hagen Haentsch | Oncor |  |
| Mike Juricek | Oncor |  |
| Clayton Greer | Morgan Stanley |  |
| Rob Lane | Luminant Energy |  |
| Eddie Kolodziej | Customized Energy Solutions |  |
| Jerry Lee | Electric Power Energy |  |
| Jeff Brown | Shell Energy |  |
| Mike Grimes | Horizon Wind Energy |  |
| Yang Zhang | ERCOT |  |
| Hong Xiao | ERCOT |  |
| Biju Mathew | Austin Energy |  |
| Danh Huynh | Garland Power & Light |  |
| Paul Hassink | AEP | phassink@aep.com |
| Mark Meyer | Sharyland | mmeyer@sharylandutilities.com |
| Bill Bojorquez | Hunt Transmission Services |  |
| Charles Dewitt | LCRA |  |
| Matt Kelly | ERCOT |  |
| Anuj Dixit | ERCOT |  |
| Bob Burkhalter | ABB |  |
| Roger Stewart | LCRA |  |
| Wayne Kemper | Center Point Energy |  |
| Jeff Billo | ERCOT |  |
| Mark Garrett | Direct Energy |  |

Antitrust Admonition – Dan Woodfin

Mr. Woodfin directed attention to the Antitrust Admonition, which was displayed.  A copy of the Antitrust Guidelines was available for review.

Phase I of VRT Study – Jose Conto

Presentation of ERCOT VRT Study – Phase I was given by Jose Conto.  This was presented to ROS this week.   Presentation at following link:

http://www.ercot.com/content/meetings/rpg/keydocs/2009/1211/12-10-09_ERCOTROS_VRT_Phase1_presentation_final.ppt

Send Jose any additional comments that you feel to be considered for Phase III of the study – send to jconto@ercot.com

## Final Review of Generation Interconnection Procedures – Dan Woodfin

http://www.ercot.com/content/meetings/rpg/keydocs/2009/1211/ERCOT_G_I_P_after_NovRPG_2base+lcra+cnp+oncor+pseg+herring.doc

Dan reviewed the purpose of the document – which is that it is meant to be a procedural manual.  The idea of the current revision was to take out the textbook type verbiage, and any technical requirements/standards that should be in the Protocols or Operating Guides.

Review of document with all comments and changes was performed section by section.  The document included comments and edits from TO’s.  Additional changes to various sections were made as discussed in the meeting.  See revised document that include all changes discussed in this section of the RPG meeting.

Overview of proposed new NERC TPL standard -

Review of new NERC TPL standard presented by Julius.  The standard has been created and is awaiting final ballot for approval possibly in late July.  Any comments regarding the make up of the standard should have already been received – recommendations or changes are not open to discuss at this point.

National security, reliability, no black outs – that is the mind set – even though market does play an important role, it comes down to reliability.  This makes the market more reliable.

Questions can go to Julius Horvath

RPG activities for 2010 & 2009 – 5 Year Plan Update

http://www.ercot.com/content/meetings/rpg/keydocs/2009/1211/2010_Five-Year_Transmission_Plan_Scope_and_Process_Draft_120.doc

The reliability analysis will be performed using Powerworld SCOPF and/ or TARA redispatch to identify irresolvable constraints in the 2015 conditioned case.

Discussion and clarification of the analysis was discussed in depth – it was stressed that the reliability analysis that is mentioned in the 2010 five year transmission plan is based on finding reliability issues on the transmission system – not economic.  What has been discovered is that Powerworld gives more because it’s showing the AC case not just the DC case.

The  2010 -  5YTP draft scope and process document is going to go out for comment – and you can send those to Jeff.

http://www.ercot.com/content/meetings/rpg/keydocs/2009/1211/ERCOT_2009_5YTP_Update_12112009_RPG.ppt

Brief overview (because of time) regarding slide 2 – CREZ Assumptions was reviewed:

- 2010 – 2012

  - CREZ default transmission projects only

  - No CREZ generation

- 2013 – 2014 reliability analysis

  - Analysis conducted with and without all CREZ transmission projects

  - No CREZ generation

- 2013 – 2014 economic analysis

  - All CREZ transmission projects included

  - No CREZ generation

    - Except to run sensitivity analysis

Where we are now:

- AC Analysis

- Final Documentation

  - First draft of report complete for internal review

  - First draft to TOs by December 18 (before Christmas)

- Post final congestion data

Update:

- Significant project changes since last update

  - Removed Lavon Switch 345/138-kV project

    - Corrected contingency definition at Royse Switch

  - Removed Greens Bayou 345/138-kV autotransformer replacement project

    - No longer met economic criteria in final analysis

- Latest set of projects posted on POI site

We are in the documentation phase of the 2009 5 year transmission plan.

There is a plan to try to get this out to the TO’s soon.  It will likely be sent out before the holidays, but is not expected to have you review during the holiday.  It is expected that the comments will be asked to come back after the new year.

Adjournment

Dan Woodfin adjourned at 4:00 p.m.