| PRR Number | 811 | PRR Title | Real Time Production Potential |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | January 19, 2010 |  |  |
| Protocol Sections Requiring Revision |  | 2.1, Definitions 2.2, Acronyms 6.5.1.1, Requirement for Operating Period Data for System Reliability and Ancillary Service Provision |  |  |
| Effective Date |  | February 1, 2010 |  |  |
| Priority and Rank Assigned |  | Not applicable |  |  |
| Revision Description |  | This Protocol Revision Request (PRR) establishes a requirement for Wind-powered Generation Resources (WGRs) to telemeter a Real Time signal indicating the Real Time Production Potential (RTPP), which will be a function of wind and turbine availability at the time. |  |  |
| Overall Market Benefit |  | Increase wind generation production by providing more complete information to ERCOT. |  |  |
| Overall Market Impact |  | Increased costs for wind generators to provide new data and telemetry. |  |  |
| Consumer Impact |  | Some reduced costs. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed PRR811 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 4/17/09, PRR811 was posted. - On 5/19/09, WMS comments were posted. - On 5/21/09, PRS considered PRR811. - On 6/18/09, PRS again considered PRR811. - On 7/22/09, a second set of WMS comments were posted. - On 7/23/09, PRS again considered PRR811. - On 8/17/09, a CEO Revision Request Review was posted. - On 8/20/09, ERCOT comments were posted. - On 8/25/09, PRS again considered PRR811. - On 8/31/09, a revised CEO Revision Request Review was posted. - On 9/2/09, an Impact Analysis was posted. - On 9/17/09, PRS considered the 8/25/09 PRS Recommendation Report and Impact Analysis for PRR811. - On 10/1/09, TAC considered PRR811. - On 10/20/09, the ERCOT Board considered PRR811. - On 11/5/09, TAC again considered PRR811. - On 12/22/09, a third set of WMS comments were posted. - On 1/6/10, TAC again considered PRR811. - On 1/19/10, the ERCOT Board again considered PRR811. |  |  |
| PRS Decision |  | On 5/21/09, PRS unanimously voted to table PRR811 for one month. All Market Segments were present for the vote. On 6/18/09, PRS voted to table PRR811. There was one opposing vote from the Independent Retail Electric Provider (IREP) Market Segment. All Market Segments were present for the vote. On 7/23/09, PRS unanimously voted to recommend approval of PRR811 as amended by the 7/22/09 WMS comments. All Market Segments were present for the vote. On 8/25/09, PRS unanimously voted to recommend approval of PRR811 as revised by PRS. All Market Segments were present for the vote. On 9/17/09, PRS unanimously voted to endorse and forward the 8/25/09 PRS Recommendation Report and Impact Analysis for PRR811 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 5/21/09, there was discussion regarding the need to table PRR811 to allow time for review of the associated software implementation. It was noted that the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG) will have a meeting to discuss the implementation issues. On 6/18/09, it was noted that while QMWG recommended that WMS recommend to PRS that PRR811 be tabled, WMS took no action with respect to QMWG’s recommendation. On 7/23/09, it was explained that the proposed Protocol language provides that a WGR shall provide an RTPP through its QSE selected for this purpose. On 8/25/09, PRS discussed the CEO Revision Request Review for PRR811 and agreed to change “shall” to “may” in areas within the Protocol language in which “shall” would impact ERCOT Nodal resources. It was noted that PRR811 would still be useful to ERCOT with these changes. PRS revised the language to remove any possible impacts to Nodal. On 9/17/09, there was no discussion. |  |  |
| TAC Decision |  | On 10/1/09, TAC unanimously voted to recommend approval of PRR811 as recommended by PRS in the 9/17/09 PRS Recommendation Report. All Market Segments were present for the vote. On 11/5/09, TAC unanimously voted to remand PRR811 to WMS. All Market Segments were present for the vote. On 1/6/10, unanimously voted to recommend approval of PRR811 as recommended by TAC in the 10/1/09 TAC Recommendation Report and as amended by the 12/22/09 WMS comments. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 10/1/09, the effective date of the PRR was discussed. On 11/5/09, TAC discussed the instructions from the ERCOT Board to have the appropriate TAC subcommittee develop and include RTTP calculation methodology language in the Protocols. On 1/6/10, there was no discussion. |  |  |
| Board Decision |  | On 10/20/09, the ERCOT Board remanded PRR811 to TAC. On 1/19/10, the ERCOT Board approved PRR811 as recommended by TAC in the 1/6/10 TAC Report. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Software and telemetry capital cost. | $100,000 to $200,000 per WGR. |
|  | 2 | Additional data analysis and management costs. |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Provide forecast model tuning data. |  |
|  | 2 | Provide ERCOT more visibility to system conditions. |  |
|  | 3 | Provide a basis for WGR provision of Ancillary Services. |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| WMS 051909 | Recommended that PRS table PRR811 to allow QMWG to review data calculations and methods. |
| WMS 072209 | Endorsed PRR811 as revised by WMS in accordance with QMWG’s proposed language changes to the definition of RTPP. |
| ERCOT 082009 | Deferred the Impact Analysis until final resolution of PRR811 has been made. |
| WMS 122209 | Added language to specify the factors that go into the Real Time Production Potential calculation. |

| Original Sponsor |  |
| --- | --- |
| Name | Walter Reid |
| Company | Wind Coalition |
| Market Segment | Not applicable |

Proposed Protocol Language Revision

- 2.1	Definitions

Real Time Production Potential (RTPP)

A Real Time signal sent to ERCOT by each Wind-powered Generation Resource (WGR) providing the WGR’s reasonable efforts estimate of the net production available in MW from the WGR given the existing wind conditions at the time and given all available individual wind generation turbines not on Planned or Forced Outage.  The RTPP shall not be the actual meter reading of the WGR; it is an estimate using the same process when the WGR is curtailed as when it is not curtailed.  The RTPP is a calculated value based on Real Time data averaged for not more than ten (10) seconds.  RTPP is the product of wind speed, the turbine manufacturer’s power curve, turbine availability and loss factors.  Other factors may be applied with the approval of ERCOT.

2.2	Acronyms

RTPP			Real Time Production Potential

- 6.5.1.1	Requirement for Operating Period Data for System Reliability and Ancillary Service Provision

Operating Period data will be used by ERCOT to monitor the reliability of the ERCOT System in Real Time, monitor compliance with Ancillary Service Obligations, perform historical analysis, and predict the short-term reliability of the ERCOT System using network analysis software.  Each Transmission and/or Distribution Service Provider (TDSP), at its own expense, may obtain such Operating Period data from ERCOT or from Qualified Scheduling Entities (QSEs).

(1)	A QSE representing a Generation Entity that has Generation Resources connected to a TDSP shall provide the following Real Time data to ERCOT for each individual generating unit at a Generation Resource plant location and ERCOT will make the data available to the Generation Resource’s host TDSP (at TDSP expense):

(a)	Gross and net real power, or

Gross real power at the generator terminal and unit auxiliary Load real power, or

Net real power at the ERCOT Polled Settlement (EPS) Meter and unit auxiliary Load real power.

(b)	Gross reactive power at the generator terminal

(c)	Status of switching devices in the plant switchyard not monitored by the TDSP affecting flows on the ERCOT System;

(d)	Frequency Bias of Portfolio Generation Resources under QSE operation;

(e)	Any data mutually agreed by ERCOT and the QSE to adequately manage system reliability and monitor Ancillary Service Obligations;

(f)	Generator breaker status;

(g)	High Operating Limit (HOL); and

(h)	Low Operating Limit (LOL).

[PRR590: Add items (i) and (j) upon system implementation:] (i) Automatic Generation Control (AGC) status; and (j) Ramp rate.

[PRR307: Revise Section 6.5.1.1(1) and 6.5.1.1(1)(f) as follows when system change implemented.] (1) A QSE representing a Generation Entity or a Competitive Retailer that has Resources connected to a TDSP shall provide the following Real Time data to ERCOT for each individual generating unit or Load acting as a Resource (LaaR) capable of controllably reducing or increasing consumption under Dispatch control (similar to AGC) and that immediately respond proportionally to frequency changes (similar to generator governor action) at a Resource plant location and ERCOT will make the data available to the Resource’s host TDSP (at TDSP expense): (f) Resource breaker status;

[PRR590: Add paragraph (2) and renumber subsequent paragraphs upon system implementation:] (2) A QSE representing Uncontrollable Renewable Resources is exempt from the requirements of items (1) (i) and (j) above.

(2)	Any QSE providing Responsive Reserve and/or Regulation must provide for communications equipment to receive ERCOT telemetered control deployments of service power.

(3)	Any QSE providing Regulation Service must provide appropriate Real Time feedback signals to report the control actions allocated to the QSEs Resources.

(4)	Any QSE that represents a provider of Responsive Reserve, Non-Spinning Reserve, or Replacement Reserve using interruptible LaaR shall provide separate telemetry of the real power consumption of each interruptible Load providing the above Ancillary Services, the LaaR response to Dispatch Instructions for each LaaR, and the status of the breaker controlling that interruptible Load.  If interruptible Load is used as a Responsive Reserve Resource, the status of the high-set under frequency relay will also be telemetered.

(5)	Any QSE that represents a qualified provider of Balancing Up Load (BUL) need not provide telemetry, but rather shall provide an estimate in Real Time representing the real power interrupted in response to the deployment of Balancing Up Load.

(6)	Real Time data for reliability purposes must be accurate to within three-percent (3%).  This telemetry may be provided from relaying accuracy instrumentation transformers.

(7)	A Wind-powered Generation Resource (WGR) Entity shall provide the following site-specific meteorological information to ERCOT through its QSE selected for this purpose.  The WGR shall be responsible for any associated compliance metrics.  ERCOT shall establish procedures specifying the accuracy requirements of WGR meteorological information telemetry:

(a)	Wind speed;

(b)	Wind direction;

(c)	Temperature; and

(d)	Barometric pressure.

[PRR590: Insert paragraph (7) and renumber accordingly, upon system implementation] (7) A QSE representing a combined cycle plant may aggregate the AGC and ramp rate Supervisory Control and Data Acquisition (SCADA) points for the individual units at a plant location into two distinct SCADA points (AGC and ramp rate) if the plant is configured to operate as such, i.e. gas turbine(s) and steam turbine(s) are controlled in aggregate from an AGC perspective.

(8)	A WGR shall provide a Real Time Production Potential (RTPP) through its QSE selected for this purpose.  ERCOT may compare the fifteen (15)-minute average RTPP with the fifteen (15) minute EPS Meter reading for the WGR for all intervals that the WGR is not curtailed.  ERCOT shall establish a maximum expected monthly measure developed by ERCOT, which shall be approved by the Technical Advisory Committee (TAC).  If the monthly measure for a WGR is more than the TAC approved criteria; then, ERCOT may audit that WGR’s RTPP estimating procedures to determine if a more accurate RTPP for that WGR is reasonably achievable.