| NOGRR Number | 034 | NOGRR Title | Rescind Telemetry Performance Calculation Exclusions |
| --- | --- | --- | --- |
| Date Posted |  | January 22, 2010 |  |

| Nodal Operating Guide Section Requiring Revision | ### 7.3.3, Data from QSEs and TSPs to ERCOT |
| --- | --- |
| Protocol Section(s) Requiring Revision, if any | None |
| Requested Resolution | Normal |
| Revision Description | This Nodal Operating Guide Revision Request (NOGRR) proposes the removal of language which allows Market Participants to, at their discretion, have any of their Telemetry Performance data excluded from the periodic calculations in the Telemetry Performance Monitoring Program. |
| Reason for Revision | There is no project in scope or budget to account for these exclusions and adjust the calculations in the Telemetry Performance monitoring program. |
| Overall Market Benefit | None |
| Overall Market Impact | None |
| Consumer Impact | None |
| Submitter Justification for Necessity Prior to the Texas Nodal Market Implementation Date | This NOGRR aligns the Nodal Operating Guides with the scope of the project. If this language is present after the Texas Nodal Market Implementation Date, ERCOT will be in breach of the Nodal Operating Guides. |
| CEO Determination (To be completed by ERCOT) | The ERCOT CEO has determined that NOGRR034 is necessary prior to the Texas Nodal Market Implementation Date. |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | There is no viable way to develop the process necessitated by the existing language before Texas Nodal Market Implementation Date. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Not applicable. | Not applicable. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Not applicable. | Not applicable. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | The current language allows conduct that is contrary to the intent of the Telemetry Performance monitoring program. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | John Dumas |
| E-mail Address | jdumas@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3195 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | (512) 248-3867 |

Proposed Guide Language Revision

### 7.3.3	Data from QSEs and TSPs to ERCOT

(1)	Each TSP and QSE shall provide telemetered measurements on modeled Transmission Elements as required by the Protocols and the ERCOT Nodal ICCP Communications Handbook.

(2)	QSEs and TSPs shall provide Real-Time monitoring of power system quantities to ERCOT as defined in the Protocols and the ERCOT Nodal ICCP Communications Handbook.  ERCOT shall work with TSPs and QSEs to determine the required data using the methodology presented in the Protocols.  Transmission Element status and analog measurements that the TSPs and QSEs define in the Network Operations Model shall, at a minimum, be provided to ERCOT.  Ultimately, it is the responsibility of the TSPs and QSEs to provide all data requested by ERCOT.

(3)	Real Time telemetry data from QSEs used to supply power or Ancillary Services shall be integrated by ERCOT and checked against settlement meter values on a monthly basis.

(4) 	Each QSE and TSP shall notify ERCOT as soon as practicable when telemetry will not be available or is unreliable for operational purposes.

(5)	Each QSE and TSP shall notify ERCOT as soon as practicable when telemetry is returned to normal state.