ERCOT Nodal Operating Guide

- Table of Contents

- February 1, 2010

1	Overview	1

1.1	Document Purpose	1

1.2	Document Relationship	2

1.3	Process for Nodal Operating Guide Revision	2

1.3.1 Introduction	2

1.3.2 Submission of a Nodal Operating Guide Revision Request	3

1.3.3 Operations Working Group	3

1.3.4 Nodal Operating Guide Revision Procedure	4

1.3.5 Urgent Requests	10

1.3.6 Nodal Operating Guide Revision Implementation	10

1.4	Definitions	11

A	11

B	11

C	14

D	14

E	15

F	15

G	15

H	15

I	15

J	16

K	16

L	16

M	16

N	16

O	16

P	16

Q	16

R	16

S	17

T	17

U	17

V	17

W	17

X	17

Y	17

Z	17

1.5	Operational Training	18

1.5.1 System Operator Training Objectives	19

1.5.2 System Operator Training Requirements	19

1.5.3 ERCOT Operations Training Seminar	20

1.5.4 ERCOT Severe Weather Drill	20

1.5.5 Criteria For The Selection Of Operators	20

1.5.6 Training Practices	20

2	System Operations and Control Requirements	1

2.1	Operational Duties	1

2.2	System Monitoring and Control	2

2.2.1 Overview	2

2.2.2 Security Criteria	4

2.2.3 Response to Transient Voltage Disturbance	4

2.2.4 Load Frequency Control	5

2.2.5 Automatic Voltage Regulators	5

2.2.6 Power System Stabilizers	6

2.2.7 Turbine Speed Governors	8

2.2.8 Performance/Disturbance/Compliance Analysis	8

2.2.9 Time Error and Time Synchronization	9

2.3	Ancillary Services	10

2.3.1 Responsive Reserve (RRS)	12

2.3.2 Non-Spinning Reserve Service (Non-Spin)	14

2.3.3 Ancillary Services Monitoring Program	15

2.4	Outage Coordination	15

2.5	Reliability Unit Commitment (RUC)	15

2.5.1 Criteria for Removing Contingencies from the RUC Analyses	15

2.6	Requirements for Under-Frequency Relaying	15

2.6.1 Automatic Firm Load Shedding	15

2.6.2 Generators	16

2.7	System Voltage Profile	17

2.7.1 Introduction	17

2.7.2 Maintaining Voltage Profile	17

2.7.3 Special Consideration for Nuclear Power Plants	19

2.7.4 Reactive Considerations for Generation Resources	19

2.8	Operation of Direct Current Ties (DC Ties)	21

2.8.1 Inadvertent Interchange Management	21

3 	Resource Testing and Qualification Procedures 	1

3.1	System Control Interfaces with ERCOT	1

3.1.1 Introduction	1

3.1.2 Compliance with Dispatch Instructions	1

3.2	Qualified Scheduling Entities (QSEs)	1

3.2.1 Operating Obligations	1

3.2.2 Changes in Resource Status	2

3.2.3 Regulatory Required Incident and Disturbance Reports	2

3.2.4 Ancillary Service Qualification and Testing Program	3

3.3	Resource Entities	3

3.3.1 Unit Capability Requirements	5

3.3.2 Unit Reactive Capability Requirements	5

3.4	Load Resource Testing Requirement	8

3.5	ERCOT Implementation	9

3.6	Enforcement of Unit Reactive Capability Testing	9

3.7	Enforcement of Automatic Voltage Regulator (AVR) Testing	9

3.8	Transmission Service Providers	9

3.9  	Transmission Operators	10

3.9.1 Transmission Owner Responsibility for a Vegetation Management Program	11

3.9.2 NERC Requirements for Reporting Vegetation-Related Line Outages	11

3.9.3 ERCOT Requirements for Reporting Sabotage Information	11

3.9.4 Responsibility for Equipment Ratings	12

4	Emergency Operation	1

4.1	Introduction	1

4.2	Emergency Notifications	1

4.2.1 Operating Condition Notice	1

4.2.2 Advisory	2

4.2.3 Alert	2

4.2.4 Emergency Notice	3

4.3	Operation to Maintain Transmission System Security	3

4.3.1 Remedial Action Plans (RAP)	4

4.4	Block Load Transfers between ERCOT and Non-ERCOT System	5

4.5	Emergency Electric Curtailment Plan (EECP)	5

4.5.1 General	5

4.5.2 Operating Procedures	5

4.5.3 Implementation	6

4.6	Black Start Service	13

4.6.1 Principles	13

4.6.2 Strategies	14

4.6.3 Priorities	14

4.6.4 Responsibilities	15

4.6.5 Black Start Emergency Back Up Communication Facilities Criteria	17

5	Planning	1

5.1	Planning Criteria	1

5.1.1 Introduction	1

5.1.2 Real-Time and Short Term Planning	2

5.1.3 Load Forecasts	2

5.2	Resource Capability	2

5.3	Transmission Reliability Studies	2

5.4	Reports of Studies	4

5.5	System Modeling Information	4

5.5.1 System Assessments	6

5.5.2 ERCOT Clarifications and Definitions of NERC Reliability Standards Contingency Categories C and D	9

6	Disturbance Monitoring and System Protection	1

6.1	Disturbance Monitoring Requirements	1

6.1.1 Introduction	1

6.1.2 Fault Recording Equipment	1

6.1.3 Dynamic Disturbance Recording Equipment	1

6.1.4 Equipment Reporting Requirements	1

6.1.5 Review Process	2

6.2	System Protective Relaying	2

6.2.1 Introduction	2

6.2.2 Design and Operating Requirements for ERCOT System Facilities	3

6.2.3 Performance Analysis Requirements for ERCOT System Facilities	7

6.2.4 Maintenance and Testing Requirements for ERCOT System Facilities	8

6.2.5 Requirements and Recommendations for ERCOT System Facilities	9

7	Telemetry and Communication	1

7.1  	ERCOT Wide Area Network	1

7.1.1 ERCOT Responsibilities	1

7.1.2 QSE and TSP Responsibilities	2

7.1.3 Joint Responsibilities (Maintenance and Restoration)	4

7.2	ERCOT ICCP Interface	5

7.2.1 Quality Codes	5

7.2.2 Metric of Availability	5

7.3	Telemetry	5

7.3.1 Data from ERCOT to QSEs	6

7.3.2 Data from ERCOT to TSP	6

7.3.3 Data from QSEs and TSPs to ERCOT	6

7.3.4 TSP and QSE Telemetry Restoration	7

7.3.5 General Telemetry Performance Criterion	7

7.4	Calibration and Testing of Telemetry Responsibilities	7

8	Attachments

8A Black Start Info

8B Relay Misoperation Report

8C Turbine Governor Speed Tests

8D Seasonal Unit Net Real Power Capability Verification

8E Biennial Unit Reactive Limits Verification

8F Seasonal Hydro Responsive Reserve Net Capability Verification

8G Load Resource Tests

8H Unit Alternative Fuel Capability

9	Monitoring Programs	3

9.1	QSE and Resource Monitoring Program	3

9.1.1 Testing	3

9.1.2 Reactive Testing for Generation Resources	3

9.1.3 Real-Time Data	4

9.1.4 Compliance with Valid Dispatch Instructions	5

9.1.5 Resource Facilities Network Operations Model Update Implementation Monitor	5

9.1.6 Resource Outage Reporting	6

9.1.7 Backup Control for Resource Energy Deployment	6

9.1.8 Qualified Staffing Requirement	7

9.1.9 Automatic Voltage Regulator (AVR)	7

9.1.10 Current Operating Plan Metrics for QSEs	8

9.2	TSP Monitoring Program	8

9.2.1 Rating Methodology Reporting Program	8

9.2.2 Real-Time Data Monitor	9

9.2.3 Transmission Outage Reporting	9

9.2.4  Transmission Service Provider (TSP) Network Operations Model Update Implementation Monitor	10

9.2.5  Backup Control for TSPs	11

9.3	ERCOT Monitoring Program	11

9.3.1 Transmission Control	12

9.3.2 System and Resource Control	14

9.3.3 Forecasting	15

9.3.4 System Operating Constraints	16

9.3.5 Network Operations Model Update Implementation Statistics	17

9.3.6 Back-up Control Plan	17

9.3.7 ERCOT Black Start Plan	17

9.3.8 Computer and Communication Systems Real-Time Availability and Systems Security	18

9.3.9 Voltage and Reactive Control Performance Monitoring	18

9.4	Ancillary Services Monitoring Program	18

9.4.1 Hydro Responsive Testing	19

9.4.2 Black Start Service Requirements for TSPs, QSEs, and Generation Resources	19

9.4.3 Resource-Specific Responsive Reserve Performance	19

9.4.4  Constant Frequency Control	20

9.4.5 Resource-specific Non-Spinning Reserve	20