- Summary of Operating Guide Revisions

- Effective:  February 1, 2010

- Section 8:

OGRR223 – Real Time Production Potential

This Operating Guide Revision Request (OGRR) establishes a requirement for Wind-powered Generation Resources (WGRs) to telemeter a Real Time signal indicating the Real Time Production Potential (RTPP) which will be a function of wind and turbine availability at the time.

Revised Subsection: Attachment 8A