| I. Revision Request Details |  |
| --- | --- |
| Date | 11/30/09 |
| Revision Request Number | NPRR200 |
| Revision Request Name | MMS DC Tie Schedule Data Source |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Nodal Protocol Revision Request (NPRR) 200, MMS DC Tie Schedule Data Source, changes the source of Direct Current Tie (DC Tie) Schedules for use by the Market Management System (MMS) to an associated Qualified Scheduling Entity (QSE) submitted Electronic Tag (e-Tag). After initial review, NPRR200 does not result in impact to Nodal budget or schedule; therefore, the ERCOT CEO believes this NPRR should proceed through the stakeholder review process. The ERCOT CEO has determined that NPRR200 is necessary prior to the Texas Nodal Market Implementation Date as noted below. Pursuant to paragraph (6) of Protocol Section 21.11.3.1, Review and Posting of Nodal Protocol Revision Requests, the ERCOT CEO has the right to reevaluate the NPRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: The DC Tie Schedule submission required by the Protocols is redundant as ERCOT already has access to the required information through the Open Access Technology International, Inc. (OATI) database.; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.