| OGRR Number | 233 | OGRR Title | Backup Control Plan Submission Process |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Tabled |
| Date of Decision |  | February 4, 2010 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Operating Guide Sections Requiring Revision |  | 1.7.3, Transmission Operator (TO) 3.1.3.1, Operating Obligations |  |  |
| Revision Description |  | This Operating Guide Revision Request (OGRR) proposes language changes to clarify the frequency and submittal process of backup control plans. |  |  |
| Reason for Revision |  | The current language does not state the frequency and process for submittal of backup control plans. |  |  |
| Overall Market Benefit |  | This revision removes ambiguity from the Operating Guides. |  |  |
| Overall Market Impact |  | Unknown. |  |  |
| Consumer Impact |  | Unknown. |  |  |
| Procedural History |  | - On 8/7/09, OGRR233 was posted. - On 8/14/09, a CEO Revision Request Review was posted. - On 9/15/09, Operations Working Group (OWG) considered OGRR233. - On 10/9/09, an Impact Analysis was posted. - On 10/21/09, OWG considered the 9/15/09 OWG Recommendation Report and Impact Analysis for OGRR233. - On 11/12/09, ROS considered OGRR233. - On 11/17/09, OWG again considered OGRR233. - On 11/23/09, Luminant comments were posted. - On 12/3/09, ERCOT comments were posted. - On 12/16/09, OWG again considered OGRR233. - On 1/14/10, ROS again considered OGRR233. - On 1/26/10, a second set of ERCOT comments were posted. - On 1/28/10, a third set of ERCOT comments were posted. - On 2/4/10, TAC considered OGRR233. |  |  |
| OWG Decision |  | On 9/15/09, OWG was in consensus to recommend approval of OGRR233 as revised by OWG. On 10/21/09, OWG was in consensus to endorse and forward the 9/15/09 OWG Recommendation Report and the Impact Analysis for OGRR233 to ROS. On 11/17/09, OWG was in consensus to table OGRR233 for one month. On 12/16/09, OWG did not reach a consensus. |  |  |
| Summary of OWG Discussion |  | On 9/15/09, ERCOT Staff provided language changes to correct the email address to which backup control plans should be submitted. On 10/21/09, there was no discussion. On 11/17/09, there was discussion regarding the charge from ROS to remove the requirement language in the Nodal Operating Guides. ERCOT Staff requested additional time for review of the associated North American Electric Reliability Corporation (NERC) Reliability Standard. On 12/16/09, the OWG considered OGRR233 and after review of the concerns raised at ROS that a potential conflict between NERC Reliability Standard EOP-008-0, Plans for Loss of Control Center Functionality, and the Operating Guides exists, the OWG does not recognize any such conflict. The OWG supports the 11/23/09 Luminant comments and the 12/3/09 ERCOT comments. The OWG requests that ROS provide clarification on the ROS instructions in remanding OGRR233 to OWG. Specifically, OWG requests that ROS identify the task OWG is to perform. |  |  |
| ROS Decision |  | On 11/12/09, ROS voted to remand OGRR233 to OWG. There were two opposing votes from the Investor Owned Utility (IOU) and the Independent Retail Electric Provider (IREP) Market Segments and three abstentions from the Cooperative, Independent Generator, and IREP Market Segments. All Market Segments were present for the vote. On 1/14/10, ROS voted to recommend approval of OGRR233 as recommended by OWG in the 10/21/09 Recommendation Report. There were two opposing votes from the Cooperative and Investor Owned Utility (IOU) Market Segments and four abstentions from the Municipal, Independent Power Marketer (IPM) Market Segments. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 11/12/09, there was discussion regarding an existing NERC Reliability Standard, EOP-008-0, requiring Transmission Operators (TOs) to submit backup plans. There was concern that the current language and changes made by OGRR233 would cause a conflict between the Operating Guides and the NERC standard and that a possible solution is to develop a regional standard. ERCOT Staff stated that if the requirement is removed from the Operating Guides that the Protocols would also need to be revised. On 1/14/10, there was a question regarding the NERC Reliability Standard, EOP-008-0, and if the requirement applies to the Transmission Operators or the NERC operator. Some Market Participants believed that there is a requirement being placed on Entities that would otherwise be exempt and believe this would be clarified through the Joint Registration Organization (JRO) meetings. ERCOT stated that in order to be compliant with NERC and to maintain system reliability, Qualified Scheduling Entities (QSEs) and Transmission Operators are required to submit backup plans to ERCOT. |  |  |
| TAC Decision |  | On 2/4/10, TAC unanimously voted to table OGRR233 pending completion of JRO discussions. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 2/4/10, there was discussion regarding a possibility of overlap or conflict with NERC Reliability Standards if OGRR233 is approved. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | Removes ambiguity. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Unknown. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | This revision removes ambiguity from the Operating Guides. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens on behalf of the Operations Working Group (OWG) |
| E-mail Address | fowens@texasmpa.org |
| Company | Texas Municipal Power Agency |
| Phone Number | 936-873-1120 |
| Cell Number | 979-204-7725 |
| Market Segment | Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Luminant 112309 | Recommended that ROS reconsider its previous decision to remand and instead, approve OGRR233 as submitted. |
| ERCOT 120309 | Supported the 11/23/09 Luminant comments and recommended that ROS reconsider its previous decision to remand and instead approve OGRR233 as submitted. |
| ERCOT 012610 | Proposed language changes to further clarify the process for submitting backup control plans. |
| ERCOT 012810 | Proposed language changes to further clarify the process for submitting backup control plans. The 1/28/10 ERCOT comments supersede the 1/26/10 ERCOT comments. |

Proposed Guide Language Revision

1.7.3	Transmission Operator (TO)

Transmission Operators (TOs) are the subset of Transmission Service Providers (TSPs) or Transmission and/or Distribution Service Providers (TDSPs) that is charged with continuous communication (24x7 basis) with the ERCOT Control Area Authority (CAA) and carrying out Dispatch Instructions directly or on behalf of represented TDSPs.  Each TSP or TDSP will designate either itself or another TSP or TDSP to perform the functions of a TO.  TOs must meet all requirements identified in the ERCOT Protocols for TDSPs and TSPs in addition to those requirements stated below for all Transmission Facilities represented:

- Operate and manage the electric Transmission Facilities between energy sources and the point of delivery;

- Coordinate emergency communications between the TDSP or TSP and ERCOT CAA;

- Monitor the loading of the transmission system(s);

- Notify the ERCOT CAA of changes to the status of all Transmission Facilities;

- Act as Single Point of Contact for transmission Outages;

- Maintain operational metering; and,

- Implement Black Start.

TOs shall submit to ERCOT, by March 15 of each year, a written backup control plan to continue operation in the event the TO’s control center becomes inoperable.  Backup control plans shall be submitted to ERCOT at shiftsupervisors@ercot.com.

Each backup control plan shall be reviewed and updated annually and shall meet the following minimum requirements:

- Description of actions to be taken by TO personnel to avoid placing a prolonged burden on ERCOT and other Market Participants.

- Description of specific functions and responsibilities to be performed to continue operations from an alternate location.

- Procedures and responsibilities for maintaining basic voice communications capabilities with ERCOT.

- Procedures for backup control function testing and the training of personnel.

As an option, the backup control plan may include arrangements made with another Entity to provide the minimum backup control functions in the event the TO’s primary functions are interrupted.

#### 3.1.3.1	Operating Obligations

Reference:  Protocol Section 4.3.4, Operations of the Qualified Scheduling Entity

Scheduling Center Requirement.  A QSE shall maintain a 24-hour, seven-day-per-week scheduling center with qualified personnel for the purposes of communicating with ERCOT for scheduling purposes and for deploying the QSE’s Ancillary Services in Real Time.

QSE Representative.  Each QSE shall, for the duration of the Scheduling Process and settlement period for which the QSE has submitted schedules to ERCOT, designate a representative who shall be responsible for operational communications and who shall have sufficient authority to commit and bind the QSE.

A QSE shall maintain a 24x7 scheduling center with qualified personnel for the purposes of communicating with ERCOT for scheduling purposes and for deploying the QSE’s Ancillary Services in Real Time.  Each QSE shall submit to ERCOT, by March 15 of each year, a written backup control plan to continue operation in the event the QSE’s scheduling center becomes inoperable.  Backup control plans shall be submitted to shiftsupervisors@ercot.com.

Each backup control plan shall be reviewed and updated annually and shall meet the following minimum requirements:

- Description of actions to be taken by QSE personnel to avoid placing a prolonged burden on ERCOT and other Market Participants.

- Description of specific functions and responsibilities to be performed to continue operations from an alternate location.

- Procedures and responsibilities for maintaining basic voice communications capabilities with ERCOT.

- Procedures for backup control function testing and the training of personnel.

As an option, the backup control plan may include arrangements made with another Entity to provide the minimum backup control functions in the event the QSE’s primary functions are interrupted.

Each QSE shall, for the duration of the Scheduling Process and settlement period for which the QSE has submitted schedules to ERCOT, designate an individual who shall be responsible for operational communications and who shall have sufficient authority to commit and bind the QSE.

For connectivity requirements for backup sites, refer to Section 8.3.1.1, QSE Use of Domain Name Service (DNS) or ERCOT Web-Based Front Page for Site Failover.

- Reference:  Protocol Section 6.5.1.1, Requirement for Operating Period Data for System Reliability and Ancillary Service Provision

Operating Period data will be used by ERCOT to monitor the reliability of the ERCOT System in Real Time, monitor compliance with Ancillary Service Obligations, perform historical analysis, and predict the short-term reliability of the ERCOT System using network analysis software.  Each TDSP, at its own expense, may obtain such Operating Period data from ERCOT or from QSEs.

(1)	A QSE representing a Generation Entity that has Generation Resources connected to a TDSP shall provide the following Real Time data to ERCOT for each individual generating unit at a Generation Resource plant location and ERCOT will make the data available to the Generation Resource’s host TDSP (at TDSP expense):

(a)	Gross and net real power, or

Gross real power at the generator terminal and unit auxiliary load real power, or

Net real power at the EPS meter and unit auxiliary load real power.

(b)	Gross reactive power at the generator terminal

(c)	Status of switching devices in the plant switchyard not monitored by the TDSP affecting flows on the ERCOT System;

(d)	Frequency Bias of Portfolio Generation Resources under QSE operation;

(e)	Any data mutually agreed by ERCOT and the QSE to adequately manage system reliability and monitor Ancillary Service Obligations;

(f)	Generator breaker status;

(g)	High Operating Limit; and

(h)	Low Operating Limit.

[PRR590: Add items (i) and (j) upon system implementation:] (i) AGC status; and (j) Ramp rate.

[PRR307: Revise Section 6.5.1.1(1) and 6.5.1.1(1)(f) as follows when system change implemented.] (1) A QSE representing a Generation Entity or a Competitive Retailer that has Resources connected to a TDSP shall provide the following Real Time data to ERCOT for each individual generating unit or LaaR capable of controllably reducing or increasing consumption under Dispatch control (similar to AGC) and that immediately respond proportionally to frequency changes (similar to generator governor action) at a Resource plant location and ERCOT will make the data available to the Resource’s host TDSP (at TDSP expense): (f) Resource breaker status;

[PRR590: Add paragraph (2) and renumber subsequent paragraphs upon system implementation:] (2) A QSE representing Uncontrollable Renewable Resources is exempt from the requirements of Section 6.5.1.1(1)(i) and (j).

(2)	Any QSE providing Responsive Reserve and/or Regulation must provide for communications equipment to receive ERCOT telemetered control deployments of service power.

(3)	Any QSE providing Regulation Service must provide appropriate Real Time feedback signals to report the control actions allocated to the QSEs Resources.

(4)	Any QSE that represents a provider of Responsive Reserve, Non-Spinning Reserve, or Replacement Reserve using interruptible Load as a Resource shall provide separate telemetry of the real power consumption of each interruptible Load providing the above Ancillary Services, the LaaR response to Dispatch Instructions for each LaaR, and the status of the breaker controlling that interruptible Load.  If interruptible Load is used as a Responsive Reserve Resource, the status of the high-set under frequency relay will also be telemetered.

(5)	Any QSE that represents a qualified provider of Balancing Up Load (BUL) need not provide telemetry but rather shall provide an estimate in Real Time representing the real power interrupted in response to the deployment of Balancing Up Load.

(6)	Real Time data for reliability purposes must be accurate to within three percent (3%).  This telemetry may be provided from relaying accuracy instrumentation transformers.

[PRR590: Add paragraph (7) upon system implementation:] (7) A QSE representing a combined cycle plant may aggregate the AGC and ramp rate SCADA points for the individual units at a plant location into two distinct SCADA points (AGC and ramp rate) if the plant is configured to operate as such, i.e. gas turbine(s) and steam turbine(s) are controlled in aggregate from an AGC perspective.