## Slide 1: Wind Forecasting Analysis of January 28, 2010
TAC Update February 4, 2010

## Slide 2: Strong Cold Front & Heavy Rains
A strong cold front moved southward from the Texas Panhandle into the Sweetwater region.
The cold front became temporarily stationary in the Sweetwater region from just after 3:00 am until 12:00 pm.
A low pressure developed along the front in the McCamey region during this period.

## Slide 3: Day Ahead Forecast

## Slide 4: Cause of Forecast Error
Due to stationary front in the Sweetwater region.
Region of light winds is located along the front.
Region of much stronger winds behind the front.
Winds ranged from below cut-in speed to rated speed within a few miles.
The up ramp occurred as the northern and western portions of the Sweetwater region came under the influence of the higher wind speeds behind the front.
The down ramp commenced as a small region of low pressure and light winds moved along the front and shut off the higher winds speeds.
The physical model over forecast the wind speeds associated with the strengthening low leading to a generation over forecast during the evening hours.

## Slide 5: Wind Speed (m/s) for 1/28/2010
Actual 08:00 CPT
Forecast 08:00 CPT

## Slide 6: Wind Speed (m/s) for 1/28/2010
Actual 09:00 CPT
Forecast 09:00 CPT

## Slide 7: Wind Speed (m/s) for 1/28/2010
Actual 10:00 CPT
Forecast 10:00 CPT

## Slide 8: Wind Speed (m/s) for 1/28/2010
Actual 11:00 CPT
Forecast 11:00 CPT

## Slide 9: Wind, Reg, and RRS on a Graph
Chart: Wind Output, Regulation and RRS for 1/28/10

## Slide 10: Wind and Frequency on a Graph
Chart: Wind Output and Frequency for 1/28/10

## Slide 11: All Values on a Single Graph
Chart: Wind Output, Frequency, Regulation and RRS for 1/28/10

## Slide 12
Ramp forecast issued at 3:00 am January 28, 2010 (lightest green line) with observed system-wide generation (black line) beginning at 11:30 pm January 27, 2010. The top green line is the 10% Probability Of Exceedence (POE) and the bottom green line is the 90% POE.

## Slide 13
The down ramp that occurred between 9:00 and 10:15 am was not well forecasted. The physical model used in the production of the forecasts did not develop the small vortex that was responsible for reducing wind speeds and generation in the Sweetwater region well. It is hoped that additional data assimilation will help improve the physical model forecasts of similar events in the future.
forecast issued at 8:30 am January 28, 2010.

## Slide 14
Although the deterministic forecasts did not predict this ramp, the probabilistic forecast did indicate a significant probability of a downward change in generation during the forecast period .
Probability of power changing by a certain amount during the 60-minute (left) and 180-minute (right) periods. For the 60-minute (180-minute) period the blue line is for a magnitude of 500 (1000) MW, the green line is for 750 (1500) MW, the yellow line is for 1000 (2000) MW and the red line for 2000 (4000) MW.