## Slide 1: ERCOT MIG review
Bill Blevins
Manager Operations Engineering

## Slide 2: Background
WMS has developed the MIG whitepaper.
Currently 90 days was suggested as the correct time in this paper.
Some Market Participants believe this must be faster than 90 days.
ERCOT looked at the current Nodal systems and protocols and determined that RUC does not have logic currently to deal with MIGs.
ERCOT identified that the Outage Coordination timeline would address issues with switching because it provides appropriate model changes and Nodal systems to be changed and tested.

## Slide 3: Summary things to be done
Market needs to decide what time frame to consider. 3 days, 2 weeks, 90 days etc.
Multiple Interconnection Generators need to classify by type.
  Wind Resources
  Thermal Units
  Combined Cycle
  Split Generation Resources
  Alternate metering
  1 to 1 and Many to 1 connections
Changes can be identified based on Market time frame requested from Market.
Propose a change to Nodal Protocols specifically address this issue so that until the analysis is provided the MIG process is clear.
Feb 04, 2010

## Slide 4: Actions
Assign WMS to decide what other times should ERCOT consider?
Submit NPRR.
ERCOT analyze WMS-TAC proposed time frames and report back after Nodal go-live.