## Slide 1: Renewable Technology Working Group (RTWG)
Report to TAC
February 4, 2010
Henry Durrwachter

## Slide 2: January RTWG Meeting
Reviewed 4th Quarter TRIP Report
Lively discussion on potential changes in the Texas Renewables Implementation Plan (TRIP)
  Revised draft to be reviewed at next RTWG meeting
  Revised TRIP to TAC in March for review and approval
Discussed 2010 Work Plan

## Slide 3: 4th Quarter TRIP Highlights
Installed wind generation capacity in ERCOT at December 31, 2009 = 8,916 MW
The following new wind generation was added in the 4th Quarter of 2009:
  Langford Wind Power 150 MW (Tom Green County)
  Loraine Wind Park I 126 MW (Mitchell County)
  Loraine Wind Park II 125 MW (Mitchell County)
Total new wind generation capacity in ERCOT increased from 8,515 MW to 8,916 MW, an increase of 401 MW from the last report.
One wind farm signed Generation Interconnect Agreements since the last report:
  Paplote Creek Wind Farm II 198 MW (San Patricio County)

## Slide 4: Installed Wind Generation Capacity in ERCOT

## Slide 5: 4th Quarter TRIP Highlights
Significant Issues:
  In November, the ERCOT Board approved PRR 830 - Reactive Power Capability Requirement, which has been appealed to the PUCT
  In December, the PUCT issued a “strawman” rulemaking for the 500 MW non-wind Renewable Portfolio Standard (RPS)

## Slide 6: 4th Quarter TRIP Highlights
Completed Issues:
  MD-8: Reactive and Voltage Requirements Applicable to Wind Generators
  SO-9: SCADA Control of Generator Circuit Breakers
  SO-15: Communications between Wind Farms and TSPs
  SO-28: SPS Actuation for N-0 Conditions
  WT-2: Wind Workshop III - Summer 2009
  WT-4: Wind in the Nodal Market

## Slide 7: 4th Quarter TRIP Highlights
Completed PRRs/NPRRs:
  PRR 824 - Primary Frequency Response from WGRs
  PRR 830 - Reactive Power Capability Requirement
  NPRR 195 - Removal of McCamey Congestion Management from Nodal Protocols
New Issue: SP 9 - Wind Turbine Model Validation

## Slide 8: Wind Statistics

## Slide 10: ERCOT Wind Generation Facts 2009
Annual average capacity factor = 24.4%
Capacity value of wind (as a % of installed capacity)
  At the peak hour (July 13, HE1700) = 18.4%
  During the 4 monthly summer peak load hours (June-Sept.) = 9.2%.
  For all hours in the 4 summer months = 19.8%
Minimum hourly wind production was 14 MW on September 11, HE1000.
Maximum hourly wind production was 5,986 MW on October 28, HE 2000.
Highest percentage of load served by wind was 24.6 % on October 28, HE 0300.
Maximum 1-hour increase in wind generation was 2,136 MW on October 25 from 6 to 7 PM.
Maximum 1-hour decrease in wind generation was 1,820 MW on June 3 from 2 to 3 AM.
This is the first year that there has been wind generation in every hour of the year.
Source: ERCOT

## Slide 12: Wind Statistics 2007-2009

## Slide 13: Questions?