## Sheet1
January '10
| IE | NSRS Requirement | Net Error Subtracted from Load Forecast | 95th Percentile of Net Load Error combining 4 Hour Blocks | Average Reg. Up for 4 Hour Blocks | 95th Percentile of MTLF Error | Percent of 95th Percentile to Wind | Net Load Forecast Bias (Negative Value = Overforecast) | MTLF Bias (Negative Value = Overforecast) | Percent of 95th Bias to Wind | NSRS Requirement MWs to Wind
| 1 | 2000 | 0 | 3143.8153 | 827.5 | 1919.0591 | 38.96% | 85 | -3 | 0% | 779.1528
| 2 | 2000 | 0 | 3143.8153 | 827.5 | 1919.0591 | 38.96% | 85 | -3 | 0% | 779.1528
| 3 | 1799 | -205 | 2356.8155 | 762.5 | 1861.1273 | 21.03% | -205 | -281 | 0% | 335.252
| 4 | 1799 | -205 | 2356.8155 | 762.5 | 1861.1273 | 21.03% | -205 | -281 | 0% | 335.252
| 5 | 1799 | -205 | 2356.8155 | 762.5 | 1861.1273 | 21.03% | -205 | -281 | 0% | 335.252
| 6 | 1799 | -205 | 2356.8155 | 762.5 | 1861.1273 | 21.03% | -205 | -281 | 0% | 335.252
| 7 | 2000 | -65 | 2943.6365 | 1008.75 | 1783.4319 | 39.41% | -206 | -485 | 0% | 762.6607
| 8 | 2000 | -65 | 2943.6365 | 1008.75 | 1783.4319 | 39.41% | -206 | -485 | 0% | 762.6607
| 9 | 2000 | -65 | 2943.6365 | 1008.75 | 1783.4319 | 39.41% | -206 | -485 | 0% | 762.6607
| 10 | 2000 | -65 | 2943.6365 | 1008.75 | 1783.4319 | 39.41% | -206 | -485 | 0% | 762.6607
| 11 | 2000 | -83 | 2517.9289 | 601.25 | 2180.8301 | 13.39% | -927 | -657 | 29.13% | 280.8216
| 12 | 2000 | -83 | 2517.9289 | 601.25 | 2180.8301 | 13.39% | -927 | -657 | 29.13% | 280.8216
| 13 | 2000 | -83 | 2517.9289 | 601.25 | 2180.8301 | 13.39% | -927 | -657 | 29.13% | 280.8216
| 14 | 2000 | -83 | 2517.9289 | 601.25 | 2180.8301 | 13.39% | -927 | -657 | 29.13% | 280.8216
| 15 | 2000 | 0 | 2872.7868 | 805 | 2595.1712 | 9.664% | -557 | -112 | 79.89% | 193.2727
| 16 | 2000 | 0 | 2872.7868 | 805 | 2595.1712 | 9.664% | -557 | -112 | 79.89% | 193.2727
| 17 | 2000 | 0 | 2872.7868 | 805 | 2595.1712 | 9.664% | -557 | -112 | 79.89% | 193.2727
| 18 | 2000 | 0 | 2872.7868 | 805 | 2595.1712 | 9.664% | -557 | -112 | 79.89% | 193.2727
| 19 | 2000 | 0 | 3238.7172 | 976.25 | 2405.3754 | 25.73% | 68 | 174 | 0% | 514.6123
| 20 | 2000 | 0 | 3238.7172 | 976.25 | 2405.3754 | 25.73% | 68 | 174 | 0% | 514.6123
| 21 | 2000 | 0 | 3238.7172 | 976.25 | 2405.3754 | 25.73% | 68 | 174 | 0% | 514.6123
| 22 | 2000 | 0 | 3238.7172 | 976.25 | 2405.3754 | 25.73% | 68 | 174 | 0% | 514.6123
| 23 | 2000 | 0 | 3143.8153 | 827.5 | 1919.0591 | 38.96% | 85 | -3 | 0% | 779.1528
| 24 | 2000 | 0 | 3143.8153 | 827.5 | 1919.0591 | 38.96% | 85 | -3 | 0% | 779.1528
February '10
| IE | NSRS Requirement | Net Error Subtracted from Load Forecast | 95th Percentile of Net Load Error combining 4 Hour Blocks | Average Reg. Up for 4 Hour Blocks | 95th Percentile of MTLF Error | Percent of 95th Percentile to Wind | Net Load Forecast Bias (Negative Value = Overforecast) | MTLF Bias (Negative Value = Overforecast) | Percent of 95th Bias to Wind | NSRS Requirement MWs to Wind
| 1 | 1608 | -442 | 2015.7965 | 850 | 1686.9914 | 16.31% | -442 | -329 | 25.57% | 303.1912
| 2 | 1608 | -442 | 2015.7965 | 850 | 1686.9914 | 16.31% | -442 | -329 | 25.57% | 303.1912
| 3 | 1984 | -455 | 2292.7575 | 763.75 | 2213.46 | 3.459% | -455 | -481 | 0% | 52.8821
| 4 | 1984 | -455 | 2292.7575 | 763.75 | 2213.46 | 3.459% | -455 | -481 | 0% | 52.8821
| 5 | 1984 | -455 | 2292.7575 | 763.75 | 2213.46 | 3.459% | -455 | -481 | 0% | 52.8821
| 6 | 1984 | -455 | 2292.7575 | 763.75 | 2213.46 | 3.459% | -455 | -481 | 0% | 52.8821
| 7 | 1792 | -602 | 2138.9735 | 948.75 | 1910.325 | 10.69% | -602 | -563 | 6.478% | 166.2067
| 8 | 1792 | -602 | 2138.9735 | 948.75 | 1910.325 | 10.69% | -602 | -563 | 6.478% | 166.2067
| 9 | 1792 | -602 | 2138.9735 | 948.75 | 1910.325 | 10.69% | -602 | -563 | 6.478% | 166.2067
| 10 | 1792 | -602 | 2138.9735 | 948.75 | 1910.325 | 10.69% | -602 | -563 | 6.478% | 166.2067
| 11 | 2000 | -518 | 2103.4029 | 621.25 | 2286.765 | 0% | -767 | -283 | 63.1% | 326.8735
| 12 | 2000 | -518 | 2103.4029 | 621.25 | 2286.765 | 0% | -767 | -283 | 63.1% | 326.8735
| 13 | 2000 | -518 | 2103.4029 | 621.25 | 2286.765 | 0% | -767 | -283 | 63.1% | 326.8735
| 14 | 2000 | -518 | 2103.4029 | 621.25 | 2286.765 | 0% | -767 | -283 | 63.1% | 326.8735
| 15 | 2000 | -667 | 2176.9072 | 843.75 | 3090.349 | 0% | -751 | -213 | 71.64% | 477.8242
| 16 | 2000 | -667 | 2176.9072 | 843.75 | 3090.349 | 0% | -751 | -213 | 71.64% | 477.8242
| 17 | 2000 | -667 | 2176.9072 | 843.75 | 3090.349 | 0% | -751 | -213 | 71.64% | 477.8242
| 18 | 2000 | -667 | 2176.9072 | 843.75 | 3090.349 | 0% | -751 | -213 | 71.64% | 477.8242
| 19 | 1639 | -982 | 1623.7105 | 966.25 | 2012.7273 | 0% | -982 | -493 | 49.8% | 489
| 20 | 1639 | -982 | 1623.7105 | 966.25 | 2012.7273 | 0% | -982 | -493 | 49.8% | 489
| 21 | 1639 | -982 | 1623.7105 | 966.25 | 2012.7273 | 0% | -982 | -493 | 49.8% | 489
| 22 | 1639 | -982 | 1623.7105 | 966.25 | 2012.7273 | 0% | -982 | -493 | 49.8% | 489
| 23 | 1608 | -442 | 2015.7965 | 850 | 1686.9914 | 16.31% | -442 | -329 | 25.57% | 303.1912
| 24 | 1608 | -442 | 2015.7965 | 850 | 1686.9914 | 16.31% | -442 | -329 | 25.57% | 303.1912