# ERCOT

# DYNAMICS WORKING GROUP

## Report to ROS

## February 11, 2010

- The DWG last met on December 8-9th.

- Flat Start Progress:

  - Work on the 2009 Future Year (year 2013) Flat Start case is complete.

  - Work on the 2009 Summer Flat Start case with wind models continues.

  - Work on the 2010 Summer Flat Start began on December 21st.

- The DWG is nominating the following DWG members for chair and vice-chair:

- DWG Chair:  John Moore (STEC)

- DWG Vice-Chair:  Charles DeWitt (LCRA)

- In accordance with Section II.D of the DWG Procedural Manual, the DWG is reporting to the ROS issues related to data submission requirements discovered during the annual review of the dynamics data.

In 2009, ERCOT switched to a newer version of the Siemens PSS/e software (version 31).  PSS/e version 31 uses a different FORTRAN compiler.  This resulted in PSS/e compatibility issues with the older user-written models.  For example, as of October 2009, Mitsubishi, Vestas, and Suzlon had not provided PSS/e version 31 models for all their wind generator types, even though the release of PSS/e version 31 occurred many months prior to October 2009.  As a result, the annual requirement for the DWG to complete a current year wind flat start has been delayed until early 2010.

Section II.B (All Wind Facilities) of the DWG Procedural Manual states the following:

“If an ERCOT or (Siemens) PTI wind model is not appropriate for the facility, the GE (Generation Entity) or PGC (Power Generation Company) shall obtain the most accurate and appropriate model and the associated data for their wind plant from the manufacturer, and supply it to ERCOT and the TDSP to which it is connected, with the legal authority to provide to all transmission owners”.

Furthermore, under Section II.B (All Wind Facilities) of the DWG Procedural Manual, it specifically states the GE or PGC shall provide models which are compatible with the Siemens PSS/e version currently used in ERCOT.

“If the model is not an ERCOT or Siemens PTI (PSS/e) model, provide either dynamic model source code for the machine and associated data or dynamic model object code for the machine and associated data.

- If providing object code, the object code must be updated for PSS/E version changes or as requested by the DWG and/or ERCOT.”

Many times, a DWG member or ERCOT staff must work through the wind manufacturer to obtain the most accurate and appropriate model, which does not follow the procedure outlined in the DWG Procedure Manual. Thus, the GE or PGC is not complying with the DWG Procedure Manual.

- The DWG will consider utilizing system event data collected by ERCOT to investigate the individual response of the machines.  Investigation of event data could reveal information about generating units, such as operating mode or units that do not respond to frequency events.  The objective would be to use the knowledge garnered from analyzing the event data to improve the overall response of governor models in the ERCOT Dynamics Model Database.

- The next DWG meeting is tentatively scheduled for February 18th and 19th.

DWG Tasks, 2009

| Task | Status |
| --- | --- |
| 2009 Current Year flat start (2009 Summer Peak from 2009 DSA). | Complete |
| 2009 future year flat start (2013 Summer Peak from 2009 DSB). | Complete |
| 2009 Flat Start case with wind models (2009 Summer Peak from 2009 DSA). | Working |
| 2010 Current Year flat start (2010 Summer Peak from 2010 DSA). | Working |
| Develop a procedure to use RARF data and reactive capability test data to improve and to validate dynamics models. | Complete |
| Annual Procedural Manual review/update (2009). | Complete |
| Publish 2009 & future year flat start book. | Working |
| Make annual determination of the number and location of dynamic monitoring devices. | Future Activity |