## Slide 1: QSE Managers Working Group
Meeting Notes
3 February, 2010
Report to WMS
17 February, 2010
David Detelich - Chairperson

## Slide 2: QMWG Topics
Definition of WGR and implementation of PRR830
WGRPP Forecast Accuracy Update
Load Forecasting Accuracy
Zonal RPRS unit de-selection
Implementation of PRR811
Draft NPRR, WGR HSL update process (possible Vote)
SCR757, Real Time Wind Production by Zone
Forecasting Ancillary Service Requirements

## Slide 3: Definition of WGR
TAC assignment based on PRR830.
Reviewed OGRR238
  AGWR – Aggregated Wind Resources
  Aggregating for testing purposes
  Walter Reid submitted OGRR
Other implementation issues
  RARF updates affect zonal and Nodal testing
  New telemetry is due 6/1/2010
    Not the same as Nodal availability telemetry
    Will a Nodal PRR be required for this
  Compliance deadline suspended – what about rest of PRR

## Slide 4: WGRPP Forecast accuracy analysis
Raw data supplied by ERCOT
Discussion of 1/28/10 and 2/1/2008 events
  1/28 experienced sudden changes; 2/1 gradual drop in wind output
  Does AWS forecast cutouts due to high wind and/or ice?
  Ramping tool being developed will help
QMWG asks that metrics presented to TAC be supplied to QMWG

## Slide 5: Load Forecast Accuracy
Market participant will analyze the data for QMWG – requested historical data
Questions on the RPRS monthly reports addressed with Robbie Staples
  Report to be updated

## Slide 6: Zonal RPRS unit de-selection
Notice not sent out
No update on implementation date

## Slide 7: Draft NPRR, WGR HSL update process
Reviewed draft NPRR
Available at QMWG meeting page
Walter Reid to submit to Revision Request

## Slide 8: SCR757, Real Time Wind Production by Zone
Production by region (?) is required in the Nodal Protocols
SCR757 withdrawn
4.2.2 Wind-Powered Generation Resource Production Potential
(6) ERCOT shall post to the MIS on a regional basis a rolling 48 hour actual wind power production and the forecasted amounts from the STWPF and the TEWPF.

## Slide 9: Forecasting Ancillary Service Requirements

## Slide 10: Next meeting
Next Meeting: March 8, 2010
Topics
  Wind generation forecast accuracy calculations
  Load Forecasting Accuracy
  Comments on PRR833
  Decommitment process for RUC
  Wind Generation Nodal Issues