## Slide 1: Congestion Management Work Group Update
WMS 2-17-10
I Flores—ERCOT
M Wagner--PSEG TX

## Slide 2: CMWG Met 1/27 & 2/15/10
Operation of Phase Shifting Transformers
Constraint Competitiveness Test Status

## Slide 3: Insights on Operation of Phase Shifting Transformers
Yellow Jacket Phase Shifter In Service Date 1-29-10
ERCOT Coordinating with AEP to optimize flows
  Ongoing communication between ERCOT and TOs about how elements are working
  Additional information needed to enhance transparency
    What are the settings?
    What is the change process for setting changes?
    Where documented?

## Slide 4: Constraint Competitiveness Test
Plan of Action/Timeline
Decision Making Entity from Siebel to CCT Tool (by 3/1/10)
Post Case—2011 peak from 12/09 SSWG case (Wednesday 2-17-10)
Wind Modeled as expected on-peak wind output (Nodal Prot 3.19.1(1)(b))
Run model with CSCs/CREs and double circuit contingencies that contain CSCs or CREs
Generate results with tool and present on 3/5
Share Additional Information to enhance market understanding
    ECI import export,
    ECI export to import
    Pivotal Player test

## Slide 5: Constraint Competitiveness Test
Issues to Tackle—2nd Round of work
Generic Constraints
Evaluate additional ‘heavy hitter’ constraints
GOAL—recommendation of Competitive Constraints to April WMS

## Slide 6: Conclusion
Scheduled CMWG meetings:
  March 1
  March 9
  March 29