DRAFT OF LUME PROPOSAL

“E” Factors:

- Shall be set on the 15th of the month, or the first business day following the 15th if the 15th were either a weekend or NERC holiday.

- ERCOT will notify counterparties __ days in advance of any “E” factor change by _____. (See NPRR 206)

- Interim policy – To be determined.

DAM ENERGY Bids

E1 = Bid Reductions = A factor that enables an entity with a DAM position that encompasses both bids and offers, to bid in a manner that ensures price risk is managed and unnecessary real time short positions are not a result of a bidding strategy that is constrained by unnecessary and burdensome working capital obligations.

“dth” percentile = 85th percentile of SPPDAM = A price that reflects a ceiling price that constrains a counterparty’s collateral obligation for a bid to when “E1” recognizes default exposure has been minimized by an offsetting offer (E1 equal to a value less then 1).

Where:

“E1” = Max [ 0 or [  Bid Risk – Offer Offsets – Load Variance – 3Part Available Capacity ] / Bid Risk ]

n = DAM operating days

Bid Risk 	= ∑n Bids Cleared

= ∑n [ QCleared-Bids  x  PDAM-Cleared ]

Offer Offsets = 3Part and Energy Only Offers Cleared

= ∑n [QCleared-3part  x  PDAM-Cleared + QCleared-EO  x  PDAM-Cleared ]

3Part Available Capacity = To be determined

Load Variance1 = Max [ 0 , Min [10% RTLoad, RTLoad - Offers Cleared, Bids Cleared - Offers Cleared ]]

=Max [ 0 , Min [ [0.1 x ∑n[PDAM-Cleared x QLoadRT]], ∑n[PDAM-Cleared x QLoadRT] - ∑n[QCleared-3part  x  PDAM-Cleared + QCleared-EO x  PDAM-Cleared], ∑n[QCleared-Bids  x  PDAM-Cleared - QCleared-3part  x  PDAM-Cleared + QCleared-EO x  PDAM-Cleared]]]

1 Load Variance will only be calculated on hours where the Quantity of bids Cleared Day-Ahead is greater then the Quantity of Offers Cleared

DAM Energy Only Offer

“ath” percentile = 60th percentile of SPPDAM = (1) In relation to E2, the “ath” percentile is a  variable that determines if an Energy Only offer qualifies for offsetting bid exposure, (2) The “ath” percentile establishes the calculation methodology of E3; thus, determines the amount of exposure an offer introduces.

“bth” percentile = 85th percentile of SPPDAM = The variable that determines the magnitude for which an offer will offset bid exposure

“E2” = Available Offer Offsets = A factor that enables an entity with a DAM position that encompasses both bids and offers to reduce bid exposure by the “bth” percentile multiplied by the Energy Only Offer Quantity.  Reduction is limited to the lesser of the bid risk or the offsetting offers.

“E3” = Offer Risk In Excess of Bid Risk = A factor that enables the calculation of exposure on DAM Energy Only Offer Quantities for which no offsetting bid exist.

Where:

“E2” = 1 - Max [ 0 or ( Offer Risk – Bid Offsets ) / Offer Risk

Offer Risk = ∑n[Energy Only and 3Part Offers Cleared ] = ∑n[Q Cleared-3part x  PDAM-Cleared + QCleared-EO  x  PDAM-Cleared]

Bid Offsets = ∑n[QCleared-Bids  x  PDAM-Cleared]

“E3” Observation =

When Offer Price is ≤ “ath” = ( Offer Risk – Bid Offsets ) / Offer Risk ; When Offer Price is > “ath” = 50% x [ Max [ 0 or Energy Only Available Capacity – 3Part] / Energy Only Available Capacity ]

Offer Risk = ∑n[Energy Only and 3Part Offers Cleared] = ∑n[Q Cleared-3part x  PDAM-Cleared + QCleared-EO  x  PDAM-Cleared]

Bid Offsets = ∑n [QCleared-Bids  x  PDAM-Cleared]

Energy Only Available Capacity = ∑n [Energy Only Offers Not Cleared] = ∑n[QUn-Cleared-EO  x  PDAM-Cleared]

3Part = ∑n [Q3Part x PDAM-Cleared]

Additional Changes:

- E2 and E3 can both be positive

- Multiply E2 by QEO when bth < 0

DAM Three Part Offer Risk

“yth” percentile = 55th percentile of SPPDAM

“zth” percentile = 85th percentile of SPPDAM

PTP Obligation Bids

“uth” percentile = To be determined

Ancillary Services Not Self-Arranged

“tth” percentile = To be determined