# ERCOT

# SYSTEM PROTECTION WORKING GROUP

## Report to ROS

## March 11, 2010

- The SPWG last met on February 18th and 19th with a special meeting on the 17th to discuss and test case building in Aspen.

- Case building Progress:

  - Case building in Aspen was complete and a successful trial run was preformed on February 17th and 18th.

  - Plan to submit future year cases in Aspen and another trial

  - 3rd Pass of current case was submitted on Feb 26th.

- SPWG mailing list and roster was updated.

- OGRR on relay failure reporting regarding M-032408-01 & PRC 001-1

- ERCOT suggestions to the proposed OGRR were heard and the OGRR was revised

- Currently working with ERCOT to submit OGRR

- OGRR 240 on CREZ protection was discussed with a resulting vote on SPWG support of each revision

- OGRR 242 was completed and submitted to ERCOT for Urgent Status

- SPWG Calendar:

| Task | Date/Status |
| --- | --- |
| Submit Current Year Short Circuit Cases | Complete |
| Submit CY Short Circuit First Pass | Complete |
| Submit CY Short Circuit Final Pass | Complete |
| Winter SPWG Meeting | Complete |
| Publish CY Short Circuit Cases | 15-Mar |
| Future Year Short Circuit Cases Due | 15-Apr |
| Submit FY Short Circuit First Pass | 7-May |
| Relay Mis-Operation Report Due | 1-Jun |
| Publish FY Short Circuit Cases | 15-Jun |
| Summer SPWG Meeting | 22-23 Jul |
| Disturbance Recorder Data and Locations Due | 31-Oct |
| Fall SPWG Meeting | TBD |
| Relay Failure OGRR | Working |
| Op Guide 7 OGRR re:CREZ | Submitted |