| SCR Number | 758 | SCR Title | Enhancements to the Proposed Transmission Outage Report |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | March 4, 2010 |  |  |
| Proposed Effective Date |  | Upon system implementation. |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| System Change Description |  | This System Change Request (SCR) proposes to continue to enhance ERCOT’s publishing of transmission Outage details as started with SCR753, Transmission Outage Notice Detail Enhancements, by requesting the publication of additional data which exists in the ERCOT database. |  |  |
| Reason for Revision |  | This SCR enhances transparency of transmission Outages, thus allowing Market Participants to better forecast ERCOT Transmission Grid conditions and improve Operating Plans. SCR753 led to the enhancement of information available in the Approved Transmission Outage Report; this SCR expands that same improvement to the companion Proposed Transmission Outage Report. |  |  |
| Overall Market Benefit |  | 1. Increases ERCOT Transmission Grid transparency. 2. Enhances Market Participant operational planning. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Relevance to Nodal Market |  | Yes, the same information should be available to Market Participants in the Nodal process. |  |  |
| Nodal Protocol Section(s) Requiring Revision |  | None. |  |  |
| Procedural History |  | - On 12/7/09, SCR758 and a CEO Revision Request Review were posted. - On 1/14/10, ROS considered SCR758. - On 1/19/10, an Impact Analysis was posted. - On 2/11/10, ROS considered the 1/14/10 ROS Report and the Impact Analysis for SCR758. - On 3/4/10, TAC considered SCR758. |  |  |
| ROS Decision |  | On 1/14/10, ROS unanimously voted to recommend approval of SCR758 as submitted. All Market Segments were present for the vote. On 2/11/10, ROS unanimously voted to endorse and forward the 1/14/10 ROS Report and the Impact Analysis for SCR758 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 1/14/10, there was no discussion. On 2/11/10, there was no discussion. |  |  |
| TAC Decision |  | On 3/4/10, TAC unanimously voted to recommend approval of SCR758 as recommended by ROS in the 2/11/10 ROS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 3/4/10, there was no discussion. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 | The same changes that were incorporated by SCR753 to one posting can easily be extended to the second file. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Increases ERCOT Transmission Grid transparency. |  |
|  | 2 | Enhances Market Participant operational planning. |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other | 1 | None. |  |
| Comments | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

| Sponsor |  |
| --- | --- |
| Name | Mark Garrett |
| E-mail Address | Mark.Garrett@DirectEnergy.com |
| Company | Direct Energy |
| Phone Number | 713-877-3666 |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

Business Case for Proposed System Change

Issue:

ERCOT’s publication of transmission Outage data can be made more useful to Market Participants by extending the improvements that SCR753 made to one posted file (the “approved” list) to its companion file (the “proposed” list).

Resolution:

Direct Energy proposes the enhancement of the publication of the Proposed Transmission Outages with the following additional information:

- Outage ID – ERCOT’s assigned numeric label for tracking each Outage request.

- Date Posted

- Last Updated – The date of the most recent change.

- Start

- End

- Duration

- Status

- Request Type

- Company

- Multi-CB

- Equipment Type

- Equipment

- From Station

- To Station

- State

- Voltage

- Comment

And additionally, list Cancelled Items.

These are the same changes incorporated in SCR753 to the Approved Transmission Outage list.