- Substitution of EILS Resources during Unplanned Outages

Intent and General Requirements

- If an EILS Resource experiences an unplanned and unanticipated period of unavailability or reduced availability, its QSE may provide the service temporarily with a pre-qualified substituting EILS Resource under the conditions detailed in this section.

- ERCOT at its discretion may disallow any EILS Resource substitution.

- ERCOT at its discretion may limit the number of substitutions per EILS Resource per Contract Period.

- The MW capacity and price of the original EILS Resource’s award may not be changed for a substitution.

- This provision is intended to accommodate unanticipated periods of EILS unavailability or reduced availability, such as may be caused by reduced or disabled Load, unplanned outages, or failure of communications or curtailment equipment.  It is not intended to allow for ongoing or continuous substitutions or to allow substituting EILS Resources with substantially larger capacity to make up for a committed EILS Resource’s capacity shortfall due to over-bidding.

Substitution Process

- The QSE must notify ERCOT via email to EILS@ercot.com of an EILS Resource’s unavailability.  The email notification must include the following information:

- Identification of the EILS Resource for whom the substitution is being submitted (“original EILS Resource”);

- Date and time of the beginning of the period of substitution;

- Estimated date and time of the original EILS Resource’s return to service; and,

- A completed Substitution RID form, filled out in its entirety.

- A period of substitution will begin no earlier than the calendar day following ERCOT’s receipt of the notification.

- Within three business days of the initial notification the QSE must provide to ERCOT an executed Appendix A of the EILS Supplement to Standard Form Agreement binding the substituting EILS Resource to the EILS commitment for the Contract Period.

- The minimum duration for a substitution is one calendar day.

- The QSE must notify ERCOT via EILS@ercot.com of the original EILS Resource’s return to service.  The period of substitution will end at midnight following notification to ERCOT of the return to service of the original resource.

- If a substitution is submitted during a previously submitted period of scheduled unavailability, the scheduled period of unavailability will end when the substitution begins.

Description of Substituting EILS Resources

- A substituting EILS Resource may consist in part of Loads that are part of the original EILS Resource.

- In order to become pre-qualified, a substituting EILS Resource must submit an EILS Resource Submission form and receive a baseline assignment from ERCOT.

- A substituting EILS Resource will be considered pre-qualified if it meets one of the following conditions:

  - It is a registered LaaR that has successfully completed an ERCOT-administered Load-shed test within the previous 365 days;

  - It is a qualified EILS Resource that has successfully completed an ERCOT-administered Load-shed test prior to the substitution period and within the previous 365 days.  This may include an EILS Resource that has successfully completed its reinstatement procedures following a suspension.

  - It is a prospective EILS Resource that has successfully completed a Load-shed test administered by its QSE or a third party within the previous 365 days.  Procedures for such a test are detailed in the document entitled “QSE/Third Party Load Shed Test Procedures” posted to the EILS web page.  The authorized representative of the QSE representing the EILS Resource shall attest that it followed the procedures by completing and submitting the affidavit entitled “EILS QSE/Third Party Test Affidavit.”  An EILS Resource that has become pre-qualified through a QSE or third party test may also be subject to an unannounced test by ERCOT during the substitution period.

  - It is an aggregation consisting primarily of Loads from the original EILS Resource, and ERCOT determines that the new Loads in the aggregation do not materially change the ability of the resource to meet its performance requirements.   Such a resource will not be subject to a Load-shed test prior to the substitution period, but may be tested by ERCOT during the substitution period.

- An individual EILS Resource may substitute for an aggregated EILS Resource, and vice versa.

- Baseline methodologies must match, i.e. alternate must substitute for alternate; default for default.  The substituting EILS Resource may have a different default baseline type than the original EILS Resource.

- The substituting EILS Resource may declare a different minimum base Load from the original EILS Resource.

Compliance

- A substituting EILS Resource is subject to all applicable Protocol requirements and is subject to EILS deployment throughout the substitution period.  In a deployment event, the EILS Resource that is obligated at the time of the event is subject to the deployment requirements

- If the EILS Resource fails to meet its 95% availability requirement, ERCOT will endeavor through meter data analysis to determine responsibility for the failure.  If ERCOT determines that the substituting resource met its contractual obligations during the substitution period, then only the original resource will be treated as having failed.  If ERCOT determines that the original resource met its contractual obligations outside the substitution period, then only the substituting resource will be treated as having failed.  If ERCOT determines that both the original and substituting resources failed to meet their obligations, then both will be treated as having failed.

- Payments are subject to reduction based on availability and performance pursuant to the provisions in the Protocols, but will not be increased.

- Substituting EILS Resources may be subject to an unannounced Load-shed test during their period of substitution.