RTWG update for ROS (updated)

March 2010

The Renewable Technologies Work Group (a subgroup under TAC) met on Tues March 9.

The RTWG:

- Updated the issues list; and

- Saw a presentation on storage technologies by Xtreme Power.

The next RTWG meeting is set for Mon March 29, at which the TRIP report will be prepared for TAC.

The issue list currently identifies these two issues as awaiting ROS action:

- Market Design #4 – New Ancillary Service Products Needed for Reliability – Determine if new ancillary services are needed to reliably integrate the large amounts of wind generation coming into the ERCOT market.

- Workshop Training #3 – Wind Turbine Operator Training – Develop list of topics for use in development of a training session for wind turbine generator operators.

Additionally, these two issues are currently listed as awaiting WOTF action:

- System Operations #7 – Wind Generation and High System Frequency – Determine impact of wind generation on high system frequency events and develop possible solutions.  (pending resolution of PRR 833 & PRR 824 & OGRR 238)

- System Operations #25 – Generator Governor Response for Wind Generators – Determine proper generator governor response requirements for wind generators in the Nodal Market Design. (also pending the same PRR’s & OGRR’s)

Also, two questions were raised:

  - Is the DWG considering how to incorporate the four wind turbine models that are being field tested in the WECC?

  - How should the RTWG handle future improvements to the RARF that would be on hold until post-Nodal?  (eg. Parking deck?)