OWG Report to ROS

March 11, 2010

The Operations Working Group (OWG) met February 19, 2009.

On February 19, the OWG met for its regularly scheduled meeting. During the meeting the following items were discussed:

Operations Task Force Report – Stan Morris reported that the Hurricane Drill will be this year in May and that the group will try and address the SOL Methodology within the next 2 weeks.

Black Start Task Force Report – Frank Owens reported that Black Start small group will meet on Feb 23 to work on the template for black start plans. The task force will need an NDA, Yvette will check with Legal to see if you already have one for an ERCOT group or if you will need a separate one for the BSTF.

The Texas RE Report: Andy Oliver reported that the Operations Training Seminar starts 2/22/10.  The Texas RE By-laws were approved by NERC and will go to FERC by end of month.  The separation between Texas RE and ERCOT should be complete by mid-year and Texas RE is currently going through a re-organization.

The OWG reviewed the following:

OGRR 232 Revise the Process for Submitting Biennial Unit Reactive Limits (Lead and Lag) – Consensus to forward the Recommendation Report and IA to ROS.  Ross Owen requested a summary sheet to help keep track of the testing dates.  Dennis Kunkel asked about tap changes being on the testing form, it what decided you would have to go to the plants to get that information.

NOGRR 027 Revise the Process for Submitting Biennial Unit Reactive Limits (Lead and Lag) – Consensus to forward the Recommendation Report and IA to ROS.  Ross Owen requested a summary sheet to help keep track of the testing dates.  Dennis Kunkel asked about tap changes being on the testing form, it what decided you would have to go to the plants to get that information.

OGRR 236 Fast Response Distributed Energy Resource (DER) - Consensus to table until May to allow PDCWG to review the associated PRR 838.

NOGRR 032 Use of Consistent Rating Terminology – Consensus to recommend approval, will come back to OWG with IA.

NOGRR 033 Alignment with NPRR203, Amend Telemetry Bus Accuracy Requirements – Consensus to recommend approval, will come back to OWG with IA.

NOGRR 034 Rescind Telemetry Performance Calculation Exclusions - Consensus to table for 1 month to allow NDSWG to comment.  Ross Owen said there needs to be a way to exclude approved maintenance.

OGRR 240 CREZ Facility Protection and Control Requirements which has urgent status.

Paul Hassink requested an Ad-Hoc task force under OWG.  Frank stated that the task force should be under ROS not OWG.  This subject needs cross-functional expertise and will recommend to ROS that OWG, SPWG, SSWG, DWG, CIPWG and communication experts to evaluate the OGRR. With direction to develop an evaluation matrix and have it ready for Aprils ROS meeting.

System Operations Report – Colleen reported that there’s nothing substantial to report.

NOGRR Task Force was approved by ROS to ensure nodal guides are complete.  Any changes will need to be in by July to meet the December time-line.  Frank asked the OWG members for volunteers for the NOGRR task force and several members stepped up. The group now consists of Frank Owens, Brad Calhoun, Jack Thormahlen, Dennis Sauriol, Sherry Looney, Stan Morris, and Walter Reed.  Ross Owens said Oncor will supply someone.

Other Business: Jerry Willms brought up the NDSWG and NATF discussion about the frequency of ERCOT database loads.  TSPs may need to model Pseudo switches which would not be a good solution.  This will require extra work by TSPs and is a resource issue.  The issue should go to ROS and recommend a joint task force to work this issue out.

Next OWG meeting will be on March 17th in Austin at the Met Center.