| I. Revision Request Details |  |
| --- | --- |
| Date | 3/8/2010 |
| Revision Request Number | NPRR156 |
| Revision Request Name | Transparency for PSS and Full Interconnection Studies |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Nodal Protocol Revision Request (NPRR) 156, Transparency for PSS and Full Interconnection Studies, updates Section 1, Overview and Section 3, Management Activities for the ERCOT System to provide transparency to status of Power System Stabilizer (PSS) equipment and interconnection requests. After further review and analysis, ERCOT hereby revises its CEO determination to state the following: As endorsed by the Technical Advisory Committee (TAC) on March 4, 2010, NPRR156 has no impact to Nodal systems. As such, the ERCOT CEO has no opinion on whether or not NPRR156 is necessary prior to the Texas Nodal Market Implementation Date (i.e., Nodal Go-Live). Pursuant to paragraph (6) of Protocol Section 21.11.3.1, Review and Posting of Nodal Protocol Revision Requests, the ERCOT CEO has the right to reevaluate the NPRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.